**Scope of Work for Rehabilitation of 3 health center in Gedaref State**

**Mercy corps- BHA program**

This scope of work was prepared to interdict to the type of activities that the contractor will take for the rehabilitation of a total of 3 health center in Al Fao, Al Rahad and Al Ghurisha localities in Gedaref State. The contractor should follow this scope of work to complete the health center rehabilitation projects.

1. The total of 3 health center has different needs, based on the attached BOQs of each health center and the contractor(s) should consider the labour cost and VAT% in his prices.
2. Site visit is mandatory for all the contractors who would wish to participate. This is to enable them physically to assess the health center and get a better understanding of the kind of work that needs to be done.
3. Upon completion of the mandatory site visit, the contractor(s) will be required to write BOQs for all the materials and works required and submit to Mercy corps. The BOQs will be the basis of selection of a contractor for the rehabilitation project.
4. The contractor(s) will be required to personally manage the rehabilitation works. The contractor cannot leave the work to a Sub Contractor.
5. The contractor(s) will work with the supervision of Mercy corps –BHA engineer and has to involve the local communities from the start of the rehabilitation of each health center in order for the community to participate, feel ownership and take responsibility for the future repair and maintenance.
6. The rehabilitation involves to a civil work, construction then, the contractor must make sure that all concrete, building works have to be under (MCE and MoH Design Standard)
7. Together with the Mercy corps’ Engineer, show the final completion of rehabilitation work to the community then get the community leader signature and stamp on the Mercy corps handover format from the community leader/s.
8. The contractor(s) has to provide the final completion report backed up with photos and or videos as well as handover document to the MCE and community committee as mentioned in the above item number 6 as a proof of work completion and satisfaction before the final payment is made.
9. Encourage the community to participate in fencing the health center while rehabilitating the health center. This is not an obligation for the contractor but willingness to push the community to do so for their own benefit.
10. **Rehabilitation of BARBAR Health Center - Alqurisha Locality:**

GPS N 13° 38' 25.3" E 036° 08' 10.5"

* Rehabilitation of the existing roof with cement mortar mix 1:6 and flan-coat painting to stop leaking and paint all the internal I-Section beams of the roof with oil painting, three coats.
* Repair cracks internal and external in the existing walls.
* Internal & external plastering for the health center walls 120m2. Cement mortar, mix 1:6 2cm thickness.
* Repair 8 steel doors and 24 windows by welding if necessary, with oil painting three coats.
* Internal & External Painting for the health center wall + Roof (ceiling) 850m2 with pomastic painting, three coats.
* Cast of Plain concrete 5cm thickness for the floors over the old one 10.6m3, mix (1:3:6).
* Erect 1000 L capacity, plastic cylindrical storage water tank (Tiga) with complete distribution System (Pipe Works) and Water Distribution Points.
1. **Rehabilitation of Village 4 Health Center - Alfaw Locality:**

GPS N 13° 52' 00.2" E 034° 12' 15.6"

* Rehabilitation of the existing roof by checking it, and fix any holes to stop leaking, Cover hole zinc by plast or silicon.
* Check the entire walls for any damaged, plastering, remove the old plastering and cover with new [plastering mix 1:6 (190m2).
* Provide mesh for window against mosquitos 1.2x0.9 with expenda. 5 No of windows.
* Internal & External Painting for the health center wall + Roof (ceiling) 390m2 with pomastic painting, three coats.
* Cast of Plain concrete 10cm thickness for the floors 4.5m3, mix (1:3:6).
* Erect 1000 L capacity, plastic cylindrical storage water tank (Tiga) with complete distribution System (Pipe Works) and Water Distribution Points.
1. **Rehabilitation of Komar Basheir Health Center- Alrahad Locality:**

GPS N 13° 11' 01.6" E 034° 51' 25.0"

* Remove the old plastering from the back side of the Health Center (11\*4.5m) 50m3 and plastering the walls with cement mortar, mix 1:6 2cm thickness.
* Repair the steel doors and windows by welding if necessary, with oil painting three coats.
* External Painting for the health center wall back side 60m2 with pomastic painting, three coats.
* Cast of Plain concrete 10cm thickness for the floors 2.2m3, mix (1:3:6).
* Erect 1000 L capacity, plastic cylindrical storage water tank (Tiga) with complete distribution System (Pipe Works) and Water Distribution Points.

**Works should be done as per standard technical specifications, approved by MC engineer.**

**NB: Mercy corps reserves the right to award some or the entire rehabilitation works.**

**The contractor will be required to clean all the areas after completing the project from any construction materials or any other waste materials.**