## BOQ
UNHCR - SUDAN COUNTRY OFFICE
Annex A - RFP/HCR/ROK/2023/02 - Bill of Quantity (BoQ) Gym Hall Construction
The specified job are all provisional, including provision of materials and workmanship, providing water and electricity for the implementation and all other requirements to implement the job perfectly. The bidder must visit the site prior to submission of bid documents. The cost of this item should be included /imbedded in the other items. Rate quoted in BOQ shall include full cost of labor, materials, transportation to site and all other costs necessary to completion and instruction given by the site Engineer.
No. | DESCRIPTION | UNIT | QTY | UNIT PRICE (USD) | TOTALS PROCE (USD)
1 | MOBILIZATION
1. 1 | Mobilization of labor, mobile workshop to be used for fixing maintaining and repairing of any kind of work such as steel, carpentry ...etc. | Job | 1
2 | SITE CLEARANCE
The contractor shall exercise due care to avoid damages to existing structure and facilities
2. 1 | Dissemble of fittings where works required, and Re-fix fittings after works completed | Job | 1
2. 2 | Clearing the site after completing the whole Job and before handover. | Job | 1
GYM BLOCK
4 | FLOOR AND WALLS
3. 1 | Prepare floors for new works and other works. | Job | 1
3. 2 | supply and installation of thermal insulation layer partitions to internal walls 100mm thick gypsum boards, with sound insulation, fixed and lined with walls to ceiling. Contract should submit the product description/sample prior to purchase | M² | 50
3. 3 | Supply and install special rubber GYM floor tiles (ProsourceFit Puzzle Exercise Mat 2”, EVA Foam Interlocking Tiles, Protective Flooring for Gym Equipment and Cushion for Workouts) contract should submit the product description/sample prior to purchase, rate include all related materials and works | M² | 140
3. 4 | Supply and Apply quick drying prime (Suitable for internal walls) two (02) coats to make the surface of walls adhesive to receive new paint. | M² | 220
3. 5 | Renovation, Supply paint (suitable for interior walls) 2 layers of silk paint (white color-non gloss) for all internal walls, rate include materials and related works | M² | 220
3. 6 | Supply and installation of Big activity Mirror Kit for Gym and Dance contract should submit the product description/sample prior to purchase, rate include all related materials and works | M² | 75
4 | Roof
4.1 | Remove of old false ceiling panels, completely and move derbis away from site | LS | 1
4.2 | Supply and fix false ceiling panels 60x60cm, on aluminum mesh , fix to walls by nails and hang in the roof rectangular steel pipe by tying cables., contract should submit the product description/sample prior to purchase | M² | 140
SHOWERS AND CHANGING ROOMS BLOCK
5 | Showers and changing rooms construction
5. 1 | Demolition of existing toilet walls carfully to keep the doors and windows, clear the site from rubble. | Job | 1
5. 2 | Build new brick walls to close/create zones front for the toilets (as shows with attached drawings) build with red bricks thickness of 20cm, with C/S 1:5 mortar, rate include materials, labor and all related works. | M² | 51
5. 3 | Supply materials and Plaster new walls/Partitions, includes sills, door sills and corners, smooth plaster with C/S (1:6), rate include materials, labor and all related works | M² | 102
5. 4 | Disassemble of selected door, close the old opening and plaster/smooth sill, rate to include materials, change of power lines affected, labor and all related works, contractor shall exercise due care to avoid damages to door / power lines / switches | LS | 1
5. 5 | Supply and Apply quick drying prime (Suitable for internal walls) two (02) coats to make the surface of walls adhesive to receive new paint. | M² | 65
5. 6 | Supply and Apply paint (suitable for internal walls) 2 layers of silk paint (off-white color) for all new walls rate include all materials and related works | M² | 65
5. 7 | Supply and Apply quick drying prime (Suitable for external walls) two (02) coats to make the surface of walls adhesive to receive new paint. | M² | 51
5. 8 | Supply and Apply paint (suitable for external walls) 2 layers of silk paint (off-white color) for all new walls rate include all materials and related works | M² | 51
5. 9 | Supply and install ceramic floor tiles 20X20 cm/or approved size, white color, with C/S mortar 1:8.using water proof cement contract should submit the product description/sample prior to purchase, rate include all related materials and works | M² | 27
5. 10 | Ditto but for skirting. using water proof cement contract should submit the product description/sample prior to purchase, rate include all related materials and works | LM | 21
5. 11 | Supply and install ceramic wall tiles 20X50 cm/or approved size, white color, with C/S mortar 1:8. for the shower and toilet. for back wall using water proof cement contract should submit the product description/sample prior to purchase, rate include all related materials and works | M² | 15
ALUMINUM FIXED PARTITIONS
Partitions shall be made of approved aluminum profile minimum 60mmX30mmX .9mm thick, and shall be fitted with 3mm board.
5.12 | supply materials and fix aluminum partitions (as shows with attached design) fixed to floor and roof level, 3MM thickness | M² | 45
6 | Roof for new showers
6.1 | Supply and fix roof structure from rectangular steel pipes 10x5cm and 8x4cm for roof support grids, rate include anti rust and final paint, fixing on the tie herons using all necessary accessories. | M² | 30
6.2 | Supply and fix a pre-painted corrugated steel sheets 0.35mm thickness, rate includes fixing steel gutter, fixing on the purlins, trusses drilled nails with washer and all necessary accessories. | M² | 30
6.3 | supply materials and fix water proof on roof top to insure water drainage and prevent rain water leakage, with 3mm polyethene sheet, Contract should submit the product description/sample prior to purchase | M² | 30
6.4 | supply and installation of thermal insulation layer to internal ceiling 100mm thick insulation wool, fixed and lined with roof, Contract should submit the product description/sample prior to purchase | M² | 30
6.5 | Supply and fix false ceiling panels 60x60cm, on aluminum mesh , fix to walls by nails and hang in the roof rectangular steel pipe by tying cables., contract should submit the product description/sample prior to purchase | M² | 30
7 | Showers and changing rooms
7.1 | Supply materials, prepare/lay internal water network for new Showers, using PPR pipes ½'' high quality Cold/Hot, and drainage/sewage pipes using PVC pipes 2&4'', rate include all related work | LS | 1
7.2 | Supply materials, prepare internal power network, using high quality wires for new showers, for points: water heater, mirror,exaust fan, light, switches, rate include all related materials and works | LS | 1
7.3 | High quality, brass rain showers in square fixed to the wall, with square shower pan, big size , well connected with the water line contract should submit the product description/sample prior to purchase, rate include all related materials and works | LS | 3
7.4 | Supply materials, prepare/lay internal water network for new toilets, using PPR pipes ½'' high quality Cold/Hot, and drainage/sewage pipes using PVC pipes 2&4'', rate include all related work | LS | 1
7.5 | Supply materials, prepare internal power network, using high quality wires for new toilets, for points: water heater, mirror,exaust fan, light, switches, rate include all related materials and works | LS | 1
7.6 | Supply and install high quality hand wash basin, flat back white glazed vitreous china wash basin with stand, include center tap, rate includes all water connections Fittings to be approved by the engineer before installation. | LS | 1
7.7 | Supply and install high quality English seat, with C.I. enamel painted brackets, with water hose, rate include all water connections. Fittings to be approved by the engineer before installation. | LS | 1
7.8 | Supply and fix toilet mirror (LED back light) and accessories set of approved type/design.Fittings to be approved by the engineer before installation. | No. | 3
7.9 | Storage 50 Litre Electric Water Heater, White for shower water heat, connected with the 03 showers contract should submit the product description/sample prior to purchase, rate include all related materials and works | LS | 1
8 | ELECTRICAL SUPPLY & EQUIPMENT'S
8.1 | wiring of new/existing structures with internal/external pipes for A/C units, using 4.00mm wires of approved high quality and power point for Acs power , price includes cost of wires, pipes, switches , labor and connection to main distribution board. | LS | 6
8.2 | Supply and installation of 16A socket of approved quality, AC type, rate include wires and labor | No. | 4
8.3 | Supply and installation of 13A socket of approved quality, wall type, rate include wires and labor | No. | 15
8.4 | Supply and installation of led lamp,40 watt/ 4 FT of approved quality (preferred Philips or similar) wall type, rate includes wires, switches and labor | No. | 20
8.5 | Supply and installation of circular 20 watt led lamp of approved quality (preferred Philips or similar) ceiling type, rate includes wires, switches and labor | No. | 12
8.6 | Supply and installation of circular 40 watt led panel of approved quality (preferred Philips or similar) false ceiling type, rate includes wires, switches and labor | No. | 4
8.7 | Supply and installation of exhaust fan 30cm of approved type, rate includes all related works | No. | 10
8.8 | Supply and installation of sound system for GYM Hall of approved quality (Perreferd PHILIPS/PIONEER/SONY or similar qulaity) Ceiling speakers type, 14 speakers 120 WATT, rate include amplifier and equlizer system, connections. Contract should submit the product description/sample prior to purchase | LS | 1
9 | DOORS & WINDOWS
9.1 | Supply and fix Aluminum door of High quality, price to include opening, frame adjusment, fixing with hinges, locking system, (suitable for external door)etc. 200*220 CM. Contract should submit the product description/sample prior to purchase | PCS | 2
9.2 | Supply and fix Aluminum door of High quality, price to include opening, frame adjusment, fixing with hinges, locking system, (suitable for internal.toilet)etc. 80*200 CM. Contract should submit the product description/sample prior to purchase | PCS | 6
9.3 | Supply and fix Aluminum ventilation windows of High quality, price to include opening, frame adjusment, fixing with hinges, locking system, (suitable for external door)etc, at top back wall for air circulation. 0.4*2 M Contract should submit the product description/sample prior to purchase | PCS | 5
9.4 | Fixing of existing internal office windows, including labour works and spare parts if needed(Hinges, glass, locks,… ) | Job | 5
10 | Furniture
10.1 | Moderen wooden sectional lockers and cubbies,Width 900mm x Depth 450mm x Height 1750mm Contract should submit the product description/sample prior to purchase | PCS | 3
10.2 | Moderen wooden benchis for interial, 200*60 cm, with hight of 50cm Contract should submit the product description/sample prior to purchase | PCS | 3
11 | UNSEEN
11 | Miscellaneous (1.0%) | LS | 1
TOTAL
KEYS:
C/S: CEMENT/SAND MIX
1:2: MIX RATIO
LS: LUM SUM
M²: METER SQUARE
M³: METER CUBE
Validity of the offer
Prices Quoted are exclusive of VAT
Delivery Time (Days) afgter PO date
Kindly provide:-
Date:-
Name:-
Signature:-
In the Capacity of:
Duly authorised to Sign the Bid for and on Behalf of:
Official Stamp