|  |  |  |
| --- | --- | --- |
| # | Question | Answer  |
| 1 | we need to know the type of the roof to identify the suitable base for the solar panel frame? | Gablet roofs:For Medical drug stores:Trusses: fabricated trusses from 4cm\*8cm\*3mm iron box.Purlins: 3cm\*6cm\*1.7mm.Iron sheet: 4mm.For Health Facilities:Trusses: fabricated trusses from 4cm \* 8cm \* 1.7mm iron box.Purlins: 6cm\*3cm\*1.7mm.Zinc roof: iron sheets .35mm |
| 2 | Tender documents do not specify the type of solar panel? | High quality (Jinko or equivalent quality) |
| 3 | On BOQ for drug store required inverters with 7kw capacity, is this capacity for each inverter or the total capacity for the three inverters are 7kw? | The capacity of each inverter should be 7,000 watts. |
| 4 | Any particular color requested for battery rack? | • The preferred color should be Plant green.• The rack should be from Aluminium or heavy iron angles precoated anti-rust as base painting and color painting to hold (12) pcs of batteries. |
| 5 | For internal electrical connections and electricity network, the wiring conduit to be exposed or inside the walls? | The electrical connections and electricity network should be outside the walls and the cable should be protected by trans. |
| 6 | Can Goal provide us with a drawing for rooms electricity network? | Attached drawings for medical drug stores and 3 HFs. |