## Sheet1
No | Name | No. of Devices | Rated Power (W)
1 | Bulb | 134 | 40
2 | Bulb | 60 | 14
3 | Spot lights | 300 | 6
4 | Air conditioner 18,000 BTU split type | 6 | 2235
5 | Fridge 16 ft | 3 | 300
6 | Fridge 12 ft | 2 | 120
7 | Water dispenser (hot and/or cold) | 5 | 630
8 | Deep Freezer 10 ft | 1 | 300
9 | Exhaust fan | 13 | 35
10 | Ceiling fan | 29 | 75
11 | Microwave oven 20 L | 1 | 1050
12 | Kitchen water boiler (Kettle) | 3 | 1500
13 | Washing machine (for clothes) | 2 | 320
14 | Iron | 2 | 85
15 | TV 42'' | 1 | 350
16 | Motor 1 HP | 2 | 740
Note :
Coordinates of the location:
Latitude: 14.014325 and longitude: 35.398107