Relief International

Amarat Area, St. No’ 3, Building No’ 29, Block

10/A, Khartoum State, 11111, Sudan State.

April 14, 2022

Dear Sir / Madam,

Relief International (RI) invites your submission of a financial bid in order to provide goods and services in accordance with the conditions detailed in the attached documents.  RI seeks a supplier for the Rehabilitation and constructions in North Darfur.

The Invitation to Tender (ITT) details are as follows:

Subject of Tender:			Rehabilitation and Construction in North Darfur

ITT Period:				April - May

ITT Closure Date and Time:	May 08 2022

Minimum validity period:		120 Days

This ITT document contains the following:

- This Cover Letter

- Annex A	RI Bid Form – Invitation to Bid No. RI-SDN-AFR-022-032

- Annex B	Tender and Contract Award Acknowledge Certificate

- Annex C 	Conditions of Tendering

- Annex D	General Terms & Conditions of Contract (which will be signed by the successful Bidder)

- Annex E	Bill of Quantities / Scope of Work / Item Specification & Price Template

The following documents must be submitted in a hard copy in a sealed envelope for your Bid to be accepted by the Tender Opening Committee:

- The attached RI Bid Form (Annex A) must be completed and submitted in accordance with Annex C.

- Completed Proposal of Work / Price List / Bill of Quantities (Annex E)

- The attached Tender and Contract Award Acknowledgement Certificate (Annex B) must completed and be duly signed by an authorized company representative and submitted in accordance with Annex C.

- Copies of official company/organization registration and tax documents and essential certificates.

Full package of bid documents must be submitted in a sealed envelope; the only information on the envelope should be the following:

Relief International S Office

ITT Reference: RI-SDN-AFR-022-032

Amarat Area, St. No’ 3, Building No’ 29, Block

10/A, Khartoum State, 11111, Sudan State.

Full bid submissions must be received at the address above no later than [May 08, 2022] Local Time. Failure to meet the closing date/time may result in the tender being void. Returned bids must remain valid for consideration for a period of not less than 60 days from the closing date.

All clarifications and questions should be addressed to: bid.sudan@ri.org

Yours faithfully,

Tender Committee

Relief International

PROVISIONAL TIMETABLE

| Activity | Date |
| --- | --- |
| Issue Tender Notice and Invitation to Tender | April 14, 2022 |
| Return of tenders (Closing Date) | May 08, 2022 |
| Tender Review Committee | May 10, 2022 |
| Bid clarifications as required | May 12, 2022 |
| Award Contract | May 19, 2022 |
| "Go-Live" with Supplier | June 01, 2022 |

AWARD CRITERIA

a) REQUIRED

- Legal registration to work in country of operation (proven registration and Tax ID)

b) ESSENTIAL CRITERIA

Award of the contract will be evaluated and scored based on the following criteria:

- Prices demonstrate an economically advantageous position for Relief International

- Previous Experience of working with INGOs on the similar projects.

c) PREFERRABLE CRITERIA

The following criteria are considered quite important in the evaluation of this tender:

- Lead time to complete the activities.

ANNEX A

Part One: RI BID FORM – Invitation To Bid No: RI-SDN-AFR-022-032

| RI to complete |  |  |  | Bidder to complete |  |
| --- | --- | --- | --- | --- | --- |
| # | Description of Good / Service for bid | Location | Construction Activity | Unit price | Total Price |
| 1 | Hand pump/borehole pumping test Annex – 1 (BOQs, Scope of work) | Aboremala – Saraf Umra | 01 |  |  |
|  |  | Tankooj - Saraf Umra | 01 |  |  |
| 2 | Hand pumps rehabilitations Annex – 2 (BOQs, Scope of work) | Tankooj – Saraf Umra | 03 |  |  |
|  |  | Aboremala – Saraf Umra | 01 |  |  |
|  |  | Khartoum Jidid - Saraf Umra | 01 |  |  |
|  |  | Balaforash - Saraf Umra | 01 |  |  |
| 3 | Upgrading of a Hand pump to Min- Water yard Annex – 3 (BOQs, Scope of work) | Aboremala - Saraf Umra | 01 |  |  |
| 4 | Upgrading Water yard through Solar Hybrid System including manual generator backup. Annex – 4 (BOQs, Scope of work) | Tankooj – Saraf Umra | 01 |  |  |
| 5 | Rehabilitations of Water Yards Including replacement of Submarine pump and Diesel Generators Annex – 5 (BOQs, Scope of work) | Tankooj – Saraf Umra | 01 |  |  |
| 6 | Improving Sanitary Conditions of Water points (Fencing) (4x3m) Annex – 6 (BOQs, Scope of work) | Dankooj – Saraf Umra | 03 |  |  |
|  |  | Aboremala – Saraf Umra | 01 |  |  |
|  |  | Khartoum Jidid - Saraf Umra | 01 |  |  |
|  |  | Wastani - Saraf Umra | 01 |  |  |
| 7 | 350 m Pipeline extension Annex – 7 (BOQs, Scope of work) | Dankooj – Saraf Umra | 01 |  |  |
| 8 | Construction of Underground water tank 10 m3 Annex – 8 (BOQs, Scope of work) | Ein Bisaro – Al Malha | 01 |  |  |
|  |  | Dankooj – Saraf Umra | 01 |  |  |
|  |  | Khartoum Jidid - Saraf Umra | 01 |  |  |
|  |  | Balaforash - Saraf Umra | 01 |  |  |
| 9 | Elevated tank for Health facility of 3mstand with plastic tank 2000 liter Annex – 9 (BOQs, Scope of work) | Dankooj – Saraf Umra | 01 |  |  |
| 10 | Construction of VIP Latrine Annex – 10 (BOQs, Scope of work) | Dankooj – Saraf Umra | 01 |  |  |
| 11 | Construction of Incinerators at the health facilities. Annex – 11 (BOQs, Scope of work) | Dankooj – Saraf Umra | 01 |  |  |
|  |  | Balaforash - Saraf Umra | 01 |  |  |
|  |  | Khartoum Jidid - Saraf Umra | 01 |  |  |
|  |  | Wastani - Saraf Umra | 01 |  |  |
|  |  | Aboremala – Saraf Umra | 01 |  |  |
| 12 | hand washing facility with foot press Annex – 12 (BOQs, Scope of work) | Dankooj – Saraf Umra | 20 |  |  |
|  |  | Balaforash - Saraf Umra | 10 |  |  |
|  |  | Khartoum Jidid - Saraf Umra | 10 |  |  |
|  |  | Wastani - Saraf Umra | 10 |  |  |
|  |  | Aboremala – Saraf Umra | 10 |  |  |
| 13 | Rehabilitation of 4.5*8m zinc sheet room with partition. Annex – 13 (BOQs, Scope of work) | Dankooj – Saraf Umra | 01 |  |  |
| 14 | Rehabilitation of 6*9m existing zinc sheet room with partitions. Annex – 14 (BOQs, Scope of work) | Dankooj – Saraf Umra | 01 |  |  |
| 15 | Rehabilitation of 6*12m existing zinc sheet room with partitions. Annex – 15 (BOQs, Scope of work) | Khartoum Jidid - Saraf Umra | 01 |  |  |
| 16 | Plastering outside existing room in By cement mortar 1:8 Annex – 16 (BOQs) | Aboremala – Saraf Umra | 01 |  |  |
| 17 | Changing the disposable zinc sheets in existing shelter, painting, and Closing holes in other old zinc sheets. Annex – 16 (BOQs) | Balaforash - Saraf Umra | 01 |  |  |
| 18 | Rehabilitation of 4.5*8m zink sheet room with partition. Annex – 17 (BOQ & Design) | Aboremala – Saraf Umra | 01 |  |  |
|  |  | Dankooj – Saraf Umra | 01 |  |  |
|  |  | Balaforash - Saraf Umra | 01 |  |  |
|  |  | Khartoum Jidid - Saraf Umra | 01 |  |  |
|  | Instruction: Please fill in or provide response to the attached Bill of Quantities or Scope of Work Request for Proposal. You may complete in the format provided or on your own company letter head. |  |  |  |  |

Required Delivery Date: August 31, 2022				Offered Delivery Date: ________________

Required Delivery Destination: North Darfur locality			Offered Delivery Destination: ________________

This Bid is valid for: 120 days						Country of Origin of offered Items: __________________

Currency of Bid: SGD

Samples are available to be presented to the RI office upon request?		Yes		 No

Do the above come with special warranties/guarantees? 	Yes		 No

Prices can be fixed for a period of 12 months or more?	 	Yes		 No

Does the company have any current criminal or court cases against your company or you as an individual at this time?	 Yes		 No

Has the company ever been accused of sexual exploitation, child abuse / child protection, or fraud?   Yes		 No

Does the company agree to report any/all pressure from or payments to a Prohibited Party?  		Yes		 No

Is the company owned or controlled, in whole or in part, by any Prohibited Parties?   		Yes		 No

Does the Company (or owner/senior management) have any personal associations or ties with Relief International or any of its staff?

Yes		 No 		If YES, describe _______________________________________________________________________________

ANNEX A (PAGE 2)

Part Two: RI BID FORM – Invitation To Tender No: RI-SDN-AFR-022-032

BUSINESS INFORMATION

Company Name: __________________________________	Contact person: ___________________________________

Company Owner(s): __________________________________	Company Owner(s) Date of Birth: _____________________

Registration Number:						TAX ID: ________________________

Address: ________________________________________	Phone No: _____________________

________________________________________	Facsimile No: ___________________

________________________________________	Email Address: ____________________________________

A duly authorized company representative. 			WWW Address: ___________________________________

Signed: ________________________________________	Title/Position: _____________________________________

Print Name: ____________________________________	Date: _______________________

Describe Payment Terms & Conditions: _________________________________________________________________________________________

BUSINESS REFERENCES (3 minimum)

| Name of Organization | Contact Person | Email / Telephone | Comment |
| --- | --- | --- | --- |

ANNEX B

Tender and Contract Award Acknowledge Certificate

*This attachment must be signed and submitted with the Bid

- In compliance with the Instructions and Conditions for Invitation to Bid (Annex C), General Terms of Contract (Annex D), we the undersigned, offer to provide some or all of the items or services quoted for, at the prices entered in the attached RI Bid Form, delivered to the destination specified therein.

- We accept the terms and conditions set forth in the Terms and Conditions for Bid (Annex C) and the following requirements have been noted and will be complied with where applicable:

  - That the freight cost if separate from the Unit price shall be shown separately, which shall be the basis for delivery for any contract resulting from this ITT.

  - We confirm that for any offer made where the delivery destination is not as requested in the ITT, that RI reserves the right to disregard the offer.

  - That conditional Bids cannot be accepted.

  - That the currency of the Bid should be preferably in US Dollars.

  - Show any discount being offered to RI (Annex C).

  - RI reserves the right, at its own discretion:

- To award a contract for a lesser or greater quantity than the total quantity Bid for.

- To reject any or all Bids and/or enter a contract with a Bidder other than the lowest Bidder (see Annex C).

  - Successful Bidders who are awarded contracts will be notified by the receipt of the original Purchase Order/Contract.

  - Any samples requested, either with the Bid, or at a later date, will be in accordance with the specifications of the required item(s). Failure to comply with this may result in the Bid not being considered.

  - We confirm that the validity of this offer is for the calendar days reflected in Annex A and are from the date of the ITT closure.

  - We agree to the terms and conditions set forth in the RI General Terms of Contract (Annex D)

  - We certify that the below mentioned company has not engaged in corrupt, fraudulent, collusive, or coercive practices in competing for, or in executing, any Contracts.

  - We agree to abide by the RI Child Protection Policy and Reporting of Misconduct.

- We further certify that the below signed company:

- Is not bankrupt or being wound up, having its affairs administered by the courts, has not entered into an arrangement with creditors, has not suspended business activities, is not the subject of proceedings concerning those matters, or is not in any analogous situation arising from a similar procedure provided for in national legislation or regulations;

- Has not been convicted of an offence concerning its professional conduct by a judgment which has the force of res judicata;

- Has not been guilty of grave professional misconduct proven by any means;

- Has fulfilled its obligations relating to the payment of social security contributions or the payment of taxes in accordance with the legal provisions of the country in which it is established or those of the country where the contract is to be performed;

- Has not been the subject of a judgment which has the force of res judicata for fraud, corruption, involvement in a criminal organization or any other illegal activity;

- Has not, following another procurement procedure or grant award procedure, been declared to be in serious breach of contract for failure to comply with our contractual obligations.

- We are submitting this ITT Bid in our own right. We confirm that we are not bidding for the same contract in any other form. We confirm, as a partner in the consortium, that all partners are jointly and severally liable by law for the performance of the contract, that the lead partner is authorized to bind, and receive instructions for and on behalf of, each member, that the performance of the contract, including payments, is the responsibility of the lead partner, and that all partners in the joint venture/consortium are bound to remain in the joint venture/consortium for the entire period of the contract's performance.

- We are not in any of the situations excluding us from participating in contracts that are listed in the Terms and Conditions for Bid (Annex C). In the event that our Bid is successful, we undertake to provide the proof usual under the law of the country in which we are established that we do not fall into the exclusion situations listed. The date on the evidence or documents provided will be no earlier than 180 days before the deadline for submission of Bids and, in addition, we will provide a sworn statement that our situation has not altered in the period which has elapsed since the evidence in question was drawn up.

We also understand that if we fail to provide this proof within 15 calendar days after receiving the notification of award, or if the information provided is proved false, the award will be considered null and void.

- We will inform RI immediately if there is any change in the above circumstances at any stage during the implementation of the contract. We also fully recognize and accept that any inaccurate or incomplete information deliberately provided in this application may result in our exclusion from this and other contracts funded by the Donor.

- We note that RI is not bound to proceed with this ITT and that it reserves the right to award only part of the contract. It will incur no liability towards RI should it do so.

We agree to the above terms and conditions.

Submitted by:

Company Name

Place

Date

Title/Position

Print Name

Signature

A duly authorized company representative

Company Stamp

ANNEX C

Terms and Conditions of Tendering

*This attachment must be submitted with the bid

- Submission of Bids

Bid Form

Bids must be submitted in a hard copy of the attached Bid Form (Annex A), in a sealed envelope, addressed and delivered to the address in the cover page.   Bids must be received before the indicated time and date as set forth in the cover page.

Bids submitted by email, fax, mail or courier are at the Bidders risk and RI takes no responsibility for the receipt of such Bids.

Bidders are solely responsible for ensuring that the full Bid is received by RI in accordance with the ITT requirements, prior to the specified date and time above. RI will consider only those portions of the Bids received prior to the closing date and time specified and that any Bids received after that time will not be considered.

- Submission of Samples

If you are requested to submit samples of the items offered, then failure to do so may render your Bid invalid. Samples submitted should each be clearly marked with the same item number which is used on the RI Bid Form (Annex A).  Sample packaging must be clearly marked ‘Samples’ with the ITT number and the Bidder’s name etc.

- Completion of Bid Form

Prices Quoted

Offers of discount other than for prompt payment will be a consideration in award of contracts.

Where freight is quoted it must be via a mode consistent with the temperature requirements of the goods.

Currency

The currency of the Bid should preferably be in USD. However, if other currencies are used they should be clearly indicated e.g. Euro, USD, JOD, etc

Language

The Bid Form, all correspondence and documents related to the ITT exchanged by the Bidder and RI must be in English.

Packaging

Packaging shall be of International shipping standard, strong quality, and suitable for shipment.

Origin, Quantities, Bids

The country of origin of the items bided for must be clearly stated. As far as possible Bids should be for the full RI quantity required.

The Bid Form must be completed in all other respects when Bids for particular items are not submitted. This should be clearly indicated on the Bid Form i.e. a line drawn through those items not being Bid for. Explanations, which may be deemed necessary should be clearly set out and will be considered as an integral part of the Bid.

Presentation

Bids should be typewritten; if hand written they should be clearly legible. Prices entered in lead pencil will not be considered. All erasures, amendments, or alterations must be initialed by the signatory to the Bid. Do not submit blank pages of the Bid Form and/or schedules which are unnecessary for your offer. A completed duplicate of the Bid Form should be retained by the Bidder for record purposes. All documentation must be written in English. All Bids must be signed by a duly authorized representative of the Bidder.

Lots

If the ITT is divided into Lots then the Bidder may bid for one or all Lots. Each lot will form a separate contract and the quantities indicated for different Lots will be indivisible. The Bidder must offer the whole of the quantity or quantities indicated for each Lot. Bids for part of a Lot will not be considered.

If the Bidder is awarded more than one Lot, a single contract may be entered into covering all those Lots.

If the items have not been divided into Lots then Bids must be for the entirety of the quantities indicated.

Split Awards

RI reserves the right to split awards.

- Correspondence

All communications from Bidders to RI relating to the tender must be in writing and addressed to the email identified in the Cover Letter. Any request for information should be received at least 5 days before the Closing Date, as defined in the Invitation to Tender. Responses to questions submitted by any Bidder will be circulated by RI to all Bidders to ensure fairness in the process.

- Prices

Tendered prices must be shown as both inclusive of and exclusive of any Value Added Tax chargeable or any similar tax (if applicable).

- Validity Period

Bids shall be valid for at least the minimum number of days specified in the ITT from the date of Bid closure. In the event that a Bidder is in a position to extend the validity of his offer for a limited period beyond the required minimum, this should be stated on the Bid Form. RI reserves the right to determine, at its sole discretion, the validity period in respect of Bids which do not specify any such maximum or minimum limitation.

- Acceptance

RI reserves the right, at its sole discretion, to consider as invalid or unacceptable any Bid which is a) not clear; b) incomplete in any material detail such as specification, terms delivery, quantity etc.; or c) not presented on the Bid Form – and to accept or reject any amendments, withdraws and/or supplementary information submitted after the time and date of the ITT Closure.

- Award of Contracts

This ITT does not commit RI to award a contract or pay any costs incurred in the preparation or submission of Bids, or costs incurred in making necessary studies for the preparation thereof, or to procure or contract for services or goods. Any bid submitted will be regarded as an offer made by the Bidder and not as an acceptance by the Bidder of an offer made by RI. No contractual relationship will exist except pursuant to a written contract document signed by a duly authorized official of RI and the successful Bidder.

RI may award contracts for part quantities or individual items. RI will notify successful Bidders of its decision with respect to their Bids as soon as possible after the Bids are opened. RI reserves the right to cancel any ITT, to reject any or all Bids in whole or in part, and to award any contract.

Suppliers who do not comply with the contractual terms and conditions including delivering different products and of different origin than stipulated in their Bid and covering contract may be excluded from future ITTs.

- Confidentiality

This ITT or any part hereof, and all copies hereof must be returned to RI upon request. It is understood that this ITT is confidential and proprietary to RI, contains privileged information, part of which may be copyrighted, and is communicated to and received by Bidders on the condition that no part thereof, or any information concerning it may be copied, exhibited, or furnished to other without the prior written consent of RI, except that Bidders may exhibit the specifications to prospective subcontractors for the sole purpose of obtaining offers from them. Notwithstanding the other provisions of the ITT, Bidders will be bound by the contents of this paragraph whether or not their company submits a Bid or responds in any other way to this ITT.

- Collusive Bidding and Anti-Competitive Conduct

Bidders and their employees, officers, advisers, agent or sub-contractors must not engage in any collusive bidding or other anti-competitive conduct or any other similar conduct, in relations to:

- The preparation of submission of Bids,

- The clarification of Bids,

- The conduct and content of negotiations,

- Including final contract negotiations,

in respect of this ITT or procurement process, or any other procurement process being conducted by RI in respect of any of its requirements.

For the purpose of this clause, collusive bidding, other anti-competitive conduct, or any other similar conduct may include, among other things, the disclosure to, exchange or clarification with, any other Bidder, person or entity, of information (in any form), whether or not such information is commercial information confidential to RI, any other Bidder, person or entity in order to alter the results of a solicitation exercise in such a way that would lead to an outcome other than that which would have been obtained through a competitive process.

- Improper Assistance

Bids that, in the sole opinion of RI, have been compiled:

- With the assistance of current or former employees of RI, or current or former contractors of RI in violation of confidentially obligations or by using information not otherwise available to the general public or which would provide a non-competitive benefit,

- With the utilization of confidential and/or internal RI information not made available to the public or to the other Bidders,

- In breach of an obligation of confidentially to RI, or

- Contrary to these terms and conditions for submission of a Bid,

shall be excluded from further consideration.

Without limiting the operation of the above clause, a Bidder must not, in the absence of prior written approval from RI, permit a person to contribute to, or participate in, any process relating to the preparation of a Bid or the procurement process, if the person has at any time during the 6 months immediately preceding the date of issue of this ITT was an official, agent, servant, or employee of, or otherwise engaged by, RI and was engaged directly, or indirectly, in the planning or performance of the requirement, project, or activity to which this ITT relates.

- Corrupt Practices

All RI Bidders and Suppliers shall adhere to the highest ethical standards, both during the procurement process and throughout the performance of a contract.

- Conflict of Interest

A Bidder must not, and must ensure that its employees, officers, advisers, agents or subcontractors do not place themselves in a position that may, or does, give rise to an actual, potential or perceived conflict of interest between the interests of RI and the Bidder’s interests during the procurement process.

If during any stage of the procurement process or performance of any RI contract a conflict of interest arises, or appears likely to arise, the Bidder must notify RI immediately in writing, setting out all relevant details of the situation, including those cases in which the interests of the Bidder conflict with the interests of RI, or cases in which any RI official, employee or person under contract with RI may have, or appear to have, an interest of any kind in the Bidder’s business or any kind of economic ties with the Bidder. The Bidder must take steps as RI may reasonably require to resolve or otherwise deal with the conflict to the satisfaction of RI.

- Withdrawal/Modification of Bids

Requests to withdraw a Bid shall not be honored. If the selected Bidder withdraws its Bid, RI shall duly register the said Bid and shall evaluate it alongside all other received Bids. If the selected Bidder has furnished a Bid security, RI shall withhold such Bid security until the issue has been resolved.

Withdrawal of a Bid may result in your suspension or removal from the RI suppliers List.

A Bidder may modify its Bid prior to the ITT closure. Any such modification shall be submitted in writing and in a sealed envelope, marked with the original Bid number. No modification shall be allowed after the ITT closure.

- Late Bids

All Bids received after the ITT closure will be rejected except if the delay is determined by RI to have been due to a valid reason. However, any bid received after the start of the Bid opening shall be rejected without exception.

- Opening of the ITT

The ITT will be opened by the RI Tender Opening Committee.  This may or may not be deemed an open session with invitations to bidders.

At the tender opening, the Bidders' names, the Bid prices, written notifications of modification and withdrawal, the presence of the requisite Bid guarantee and such other information as RI may consider appropriate will be announced.

After the opening of the ITT, no information relating to the examination, clarification, evaluation and comparison of Bids, or recommendations concerning the award of the contract can be disclosed.

Any attempt by a Bidder to influence the Evaluation Committee in the process of examination, clarification, evaluation and comparison of tenders, to obtain information on how the procedure is progressing or to influence RI in its decision concerning the award of the contract will result in the immediate rejection of the tender

- Evaluation of Bids

Administrative Conformity

Bids will be checked to determine if they comply with the essential requirements of the ITT. A Bid is deemed to comply if it satisfies all the conditions, procedures and specifications in the ITT without substantially departing from or attaching restrictions with them. If a Bid does not comply with the ITT, it will be rejected immediately and may not subsequently be made to comply by correcting it or withdrawing the departure or restriction.

Technical Evaluation

The Evaluation Committee will rule on the technical admissibility of each Bid, classifying it as technically compliant or non-compliant. The technical evaluation will be based on the information and documents annexed in the Bid concerning both the task to be carried out under the ITT, and the professional ability of the Bidder.

Financial Evaluation

The Evaluation Committee will not necessarily choose on the basis of lowest price alone but will award a contract on the basis of criteria such as best value for money, price, quality, and compliance with international norms, delay for delivery and other criteria, as defined in the ITT. The experience of the Bidder in the performance of similar contracts may also be criterion for selection.

- General Conditions of Contract

All Bidders must acknowledge that the RI General Conditions of Contract for the Procurement of Goods, or Services, or Works, as applicable, are acceptable.

- Cancellation of the ITT

In the event of ITT cancellation, Bidders will be notified by RI. If the ITT is cancelled before the outer envelope of any Bid has been opened, the sealed envelopes will be returned, unopened, to the Bidders

The ITT may be cancelled in the following situations:

- where no qualitatively or financially worthwhile Bid has been received or there has been no response at all;

- the economic or technical parameters of the project have been fundamentally altered;

- exceptional circumstances or force majeure render normal performance of the project impossible;

- all technically compliant Bids exceed the financial resources available;

- there have been irregularities in the procedure, in particular where these have prevented fair competition.

In no circumstances will RI be liable for damages, whatever their nature (in particular damages for loss of profits) or relationship to the cancellation of an ITT, even if RI has been advised of the possibility of damages. The publication of a procurement notice does not commit RI to implement the programme or project announced.

ANNEX D

GENERAL TERMS & CONDITIONS

Insurance Coverage. RI assumes no liability for accidents or injury to CONTRACTOR or their staff during the performance of work under this Contract. It is CONTRACTOR’s obligation to make sure that it has the necessary comprehensive general liability, medical and evacuation insurances in place.

Audit. Contractor agrees to establish and maintain reasonable accounting measures that would enable RI to readily identify Contractor’s assets, expenses, costs of goods, and use of funds. RI shall have the right, at its own expense, to audit and review any financial or operational information of Contractor, or any data collected from the field relating to the work performed. Additionally, Contractor may be subject to audit requirements by authorized representatives of the prime contractor or award agency relating to this agreement, under the control of RI

Relationship of the Partners: The signatory parties of the present Contract are independent organizations and are not agents of each other, joint ventures, or partners. Neither party is authorized or empowered to act on behalf of the other with regard to any contract, warranty, or representation as to any matter. Each party will maintain sole and exclusive control of its own personnel and operations.

Ownership of Work Product:  Ownership of all RI concepts, ideas, procedures and technologies that RI has either partially or fully developed prior to the effective date of this Contract shall be and remain the exclusive property of RI. Any documents, recordings, speeches, photographs, manuals, plans, program designs, proposals, research materials, charts, maps, audiovisuals and other material or devices, articles or manuscripts or public relations material or any other products requested or required by RI as part of Contractor’s job will remain completely as the exclusive property of RI.

Supplies, Equipment, Materials and Procurement. All non-expendable equipment furnished or financed by RI shall remain the property of RI and shall be returned by Contractor to RI within thirty (30) days of the expiration or termination of the present Contract unless otherwise agreed upon between the Parties. Non-expendable equipment is defined as an item which has a purchase price of US $1,000 or more, or the equivalent in local currency at the official rate of exchange on the date of purchase.

Confidentiality and Non-disclosure: Contractor agrees to keep confidential and not to disclose, without the prior written approval of RI’s Country director, any information or data confidential to RI.

Special Indemnification. Contractor, at Contractor’s own expense, shall defend, indemnify, and hold harmless RI, its licensees, consultants, and agents from any claim, demand, cause of action, and liability, including attorney’s fees, to the extent Contractor acted intentionally or with gross negligence to infringe or violate the patent, copyright, license, or other proprietary right of a third party.

General Indemnification: Each party shall indemnify and save harmless the other party from and against any loss, expense, including attorney’s fees, or claim asserted by third parties for damage to third party tangible property, or for bodily injury, or both, arising out of the activities being implemented under this Contract.

Force Majeure: Neither party shall be liable for a failure to carry out the activities under this Contract because of any unforeseeable event beyond its reasonable control and not caused by the fault or negligence of such party, which causes such party to be unable to perform its obligations under the Contract (and which it has been unable to overcome by the exercise of due diligence).

Communication: All official communication related to this agreement shall be delivered to the offices indicated hereunder:

Governing Law:   The construction, validity, performance and effect of this Contract for Services shall be governed by the laws applicable to Sudanese with regard to all purposes related to this Contract.

Severability: Each provision of this Contract is severable.  If one provision is declared void, illegal or unenforceable, the remaining paragraphs shall retain their full force and effect.

Termination: Either of the signatory parties may terminate this Contract for cause at any time, in whole or in part, upon one week advance written notice to the other, whenever it is determined that the party has failed to comply with the terms and conditions of this Contract. The terminating party shall provide written explanation of the basis for its determination and subsequent actions to be taken by either party within 5 calendar days of its notification to terminate or suspend the Contract. The parties may also agree mutually to terminate this Contract at any time, in whole or in part, if both parties agree that the continuation of the Contract would not produce beneficial results. The terms of this Contract will remain in effect until the date of termination.

Notwithstanding any other provision in this Agreement, Contractor understands and agrees that RI has no obligation to provide Contractor with work or any minimum hours. This Contract for Services shall not be deemed terminated as a result of any lack of work. Termination or expiration of this Contract shall not affect Contractor ‘s continuing obligation under Sections 8, 9, and 11 of this Contract relating respectively to ownership of work, confidentiality, non-disclosure and indemnification.

Compliance with Laws: In the course of performance hereunder, the parties shall comply with all applicable local, state and federal laws and regulations. Contractor is reminded that U.S. executive order and U.S. law (including, without limitation, the USA Patriot Act) prohibit transactions associated with terrorism. It is the legal responsibility of Contractor to ensure compliance with such executive order and law.

Arbitration: If any dispute in connection with this Contract for Services arises between the parties, and such dispute cannot be amicably resolved by the parties despite diligent efforts thereto, such claim or dispute shall be submitted to the Sudanese specialized courts which are the only authority to refer to in case of any disagreement arises on the terms of Contract.

Amendments: The present Contract for Services may be amended or revised by mutual agreement as recorded by an exchange of letters between the parties.  The amended or revised clauses shall become effective from the date of their adoption.

Assignment/Sub-contracting: Contractor shall not assign this Contract, in whole or in part, without the prior written consent of RI. With RI’s written consent. Contractor may subcontract some or all of the services required under this Contract for Services.

Anti-Terrorism Certification.  Contractor must not engage in transactions with, or provide resources or support to, individuals and organizations associated with terrorism, including those individuals or entities that appear on the Specially Designated Nationals and Blocked Persons List maintained by the U.S. Treasury (online at: http://www.treasury.gov/resource-center/sanctions/SDNList/Pages/default.aspx) or the United Nations Security designation list (online at: http://www.un.org/sc/committees/1267/aq_sanctions_list.shtml).

Not Debarred or Suspended.  Contractor certifies that neither it nor its principals are presently excluded or disqualified from participation in this transaction by any US Government department or agency.

Lobbying Certification.  Contractor certifies that it will not and has not used any funds received directly or indirectly from the U.S. Government to pay any person or organization for influencing or attempting to influence an officer or employee of any agency, a member of U.S. Congress, officer or employee of Congress, or an employee of a member of Congress in connection with obtaining this Contract or any other U.S. government funded project.

Access to Books and Records.  RI, USAID, and the Comptroller General of the United States, or any of their duly authorized representatives, shall have access to any books, documents, papers and records of Contractor which are directly pertinent to this Contract for the purpose of making audits, examinations, excerpts and transcriptions.

Anti-Trafficking.  The Contractor or its employees, or any Subcontractor or its employees, must not engage in any of the following conduct: Trafficking in persons (as defined in the Protocol to Prevent, Suppress, and Punish Trafficking in Persons, especially Women and Children, supplementing the UN Convention against Transnational Organized Crime) during the period of this Contract;

Procure a commercial sex act during the period of this Contract;

Use forced labor in the performance of the Contract; or

Commit acts that directly support or advance trafficking in persons, including the following acts:

Destroying, concealing, confiscating, or otherwise denying an employee access to that employee's identity or immigration documents;

Failing to provide return transportation or pay for return transportation costs to an employee from a country outside the United States to the country from which the employee was recruited upon the end of employment if requested by the employee, unless: (a) exempted from the requirement to provide or pay for such return transportation by RI under this award; or  (b) the employee is a victim of human trafficking seeking victim services or legal redress in the country of employment or a witness in a human trafficking enforcement action;

Soliciting a person for the purpose of employment, or offering employment, by means of materially false or fraudulent pretenses, representations, or promises regarding that employment;

Charging employee’s recruitment fees; or

Providing or arranging housing that fails to meet the host country housing and safety standards.

Contractor agrees to report in a timely manner to RI any credible information from any source that alleges the contractor or any sub-contractor has engaged in any of the prohibited activities identified in this provision. Reports should also be made to RIs integrity hotline at incidents@ri.org or to the human trafficking hotline +1 844 888 FREE(3733) or email help@befree.org

Whistleblower Protection Program.

The Contractor must inform its employees working under this contract in the predominant native language of the workforce that they are afforded the employee whistleblower rights and protections provided under 41 U.S.C. § 4712.

The Contractor must not require its employees or sub-contractors to sign or comply with internal confidentiality agreements or statements that prohibit or otherwise restrict employees or sub-contractors from lawfully reporting waste, fraud, or abuse related to the performance of this contract to RI or to USAID’s Office of the Inspector General.

The Contractor must notify current employees and sub-contractors that prohibitions and restrictions of any preexisting internal confidentiality agreements or statements covered by this provision, to the extent that such prohibitions and restrictions are inconsistent with the prohibitions of this provision, are no longer in effect.

If RI, USAID or other authorized officials of the US Government determines that the Contractor is not in compliance with the requirements of this provision, RI may, at its sole discretion, suspend or terminate the contract.  Further, RI may, at its sole discretion, decide not pay a portion or all of amounts invoiced or expenditures incurred, as applicable, by the Contractor with funds provided under this contract, and also may require the Contractor to refund a portion or all of any amounts paid to the Contractor under this contract.

Terms in this clause will have the meaning defined in this section or as defined in 2 CFR 200.

“Internal confidentiality agreement or statement” means a confidentiality agreement or any other written statement that the Contractor requires any of its employees or sub-contractors to sign regarding nondisclosure of recipient information, except that it does not include confidentiality agreements arising out of civil litigation or confidentiality agreements that Contractor employees or sub-contractors sign at the behest of a US government agency.

The Contractor must include this provision, including this paragraph (e), in sub awards and sub-contracts funded under this contract.

Mandatory Disclosures.  Contractor must disclose, in a timely manner and in writing to Relief International and to the USAID Office of Inspector General all violations of federal criminal law involving fraud, bribery or gratuity violations potentially affecting the Federal Award.

Disclosures must be sent to: Relief International’s Country Director, or via email to incidents@ri.org

Disclosures to USAID must be sent to:

U.S. Agency for International Development

Office of the Inspector General

P.O. Box 657, Washington, DC 20044-0657

Phone: 1-800-230-6539 or 202-712-1023

Email: ig.hotline@usaid.gov

URL: https://oig.usaid.gov/content/usaid-contractor-reporting-form

Anti-Discrimination and Equal Opportunity.  USAID policy requires that the contractor not discriminate against any beneficiaries in implementation of this contract, such as, but not limited to, by withholding, adversely impacting, or denying equitable access to the benefits provided through this contract on the basis of any factor not expressly stated in the contract. This includes, for example, race, color, religion, sex (including gender identity, sexual orientation, and pregnancy), national origin, disability, age, genetic information, marital status, parental status, political affiliation, or veteran's status. Nothing in this provision is intended to limit the ability of the contractor to target activities toward the assistance needs of certain populations as defined in the contract.

Flow Down Required.  The Contractor agrees to incorporate the terms of “Donor Required Terms and Conditions - USAID” word-for-word in all of its sub-contracts funded under this Contract, if any.

Authority & Binding Effect: By his or her signature below, each signatory hereto represents and warrants that he or she is duly authorized to enter into this Contract on behalf of the party he or she purports to represent such that, upon execution and delivery, this Contract shall be a binding obligation of each party.  This Contract shall be binding upon and inure to the benefit of each party’s legal representatives, successors and permitted assigns.

Mandatory Principles

For the duration of the contract the Contractor and its staff shall respect human rights and undertake not to offend the political, cultural and religious mores of the beneficiary state. In particular, and in accordance with the legal basic act concerned, tenderers who have been awarded contracts shall respect core labor standards as defined in the relevant International Labor Organization (ILO) conventions (such as the Conventions on freedom of association and collective bargaining; Abolition of forced and compulsory labor; Elimination of forced and compulsory labor; Abolition of child labor).

The Contractor must at all times act impartially and as a faithful adviser in accordance with the code of conduct of its profession.

RI reserves the right to suspend or cancel project financing if corrupt practices of any kind are discovered at any stage of the award process and if the contractor fails to take all appropriate measures to remedy the situation. For the purposes of this provision, "corrupt practices" are the offer of a bribe, gift, gratuity or commission to any person as an inducement or reward for performing or refraining from any act relating to the award of a contract or imp implementation of a contract already concluded with Relief International.

Relief International reserves the right to suspend or cancel the contract, where the award procedure proves to have been subject to substantial errors, irregularities or fraud. Where such substantial errors, irregularities or fraud are discovered after the award of the Contract, Relief International may refrain from concluding the Contract.

Complete Contract: This document constitutes the complete and exclusive Contract between the parties, superseding all representations, proposals or promises whether oral or written, and all other communications between the parties, relating to the subject of this Contract.

Inconsistency between the English Version and Translations: In the event of inconsistency between any terms of this Contract for Services and any translation into another language, the English language meaning shall control.

ANNEX E

ITEM SPECIFICATION – PRICE LIST TEMPLATE

# Annex – 1 (Hand Pump/Borehole Pumping Test)

| Location |  | Saraf Umra (Dankooj and wastani) |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Number of Units |  | 02 |  |  |  |
| Scope of Work |  | Provide and transport all required equipment site to Saraf Umra (Aboremala and Tankooj) Removing of equipment including raiser main, connecting rods and cylinder. Provide all pumping test equipment including submersible pump with full accessories, manual generator with alternator to operate the pump. Provide technical person to run pumping test accordingly with using pumping format to record the result and capture the borehole yield. Pump test should extend to an appropriate time length. Finally the vendor should able provide technical that enable RI to install and hand pump to mini water yard accordingly. |  |  |  |
| Bill of Quantities |  |  |  |  |  |
| # | Item Description |  | Quantity | Unit Price | Total Price |
| 1 | Rental of manual engine and alternator with full accessories |  | 3 days |  |  |
| 2 | Rental of Submersible with accessory required |  | 3 |  |  |
| 3 | Rental of vehicle to transport team to site |  | 3 days |  |  |
| 4 | Fuel cost |  | 48 litter |  |  |
| 5 | Labor cost |  | Team |  |  |
| Total Price |  |  |  |  |  |

# Annex – 2 Hand Pumps Rehabilitations

| Location |  | Saraf Umra (Aboremala, Khartoum Jidid, Balaforash and Tankooj) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Number of Units |  | 6 |  |  |  |  |
| Scope of Work |  | Provide and transport all require materials site to Saraf Umra as mentioned in PR. Removing of equipment including raiser main, connecting rods and cylinder. Replace the repair part required and mentioned in BOQ. Reinstall the hand pump according Check the hand pump after rehabilitation to ensure HP working properly after rehab work. |  |  |  |  |
| # | Item Description |  | Unit | QTY | Unit Price | Total Price |
| 1 | Raising Main(1¼)inch with connecting rod (4 Lena) |  | Piece | 30 |  |  |
| 2 | Complete Cylinder assembly |  | Piece | 5 |  |  |
| 3 | Water tank assembly |  | Piece | 5 |  |  |
| 4 | Normal three legged stand assembly |  | Piece | 4 |  |  |
| 5 | Support chain |  | Piece | 4 |  |  |
| 6 | Axel for head assembly |  | Piece | 3 |  |  |
| 7 | Head bolt |  | set | 3 |  |  |
| 8 | M12x40 bolts with nuts (water tank) |  | Piece | 4 |  |  |
| 9 | Raising main socket |  | Piece | 6 |  |  |
| 10 | Foundation bolts 16mm (stand assembly) |  | Piece | 4 |  |  |
| 11 | Chain bolt (supports) |  | Piece | 4 |  |  |
| 12 | Maintenance tool for WUCs |  | Set | 1 |  |  |
|  | Cost must include all the labor and transportation cost |  |  | 1 |  |  |
| Total Price |  |  |  |  |  |  |

# Annex- 3 Upgrading of a Hand pump to Min- Water yard

| Location |  | Saraf Umra (Aboremala) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Number of Units |  | 1 |  |  |  |  |
| Scope of Work |  | Provide and transport all equip and materials as per mentioned in description below to site and install accordingly. Remove all hand pump equip and install mini water yard submersible and raising main with full accessories. Fabricate and construct distribution point (water tap) with 2 points and 6 facet per each. Provide connection upgraded water source to elevated and to distribution points for easy access to beneficiaries. Operate the system after installation to ensure proper operation. |  |  |  |  |
| Bill of Quantities |  |  |  |  | Unit Price | Total Price |
| # | Item Description |  | Unit | QTY |  |  |
| 1 | Generator capacity 16.5 KVA |  | Piece | 1 |  |  |
| 2 | Submersible pump |  | Piece | 1 |  |  |
| 3 | Raising main |  | Piece | 15 |  |  |
| 4 | Generator Shelter |  | Piece | 1 |  |  |
| 5 | Fiber tanker with seat |  | Piece | 1 |  |  |
| 6 | Tap stand construction |  | Piece | 2 |  |  |
| 7 | Pipes and fittings cost |  | Set | 1 |  |  |
| 8 | Labour cost |  | team | 1 |  |  |
| 9 | Transportation cost |  | trip | 1 |  |  |
| Total Price |  |  |  |  |  |  |

# Annex – 4 Upgrading Water yard through the Solar Hybrid system including backup generator

| Parameters |  | Site 1 |
| --- | --- | --- |
| State |  | North Darfur |
| Locality |  | Saraf Umra |
| Village |  | Tankooj |
| Type of water source |  | Borehole |
| Borehole Site name |  | Tankooj |
| GPS Location | Lat, (DD) | 13.48344 |
|  | Long, (DD) | 23.31755 |
|  | Altitude (m) | 878 |
| Water Temperature |  | 35°C |
| Borehole Maximum Yield (m3/h) |  | 12 m3/h |
| Daily Water Demand to be supplied with Solar (m3/day) |  | 80m3/day (5000 beneficiaries) |
| Estimated Maximum Cable Length from pump to inverter (m) |  | 100m |
| Dirt allowance factor |  | 10% |
| Surface available for panel mounting (m2) |  | 200m2 |
| Length of pipe from borehole head to water tank inlet (m) |  | 55m |
| Size and type of delivery pipe to tank |  | 50mm (2”) HDPE |
| Pump intake depth (m) |  | To be determined after pumping test |
| Size and type of drop pipe (inside the borehole) |  | 38mm (1.5”) GI- To be procured (need replacement) |
| Depth of well/borehole (m) |  | 20m |
| Static Water level (m) |  | 8m |
| Dynamic Water Level (m) |  | 14.5m – to be confirmed with pumping test |
| Vertical Height from borehole head to water tank inlet (m) |  | 9m |
| Total Dynamic Pressure Head estimated(m) |  | 30m(with 55m length 2’’HDPE and 15m length 1.5’’ GI, Q=2.5lit/sec) |
| Internal Borehole diameter (inches) |  | 6.5’’ (160mm) |
| Capacity of water tank (m3) |  | 10m3 Oxfam tank |

| ITEM | ITEM DESCRIPTION | QTY | UNIT | Unit Cost | Total Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Supply and install Submersible pump Q=2.5lit/sec, H=30m | 1 | pcs |  |  |
| 2 | Supply and install riser main 38mm (1.5’’) GI pipe (each 3m length) | 5 | Pcs |  |  |
| 3. | Supply and installation of PV Solar panels-module. Mono-Si – 250W(should meet IEC/EN61215&61730 standards- Vendor to submit detail specification) | 15 | pcs |  |  |
| 4. | Supply and installation of Switch box/control box/Inverter On/Off with metallic enclosure. It should also include maximum power point tracking (MPPT), dry running, voltage and overload protection. Equipment brand should be know and acceptable with high preference of Grundfos brand. | 1 | set |  |  |
| 5. | Supply and installation of Support structure-anti corrosion, bolted type for all modules needed with high stand the support fixed two lines as per Engineers instruction | 1 | set |  |  |
| 6. | Supply and installation of Earth wire/rode hole | 1 | pcs |  |  |
| 7. | Supply and installation of the required length cable and security wire kits, includes Pump drop cable, 4x6mm2 , Sensor cable 1.5mm and pump security wire6mm2 as per standard spec and Engineers instruction | 1 | Set |  |  |
| 8. | Supply and installation of the Cable 2.5mm roll of 90m | 1 | roll |  |  |
| 9. | Supply and installation of required appropriate Fittings(Connecter, adapters, elbows, clamp) as per Engineers instruction | 1 | Set |  |  |
| 10. | Supply and installation of the Water flow meter 50mm (2")on the pipe system from BH to Elevated tank inlet as per Engineers instruction | 1 | pcs |  |  |
| 11. | Supply and installation of Timber box for protecting the box | 1 | pcs |  |  |
| 12. | Supply and installation of appropriate Change over switch /Power pack AC-DC needed for operating the Generator set | 1 | pcs |  |  |
| 13. | Supply and installation of the Lightening protection/Surge arrester with copper strip | 1 | pcs |  |  |
| 12. | Supply and installation of a protection 3m high fence for solar system 20x10m(with razor all wire at the top) | 1 | Pcs |  |  |
| 13. | Supply and installation of the required Isolation valve (50mm/2’’ Check valve) as per Engineers instruction | 1 | Pcs |  |  |
| 14 | System testing and on the job training for WUC members | 1 | day |  |  |
| 15 | Supply and install Backup Generator 15KVA | 1 | Pcs |  |  |
| Total Amount |  |  |  |  |  |

# Annex – 5 Rehabilitations of Water Yards Including Diesel Generators

| Location |  | Saraf Umra (Tankooj) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Number of Units |  | 1 |  |  |  |  |
| Scope of Work |  | Vendor need to provide and transport all materials and equipment to site including Manual generator with capacity 20 KVA, full accessories and good model and raising main pipe (Galvanize type), water flew meter (2 inch) and other accessories as per requested in description items. Remove existing equip and reinstall the water yard with new equip and operate to ensure system works accordingly. |  |  |  |  |
| # | Item Description |  | Unit | QTY | Unit Price | Total Price |
| 1 | Manual generator with capacity 20 KVA, full accessories and good model |  | PCS | 1 |  |  |
| 2 | Submersible pump, 2.2 Kw -3 HP |  | PCS | 1 |  |  |
| 3 | System components expansion ( maintenance/Tap stand/cattle trough) |  | PCS | 1 |  |  |
| 3 | Raising main pipe (Galvanize type) |  | PCS | 12 |  |  |
| 4 | water taps (1inch) |  | PCS | 12 |  |  |
| 5 | water flew meter (2 inch) |  | PCS | 1 |  |  |
| 6 | Isolation valve with capacity (2 inch) |  | PCS | 2 |  |  |
| 7 | Other fitting costs |  | Set | 1 |  |  |
| 8 | Transportation cost |  | trip | 1 |  |  |
| 9 | Labour and Installation cost |  | team | 1 |  |  |
| Total Price |  |  |  |  |  |  |

Annex – 6 Improving Sanitary Conditions of Water points (Fencing) (4x3m)

| Location |  | Saraf Umra (Aboremala, Khartoum Jidid, Balaforash and Tankooj) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Number of Units |  | 6 |  |  |  |  |
| Scope of Work |  | Provide material and transport materials to site. Construct the fence with right materials as per mentioned in specification. Vendor should constrain the fence demission as per in description (4x4meter) |  |  |  |  |
| # | Item Description |  | Unit | Qty | Unit Price | Total Price |
| 1 | Steel iron pipe 2 inch, thickness 1.8mm length 6m. |  | Pcs | 4 |  |  |
| 2 | Iron angle 1.r5 inch |  | Pcs | 7 |  |  |
| 3 | Wire mish (gabion) thickness 3 mm, (2x10)m2. |  | Roll | 1.25 |  |  |
| 4 | Gravel for civil work |  | M3 | 0.2 |  |  |
| 5 | Sand for civil work |  | M3 | 0.2 |  |  |
| 6 | Cement best quality |  | Sack | 2 |  |  |
| 7 | Tie wire |  | Kilo | 1 |  |  |
| 8 | Transportation to site |  | Trip | 1 |  |  |
| 9 | Lobar cost |  | Team | 1 |  |  |
| Total Price |  |  |  |  |  |  |

Annex – 7 Pipeline extension

| Location |  | Saraf Urma (Tankooj) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Number of Units |  | 350 length meter |  |  |  |  |
| Scope of Work |  | Providing of materials and transport to site as per mentioned in below item description. Pipeline expansion excavation should be 0.6 meter depth at least to safe pipes from damage. Vendor need make pipeline connection properly to avoid any leakage issues. Operate the pipeline to test efficiency of line and water accessibility is enough. |  |  |  |  |
| # | Item Description |  | Unit | Qty | Unit Price | Total Price |
| 1 | Pipe GI 2'' with 3 meter length |  | no | 4 |  |  |
| 2 | Pipe plastic (polyline) 2'' |  | roll | 4 |  |  |
| 2 | Fitting cost (10%) |  | set | 1 |  |  |
| 3 | Labor cost (5%) |  | team | 1 |  |  |
| 4 | Transport (5%) |  | trip | 1 |  |  |

Annex – 8 Construction of Underground water tank 10 m3

| Location |  | Saraf Umra and ELMalha (Ein bisaroKhartoum Jidid, Balaforash and Tankooj |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Number of Units |  | 4 |  |  |  |  |
| Scope of Work |  | Providing of materials and transport to site as per mentioned in below item description. The capacity of underground is 10M3 so vendor need to ensure the excavation is been made accordingly. Brick wall should be first class (1), cement mortar 1:4. |  |  |  |  |
| # | Item Description |  | UNIT | Qty | Unit Cost | Total Cost |
| 1 | Excavation 2.6*2.6*(2.5 deep) m3 |  | M3 | 17 |  |  |
| 2 | Cast plain concrete 5cm under the bed |  | M3 | 0.3 |  |  |
| 3 | Cast reinforced concrete 10cm thick for the bed |  | M3 | 0.7 |  |  |
| 4 | Building 1½ brick wall by red brick class (1) & cement mortar 1:4 for underground water wall. |  | M2 | 24 |  |  |
| 5 | Cast reinforced concrete 10cm thick for tank cover 10cm thickness |  | M3 | 0.7 |  |  |
| 6 | Make Cement plaster for inside and outside the wall , mixed 1:4 |  | M2 | 30 |  |  |
| 7 | Paint inside wall by waterproof. |  | M2 | 24 |  |  |
| 8 | installation of metal high level plate cover size 50x50cm framed by angle 2 inch |  | PSC | 1 |  |  |
| Total Cost |  |  |  |  |  |  |

Annex – 9 Elevated tank for Health facility of 3m stand   with plastic tank 2000 liter

| Location |  | Saraf Umra (Tankooj) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Number of Units |  | 1 |  |  |  |  |
| Scope of Work |  | Providing of materials and transport to site as per mentioned in below item description. The capacity of elevated tank is 2000 liter. Construction and Installation of new 2000 liter capacity Elevated steel water tank for Health facility complete (steel angles, steel plate tensions) and erect elevated steel reservoir mounted on 3 meters height including reinforced concrete foundation- iron sheet; iron angle support as needed with a tower; appropriate thickness main beam, branch beam, iron angle support & all other accessories Including essential pipeline connections (outlet, inlet, overflow, washout). |  |  |  |  |
| # | Item Description |  | Unit | QTY | Unit Cost | Total Cost |
| 1 | Water tank (poly 2000 liter ) |  | pcs | 1 |  |  |
| 2 | Steel 14 ×7 ml (ca mur) |  | m | 14 |  |  |
| 3 | Angle 2.5 inch 3×6 6 meter |  | pcs | 5 |  |  |
| 4 | Sand |  | m3 | 0.5 |  |  |
| 5 | Cement 50 KG |  | bag | 1 |  |  |
| 6 | Gravel |  | M3 | 0.3 |  |  |
| 7 | Water |  | lit | 100 |  |  |
| 8 | Oil paint (Gallon) with anti-rust |  | Gallon | 0.5 |  |  |
| 9 | Printing ( ECHO$RI logo |  | logo | 1 |  |  |
| 10 | Plastic Pipe 1 inch |  | m | 20 |  |  |
| 11 | Copper valve 1 inch |  | Pcs | 1 |  |  |
| 12 | steel pipe (Galvanize) 6 meter 1 inch |  | pcs | 2 |  |  |
| 13 | steel tube 3×6 6 meter |  | PCs | 3 |  |  |
| 14 | Lobar cost for Metallic (welding steel stand) + installation +connection of water |  | Team | 1 |  |  |
| 15 | Transportation |  | per Trip | 1 |  |  |
| Total Cost |  |  |  |  |  |  |

# Annex – 10 Construction of VIP Latrine

| Location |  | Saraf Umra (Tankooj) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Number of Units |  | 2(one two seat latrine and one single seat latrine with shower room) |  |  |  |  |
| Scope of Work |  | Providing of materials and transport to site as per mentioned in below item description Vendor should provide all materials as per below description and accordingly. Building brick with 1.5 thickness and first class (1). Excavation for strip foundation 50x50cm and Excavation for pit 2m diameter & 4m deep. Vendor need to good finishing after construction work and disposal any useless material around constructed VIP latrine remain. |  |  |  |  |
| # | SPACIFICATIOPNS |  | UNIT | Qty | Unit Cost | Total Cost |
| 1 | Excavation for pit 2m diameter & 4m deep |  | M3 | 12.5 |  |  |
| 2 | Excavation for strip foundation 50*50cm |  | M l | 8 |  |  |
| 3 | Building 1.5brick wall by red brick class (1) & cement mortar 1:8 for wall foundation |  | M2 | 5.5 |  |  |
| 4 | Cast reinforced concrete 10cm thick for pit |  | M3 | 0.7 |  |  |
| 5 | Cast 20*20cm for grade beam & lintel tie beam 20*10cm |  | M l | 14 |  |  |
| 6 | Building 1.5 brick wall by red brick class (1) & cement mortar 1:8 until 20cm above ground level for walls |  | M2 | 3 |  |  |
| 7 | Building 1 brick wall with cement mortor1;8 for pit & privacy & latrine wall contains parapet |  | M2 | 60 |  |  |
| 8 | Supply and fix the roof by zinc sheet 0.35mm using painted metal pipes 3× 6 (1 inch ) as purlin. |  | M2 | 3.6 |  |  |
| 9 | Make Cement plaster for inside and outside of All latrine wall , mixed 1:8 |  | M2 | 70 |  |  |
| 10 | Paint for inside and outside of All latrine walls. |  | M2 | 70 |  |  |
| 11 | Installation of Ventilations Pipe PVC 4 inches length 3m |  | NO | 1 |  |  |
| 12 | Installation of door with dimensions (70x190 cm) meters of steel plate & pipes 3×6. |  | Door | 2 |  |  |
| 13 | Installation of Steel high level ventilation size 30x30cm |  | Window | 2 |  |  |
| 14 | Installation of eastern toilet seat |  | Seat | 2 |  |  |
| 16 | Hand wash facility |  | HWF | 1 |  |  |
| Total Cost |  |  |  |  |  |  |

# Annex – 11 Construction Of  incinierators

| Location |  | Saraf Umra and ELMalha (Ein bisaroKhartoum Jidid, Balaforash and Tankooj |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Number of Units |  | 5 |  |  |  |  |
| Scope of Work |  | Providing of materials and transport to site as per mentioned in below item description Provide incinerator materials as per below description. Vendor need to constrain with building brick descript (thermal cement) and incinerator outer dimension 1.1m high |  |  |  |  |
| # | Item Description |  | UNIT | Qty | Unit Cost | Total Cost |
| 1 | Cast plain concrete 5cm 2×2 under platform |  | m2 | 4 |  |  |
| 2 | Cast reinforced concrete 10cm thick - 2×2m as incinerator platform. |  | m3 | 4 |  |  |
| 3 | Building ½ brick 2layer wall by thermal brick) & thermal cement mortar for 1½×1½m incinerator outer dimension.1.1m high |  | M2 | 7 |  |  |
| 4 | Installation of ash sieve by 3 leaner bar with 2 cm space. |  | Pcs | 1 |  |  |
| 5 | Cast reinforced concrete 7cm thick for incinerator cover cover 10cm thickness |  | M3 | 2.25 |  |  |
| 6 | installation of 3 inch D circular metal ventilation pipe (3m ) |  | Pcs | 1 |  |  |
| 7 | installation of metal high level plate cover size 50x50cm framed by angle 2 inch |  | Pcs | 3 |  |  |
| 8 | Installation of 3×3m fence using circular 3 inch D petal pipe and barbed mesh 2.5mm. The height is 2m.The price contains installation of door. |  | ML | 12 |  |  |
| Total Cost |  |  |  |  |  |  |

# Annex – 12 Hand washing facility with foot press

| Location |  | Saraf Umra (Aboremala, Khartoum Jidid, Balaforash and Tankooj) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Number of Units |  | 60 |  |  |  |  |
| Scope of Work |  | Providing of materials and transport to site as per mentioned in below item description Construction and installation of Handwashing facilities with plastic containers (100lit), faucets and metal stand for each handwashing facility. Vendor need to constrain with mentioned items as per below description and make sure foot press functioning well. |  |  |  |  |
| # | Material |  | Unit | Quantity | Unit Cost | Total Cost |
| 1 | Iron angle 2x2 inch with length 6m for stand frame |  | PCS | 1.5 |  |  |
| 2 | Iron pipe 3x6 CM |  | PCS | 0.5 |  |  |
| 3 | Iron bar or rod for foot press |  | PCS | 0.25 |  |  |
| 4 | Tap 0.5 inch |  | PCS | 1 |  |  |
| 5 | Socket 0.5 inch |  | PCS | 1 |  |  |
| 6 | Nipple 0.5 inch |  | PCS | 1 |  |  |
| 7 | Water tape |  | PCS | 1 |  |  |
| 11 | Labor cost |  | Team | 1 |  |  |
| 12 | Transportation to site |  | Trip | 1 |  |  |
| 13 | Water container /plastic type with 100 litter capacity |  | PCS | 1 |  |  |
| 14 | Paint with oil |  | Liter | 1 |  |  |
| Total Cost |  |  |  |  |  |  |

# Annex – 13 Rehabilitation of 4.5*8m zinc sheet room with partition in Dankoj.

| Location |  | Dankoj, Saraf Omra |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Number of Units |  | 1 |  |  |  |  |
| Scope of Work |  | - Mobilize all local and supported materials to the site - Excavation of the strip foundation 30 x 40 cm for the whole building foundation - Built 1½ brick wall from the foundation bottom till 30cm above ground level, with cement sand - Install the metal pipe frame - Build 1 brick wall with cement-sand mortar 1.2 m high. - Use corrugated zinc sheet class 35 for roofing with metal pipe 4*8 cm as purlin. - Use corrugated zinc sheet class 35 for the sides with metal pipe 4*8 cm as shown in drawings. - Use corrugated zinc sheet class 35 for partition. - Fix the door& window according to the location mentioned in the design and drawings. - Compacted earthwork for floor - Cast 6cm plain concrete for floor. |  |  |  |  |
| # | Specifications |  | Unit | Qty | Unit Cost | Total Cost |
| 1 | Portland Cement 50 kg |  | BAG | 18 |  |  |
| 2 | Gravel |  | M3 | 4 |  |  |
| 3 | Soil for ground embankment |  | M3 | 10 |  |  |
| 4 | Sand |  | M3 | 8 |  |  |
| 5 | Red bricks |  | THOUSAND | 8 |  |  |
| 6 | Zinc sheets American -- length = 4.5m |  | PCS | 25 |  |  |
| 7 | Drilling nail |  | BOX | 2 |  |  |
| 8 | Iron pipe size: 4x 8 m - 1mm thickness |  | PCS | 33 |  |  |
| 9 | Water |  | BARREL | 10 |  |  |
| 10 | Door 1.1*2. |  | PCS | 2 |  |  |
| 11 | Widow 1*1.2 |  | PCS | 4 |  |  |
| 12 | Transportation |  | TRIP | 1 |  |  |
| 13 | Labor cost containing Excavations |  | TEAM | 1 |  |  |
| 14 | Portland Cement 50 kg |  | BAG | 18 |  |  |
| 15 | Gravel |  | M3 | 4 |  |  |
| Total Cost |  |  |  |  |  |  |

Drawing of the zinc sheet shelter with partition to be constructed:

ISOMETRIC VEW

Annex – 14 Rehabilitation of 6*9m existing zinc sheet room with partitions in Dankoj.

| Location |  | Dankoj, Saraf Omra |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Number of Units |  | 1 |  |  |  |  |
| Scope of Work |  | - Mobilize all local materials to the site - Covering all over outside perimeter and partitions of the existing 6*9 zinc sheet shelter be bamboo sheets. To be tied and fixed well and re-fix the doors. According to the attached drawing |  |  |  |  |
| # | Specifications |  | Unit | Qty | Unit Cost | Total Cost |
| 1 | Bambo sheet 1.8*3m |  | PCS | 28 |  |  |
| 2 | Bambo stick 6m length |  | PCS | 16 |  |  |
| 3 | Gongarang (tie rod) |  | BUNDLE | 4 |  |  |
| 4 | Transportation |  | TRIP | 1 |  |  |
| 5 | Labor cost containing Excavations |  | TEAM | 1 |  |  |
| Total Cost |  |  |  |  |  |  |

Annex – 15 Rehabilitation of 6*12m existing zinc sheet room with partitions in Khartoum Jadid.

| Location |  | Khartoum Jadid |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Number of Units |  | 1 |  |  |  |  |
| Scope of Work |  | - Mobilize all local materials to the site - Covering all over outside perimeter and partitions of the existing 6*9 zinc sheet shelter be bamboo sheets. To be tied and fixed well and re-fix the doors. According to the attached drawing. |  |  |  |  |
| # | Specifications |  | Unit | Qty | Unit Cost | Total Cost |
| 1 | BAMBO SHEET 1.8*3M |  | PCS | 32 |  |  |
| 2 | BAMBO STICK 6M LENGTH |  | PCS | 16 |  |  |
| 3 | GONGARANG (TIE ROD) |  | BUNDLE | 4 |  |  |
| 4 | TRANSPORTATION |  | TRIP | 1 |  |  |
| 5 | LABOR COST |  | TEAM | 1 |  |  |
| Total Cost |  |  |  |  |  |  |

Annex 16 - Rehabilitation in Clinics.

| Item | Description | Unit | Quant | Unit c. | Total |
| --- | --- | --- | --- | --- | --- |
| 1 | Plastering outside existing room in Remaila By cement mortar 1:8 | M2 | 60 |  |  |
| 2 | Changing the disposable zinc sheets in Blafrash existing shelter, painting and Closing holes in other old zinc sheets | M2 | 25 |  |  |

Annex – 17  Rehabilitation of 4.5*8m zink sheet room with partition in Remela, Dankoj Blafrash,and Khartoum Jadid

| Location |  | Remela, Dankoj, Blafrash,and Khartoum Jadid |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Number of Units |  | 04 |  |  |  |  |
| Scope of Work |  | - Mobilize all local and supported materials to the site - Excavation of the strip foundation 30 x 40 cm for the whole building foundation - Built 1½ brick wall from the foundation bottom till 30cm above ground level, with cement sand - Install the metal pipe frame - Build 1 brick wall with cement-sand mortar 1.2 m high. - Use corrugated zinc sheet class 35 for roofing with metal pipe 4*8 cm as purlin. - Use corrugated zinc sheet class 35 for the sides with metal pipe 4*8 cm as shown in drawings. - Use corrugated zinc sheet class 35 for partition. - Fix the door& window according to the location mentioned in the design and drawings. - Compacted earthwork for floor - Cast 6cm plain concrete for floor. |  |  |  |  |
| # | SPACIFICATIOPNS |  | UNIT | Qty | Unit Cost | Total Cost |
| 1 | Portland Cement 50 kg |  | Bag | 18 |  |  |
| 2 | Gravel |  |  |  |  |  |
| 3 | Soil for ground embankment |  | M3 | 10 |  |  |
| 4 | Sand |  |  |  |  |  |
| 5 | Red bricks |  |  |  |  |  |
| 6 | Zinc sheets American -- length = 4.5m |  | PCS | 25 |  |  |
| 7 | Drilling nail |  |  |  |  |  |
| 8 | Iron pipe size: 4x 8 m - 1mm thickness |  | PCS | 33 |  |  |
| 9 | Water |  |  |  |  |  |
| 10 | Door 1.1*2. |  |  |  |  |  |
| 11 | Widow 1*1.2 |  |  |  |  |  |
| 12 | Transportation |  |  | Trip |  |  |
| 13 | Labor cost containing Excavations |  | Team | 1 |  |  |
| Total Cost |  |  |  |  |  |  |

Drawing of the zinc sheet shelter with partition to be constructed:

ISOMETRICVEIW

Vendor could submit Panels bigger or smaller than 250W but the number of panels needed should be adjusted proportionally.

Unit rate should include/consider all associated submersible pumps withdrawal, installation/re-installation of submersible pumps and Generators.