International Rescue Committee

SUDAN COUNTRY PROGRAM

Request for Proposal (RFP)

For the

REHABILITATION OF CHILD PROTECTION SAFE CLASSROOM, KITCHEN, OFFICE, AND GUARD SHELTER.

Ref: #:PR2SSD/SDN/SDGSU/931008

| Planned Timetable |  |
| --- | --- |
| Issue Request for Proposal | 8th May 2022 |
| Questions from Suppliers due date | 10th May 2022 |
| Answers to Suppliers questions due date | 12th May 2022 |
| Bid submission due date | 22nd May 202 |
| Suppliers return signed Intent to Bid forms due date | 22nd May 2022 |
| Bid Opening and Evaluation date | 25th May 2022 |
| Suppliers visit if applicable | 29th May 2022 |
| Award of Business | 1st June 2022 |
| Contracts start | 15th June 2022 |

Table of Content

Pages

- INTRODUCTION:

- The International Rescue Committee

- Source of Funds………………………………………………………….….		         			  1

- Bidder Purpose ……………………………………………………………. 	                         			  1

- Cost of Bidding……………………………………………………………..		           			  1

##### BIDDING DOCUMENTS:

4.  The Bidding Documents…………………………………………. 	          	          			1

5.  Clarification of Bidding Documents……………………………                                     			2

- PREPARATION OF BIDS:

- Language of Bid……………………………………………………                                     			2

- Documents Comprising the Bid…………………………………                                    			2

- Bid Prices……………………………………………………………	                        			2

- Bid Currencies………………………………………………………                                    			3

- Document Establishing Good’s Eligibility and

Conformity to Bidding Documents………………………………                                   			3

- Bid Security………………………………………………………….                                   			3

- Period of Validity of Bids………………………………………….                                   			3

- Format and Signing…………………………………………………                                  			4

- SUBMISSION OF BIDS:

- Sealing and Marking of Bids……………………………………………                          			4

- Deadline for Submission of Bids………………………………………                          			4

- Late Bids…………………………………………………………………  	                       			4

- Modification and Withdrawal of Bids…………………………………                           			4

##### Bid OPENING AND EVELUATION

- Clarification of Bids…………………………………………………………..                   			5

- Preliminary Examination…………………………………………………….                   			5

- Evaluation and Comparison of Bids………………………………………                   			5

- Contacting the PURCHASER………………………………………………...                 			5

- Award Criteria / Notification…………………………………………………                  			5

- Notification of Award…………………………………………………………                  			5

- Warranty/Assurance………………………………………………………....                    			5

- Inspection……………………………………………………………………..                    			6

- Price schedules……………………………………………………………….                 			6

##### INTRODUCTION

- The International Rescue Committee

The International Rescue Committee, hereinafter referred to as “the IRC”, is a non-profit, humanitarian agency that provides relief, rehabilitation, protection, resettlement services, and advocacy for refugees, displaced persons and victims of oppression and violent conflict.

- The Purpose of this Request for Proposal (RFP):

It is the intent of this RFP to secure competitive proposals to select Service Provider(s) for the International Rescue Committee Sudan Country Program for the Construction of:

- Rehabilitation of child protection safe classroom, kitchen, office, and guard shelter.

All eligible construction companies and contractors that are qualify and are technically competent for the provision of      services as specified in Annexes are invited to submit their proposals.

The winning bidder(s) will enter into a fixed price agreement for the period of executing the Rehabilitation works, not expected to exceed 2 months, Bidders shall be domiciled/resident and must have complied with all Government legal Regulations to operate in the Republic of Sudan and a regular taxpayer to offer such services as specified in the tender and shall furnish copy of its operating license/certificate of registration valid for the fiscal year 2022. The Bidder shall not be under a declaration of ineligibility for corrupt or fraudulent practices.

- Cost of Bidding

The Bidder shall be responsible for all costs associated with the preparation and submission of its bid, and IRC hereinafter referred to as “the Purchaser”, will in no case be responsible or liable for those costs, regardless of the conduct or outcome of the bidding process.

##### THE BIDDING DOCUMENTS:

- The Bidding Documents

The Bidder is expected to carefully examine all instructions, forms, terms, Technical Drawings for CP Rehabilitation of child protection safe classroom, Kitchen, office, and guard shelter and Bill of Quantities, and material specifications in the bidding documents prepared for the selection of authorized contractors. Failure to furnish all information required as per the bidding documents or to submit a bid not substantially responsive to the bidding document in every respect will be at the Bidder’s risk and may result in bid rejection.

- Clarification of Bidding Documents

A prospective Bidder requiring any clarification of the Bidding Documents may notify the Purchaser in writing to SUKhartoum-Procurement@rescue.org. The request for clarification must reach the purchaser later than 10th May 2022. The Purchaser will respond by e-mail letter providing clarification on the bid documents by 12th May 2022. Written copies of the Purchaser’s response (including an explanation of the not query but without identifying the source of inquiry) will be communicated to all prospective Bidders, who had received the bidding documents.

##### III. PREPARATION OF BIDS:

- Language of Bid

The bid and all relative correspondence and documents exchanged between the bidders and the Purchaser shall be written in English language only. Any printed literature furnished by the bidder and written in another language must be accompanied by an English translation of its pertinent passages, in which case, for purposes of interpretation of the bid, the English translation shall prevail. Any translations must be performed by a licensed translator as recognized and notarized by the Courts and Government of Sudan

Documents Comprising the Bid

Failure to supply all requested information or comply with the specified formats may disqualify the bidder from consideration.

- A Bid detailing the unit price only in using the IRC empty BOQ sheet given for the purpose (completed signed and stamped IRC BOQ template) - (Annex A) - Valid: - Certificate of Business registration, Operator’s License, Memorandum and Article of Association with names of the owners’ shareholders/directors of the company, and Valid Sudan Chamber of commerce, Industry & contractors membership certificate or related other, in Sudan - Profile of the company - Valid Tax Clearance Certificate, in Sudan - Valid Trader’s License - Clear and detailed delivery timetable project/work plan (reflecting the BoQ). - Three recommendation letters of Satisfactory Performance /certificate of completion that states and confirms good track record specifying the contract amounts of three executed similar construction projects, not older than 2020. - Financial capabilities- Clear copy of their latest 2 months (Feb -March) bank statement - Cover letter explaining interest to be a contracted vendor or contractor - List of Key Personnel to be deployed for the project with the CVs. - Vendor’s Information form completed and signed. – (Annex D) - IRC Conflict of Interest and Code of Conduct completed and signed – (Annex E) - Intent to bid form, completed and signed – (Annex F) - Technical Drawings - Materials Specifications - The Request for Proposal – RFP (this document) - Summarized scope of works

- Bid Prices & Price Changes

For the purpose of selecting a Contractor and executing the procurement Agreement, the Bidder shall clearly indicate the prices for all services to be provided. All prices shall be clearly indicated in the space provided on the Bill of Quantity. The Bidder must sign and officially stamp the price schedule.

- Bid Currencies

All rates and amounts entered in the Bid Form and Price Schedule and used in any documents, correspondence or operations pertaining to this tender shall be expressed in UNITED STATES DOLLARS ONLY.

- Document Establishing Good’s Eligibility and Conformity to Bidding Documents

Pursuant to Clause 7, the bidder shall furnish, as part of its bid, documents establishing the eligibility and conformity to the Bidding Documents of all goods/construction materials and which the Bidder proposes to supply.

The Documentary evidence of the construction works /services in conformity to the Bidding Documents may be in the form of technical specifications, literature, drawings, certificates of recognition, data (tables, graphs etc.), and shall furnish:

- A detailed description of the services’ essential technical and performance characteristics.

- A clause-by-clause commentary on the Purchaser’s Technical Specifications demonstrating the undertaken construction works substantial responsiveness to those specifications or a statement of deviations and exceptions to the provisions of the Technical Specifications.

The bidder shall note that standards for workmanship, material and equipment, and references to brand names or catalogue numbers designated by the Purchaser in its Technical Specifications are intended to be restrictive. However, the Bidder may substitute alternative standards, brand names and/or catalogue numbers in its bid, provided that it demonstrates to the Purchaser’s satisfaction that the substitutions are substantially equivalent or superior to those designated in the Technical Specifications.

- Bid Security

For the Purpose of this Tender, Bid Security or Bond is not applicable.

- Period of Validity of Bids

Bids shall remain valid for 90 working days after the date of bid opening prescribed by the Purchaser, a bid valid for a shorter period may be rejected by the Purchaser as non-responsive.

In exceptional circumstances, the Purchaser may request the Bidders to extend the period of validity. The request and the responses thereto shall be made in writing by letter or e-mail. A bidder agreeing to the request will not be required nor permitted to modify his bid.

- Format and Signing

The original bid shall be signed by the Bidder or a person or persons duly authorized to bind the Bidder to the contract.  Financial proposal pages of the bid shall be initialed by the person or persons signing the bid and stamped with the company seal.

Any interlineations, erasures, or overwriting shall be valid only if they are initialed by the person or persons signing the bid.

Note: A single bidder may not bid on the same tender via more than one company under his or her ownership. In addition, bidders having close relationships with other bidders (members of the same family, subsidiary, or daughter companies, etc.) may not bid on the same tender. This type of action, or any other action judged by the Purchaser to constitute collusive behavior, will lead to the bidder(s) being automatically eliminated from this tender and disqualified from participating in future IRC tenders.

SUBMISSION OF BIDS

- Submission and Marking of Bids:

Bidder shall submit sealed bids addressed to:

The Procurement Committee,

International Rescue Committee

Plot 43, block 22, Graif West Badr Street Khartoum, Sudan

Or

International Rescue Committee

Gadarif City, Block 15 ML ,House 1/3 ,Daim Hamad ,Shareg Area, Sudan

All bids shall be submitted before 4:00pm on the 22nd May 2022 (Central African Standard Time / Sudan Time).  All bids are to be put into the box by the Provider provided for the purpose. NOTE: Bids submitted after the deadline will not be accepted.

Any clarification from a Bidder will be provided by 12th May 2022. Late submission of bids will not be accepted.

Bidders must sign the bid register form at the reception of the IRC office indicating their company name, telephone number, and date of submission.

Format

The Bidder’s proposal shall comprise of technical proposal and financial proposal, in separate sealed envelopes.

| ENVELOPE | CONTENT |
| --- | --- |
| Technical/Administrative Proposal Envelope | - A Bid detailing the unit price only in using the IRC empty BOQ sheet given for the purpose (completed signed and stamped IRC BOQ template) - Valid: - Certificate of Business registration, Operator’s License, Memorandum and Article of Association with names of the owners’ shareholders/directors of the company, and Valid Sudan Chamber of commerce, Industry & contractors membership certificate or related other, in Sudan - Profile of the company - Valid Tax Clearance Certificate, in Sudan - Valid Trader’s License - Clear and detailed delivery timetable project/work plan (reflecting the BoQ per project). - Three recommendation letters of Satisfactory Performance /certificate of completion that states and confirms good track record specifying the contract amounts of three executed similar construction projects, not older than 2020. - Financial capabilities- Clear copy of their latest 2 months (Feb -March) bank statement - Cover letter explaining interest to be a contracted vendor or contractor - List of Key Personnel to be deployed for the project with the CVs attached per each location.. - Intent to bid form, completed and signed - Vendor’s Information form completed and signed. - IRC Conflict of Interest and Code of Conduct completed and signed |
| Financial Proposal Envelope | Completed Price /Offer Sheet ( Annex A). Duly Signed and Stamped. |
| Submission Envelope | Shall Contain both Sealed Financial Proposal and Technical/Administrative proposal. – This Envelope shall only be marked with the tender reference as described below |

No markings identifying the bidder shall appear on the outside envelope. The only writing on the outside envelope shall be “Bid Reference Number”

- Modification and Withdrawal of Bids

The Bidder may modify or withdraw its bid after the bid’s submission, provided that written notice of the modification, including substitution or withdrawal of the bids, is received by the Purchaser prior to the deadline prescribed for submission of bids.

The Bidder’s modification or withdrawal notice shall be prepared, sealed, marked, and dispatched. No bid may be modified after the deadline for submission of bids.

##### BID OPENING AND EVALUATION

- Preliminary Examination

The Purchaser will examine the bids to determine whether they are complete, whether any computational errors have been made, whether required sureties have been furnished, whether the documents have been properly signed and whether bids are generally in order.

- Evaluation and Comparison of Bids

Bids determined to be substantially responsive as per section 7 above will be considered for the evaluation process with the below scoring criteria.

Scoring Criteria for the Construction for CP Rehabilitation of child protection safe classroom, Kitchen, office, and guard shelter

Works/Service Tender

| EVALUATION CRITERIA | Description | Weight (%) |
| --- | --- | --- |
| Eligibility | Refers to Bidder’s ability to demonstrate that they have valid business registration, tax certificate, all registration as required by the laws of Sudan. Eligibility criteria will be scored YES / NO. Yes, will proceed to full technical evaluation and NO will be excluded from the next step. | Preliminary to pass to the next step |
| Service Delivery | Clear and detailed implementation timetable and or work plan (reflecting the BoQ items per location) with maximum lead time. The bidder should provide a detailed implementation plan showing how the bidder is going to execute the project and how it shall be managed. This shall include the project milestones and corresponding timelines. | 15% |
| Payment terms | The IRC payment terms are to pay within 30 calendar days after acceptance of satisfactory services and receipt of invoice. Kindly indicate the acceptance in the designated section in the vendor information form | 10% |
| Past Experience | Three recommendation letters of Satisfactory Performance /certificate of completion that states and confirms good track record specifying the contract amounts of three executed similar construction projects, not older than 2020 | 10% |
| Organizational Capacity | Copies of the Project Team Structure for each site and designated CVs (minimum Team structure) as follows: -Dedicated Site Engineer to the project: minimum 4 years of experience with at least BSc degree in Engineering and at least 5 projects similar in scope to the current project. -Dedicated project supervisor to manage the project: minimum 5 years of experience with at least BSc degree in Engineering. Diplomas in Project Management is a must or else at least 5 projects similar in scope to the current project. | 5% |
| Financial Capacity | Clear copy of their latest 2 months (March- April ) bank statement | 10% |
| Financial proposal | Competitive Offer as per the duly filled and signed IRC BOQ of REHABILITATION OF CHILD PROTECTION SAFE CLASSROOM, KITCHEN, OFFICE, AND GUARD SHELTER Annex A | 50% |
|  |  | 100% |

- Contacting the Purchaser

Subject to Clause 5, no Bidder shall contact the Purchaser on any matter relating to its bid, from the time of the bid opening to the time the Contract is awarded or selected authorized supplier or vendor is announced.

- Notification of Award

Prior to the expiration of the period of bid validity, the Purchaser will notify the successful bidder in writing or where necessary by phone that his/her bid has been accepted and, selected for Contract for the specific goods, works and/or services.

##### CONTRACTING

- Contract award and notification

The Purchaser will award the Contract to the notified successful Bidder(s) whose bid has been determined to be substantially responsive and has been determined as the best evaluated bid considering price/performance factors, provided further that the Bidder is determined to be qualified to enter into Master service Agreement and perform its obligations satisfactorily.

- Warranty/Assurance

All works shall be warranted for 12 months, this liability will cover all construction defects arising during the operation period. A Certificate will be required, the submission of the said document, and the confirmation of its acceptance by the IRC, shall be a condition for the effectivity of the Contract that will be signed by and between the successful Bidder and IRC. The IRC shall withhold a Retention Amount at a value of 10% of the total contract value for a period of two(2) months in case of any construction defects arising during the operation period.

- Inspection

The Purchaser shall have the right to inspect the Construction works / service to confirm their conformity to the specification. The inspection will be conducted by assigned technical staff of the Purchaser or a reputed relevant consultant selected by the Purchaser.

Upon entering into a construction agreement, the IRC periodically inspect the progress of the construction works and should any materials and or workmanship fail to conform with the specifications provided for in the bid documents and bills of quantities, the IRC will solely decide to wither reject them and ask the bidder to commit in writing to use the right materials and rectify technical error or decide to terminate the contract.

- Service or consultant agreements

For service or consultant agreements time and material awards are not authorized unless it is the only suitable award and a ceiling is established.

Disclaimer

The Purchaser reserves the right to alter the dates of the timetable.

The Purchaser does not bind itself to accept the lowest or any proposal.

Ethical Operating Standards

The IRC Way: Standards for Professional Conduct (“The IRC Way”), the IRC’s code of conduct, and IRC’s combating Trafficking in Persons Policy.  The IRC Way provides three (3) core values - Integrity, Service, and Accountability – and twenty-two (22) specific undertakings.

The IRC Way provides, inter alia, that IRC does “not engage in theft, corrupt practices, nepotism, bribery, or trade in illicit substances.” IRC’s procurement systems and policies are designed to maximize transparency and minimize the risk of corruption in IRC’s operations.

IRC requests that a supplier (i) informs IRC upon becoming aware that the integrity of IRC’s business has been compromised during the RFP process, and (ii) report such events through IRC’s confidential hotline, Ethics point, which can be accessed at www.ethicspoint.com or via toll–free (866) 654–6461 in the U.S., or collect (503) 352–8177 outside the U.S.

1.	Ethical Operating Standards

A.	Compliance to the IRC Way

The IRC Way: Standards for Professional Conduct (“The IRC Way”), the IRC’s code of conduct, which can be found at: https://www.rescue.org/page/our-code-conduct and IRC’s combating Trafficking in Persons Policy, which can be found at: https://rescue.app.box.com/s/h6dv915b72o1rnapxg3vczbqxjtboyel. The IRC Way provides three (3) core values - Integrity, Service, and Accountability – and twenty-two (22) specific undertakings.

The IRC Way provides, inter alia, that IRC does “not engage in theft, corrupt practices, nepotism, bribery, or trade in illicit substances.” IRC’s procurement systems and policies are designed to maximize transparency and minimize the risk of corruption in IRC’s operations.

IRC requests that a supplier

(i)	informs IRC upon becoming aware that the integrity of IRC’s business has been compromised during the RFP process, and

(ii)	reports such events through IRC’s confidential hotline, Ethics point, which can be accessed at www.ethicspoint.com or via toll–free (866) 654–6461 in the U.S., or collect (503) 352–8177 outside the U.S.

B.	Bidder Non-Collusion Statement

IRC prohibits collusion and will disqualify all bids where collusion is detected. Collusion happens when related parties submit separate bids for the same tender. Collusion includes situations where:

a)	Members of the same family submit separate bids for the same tender

b)	Separate companies owned by the same person submit separate bids for the same tender

c)	Employees of a bidding company submitting separate bids through companies they own for the same tender

d)	Partners in a bidder submitting separate bids under their own names/ companies they own for the same tender

It is collusion for a person to be involved in more than companies/ businesses submitting a bid to the same tender. Collusion will lead to IRC disqualifying the involved Individuals or companies from that tender as well as disqualify them from submitting bids for future tenders. In addition, IRC may share information relating to this collusion with other international aid organizations operating in the region leading to loss of business opportunities for the colluders.

# Annexes

Annex A: 	Bidders must submit their financial offers in accordance with the BOQs provided under ANNEX A of this RFP document. Bidders who wish to use their own format must ensure that they include the minimum information given in Annex A.

Annex B	Technical specifications

Annex C	Technical Drawings

Annex D	Vendor Information form

Annex E	IRC Conflict of Interest and Supplier Code of Conduct form

Annex F       	Intent to Bid Form

Annex: A BOQ (Rehabilitation of child protection safe classroom, kitchen, office, and guard shelter

|  | Proposed Connection Wire and Lamp for WPE & CP |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | ITEM | DESCRIPTION | QTY | UNIT | RATE (SDG) | AMOUNT (SDG) |
|  | 1 | ELECTRICAL WORK (ALL PROVISIONAL) |  |  |  |  |
|  | 1.1 | Supply and install economic lamp 30 W for WPE and CP shelters (inside and outside shelter + latrines) | 36 | lamp |  |  |
|  | 1.2 | supply and install high quality lamp holders | 36 | holder |  |  |
|  | 1.3 | supply and install high quality socket for shelters (double socket 2&3 in one socket) | 20 | socket |  |  |
|  | 1.4 | supply and install high quality lamp switch with socket. | 36 | Sum |  |  |
|  | 1.5 | High quality cable wire 6mm to connect control panel with WPE average length 30m | 30 | M.L |  |  |
|  | 1.6 | High quality switch with fuse installed in WPE | 1 | NO |  |  |
|  | 1.7 | High quality cable wire 2.5mm to connect shelters with control panel average length 170m | 170 | M.L |  |  |
|  | 1.8 | High quality cable wire 1.5mm to connect Lamps and switches and sockets inside the shelters. average length 190m | 190 | M.L |  |  |
|  |  | TOTAL ESTIMATED COST |  |  |  |  |
|  |  |  |  |  | 17% |  |
|  |  |  |  |  | USD |  |

| PROPOSED CONSTRUCTION OF BASIC RAISED EMBANKMENT FOR THE CP |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | QTY | UNIT | RATE (SDG) | AMOUNT (SDG) |
|  | EARTHWORKS AND DEMOLITIONS |  |  |  |  |
|  | Approved Embankment material |  |  |  |  |
| 1 | To make up levels depositing and compacting in layers maximum 75mm thick in making up levels, 110mm thick for the CP Average (10 cm thickness). | 121.30 | CM |  |  |
|  | Approved Gravel material |  |  |  |  |
| 4 | To make up levels depositing and compacting in layer, 50mm thick (5 cm thickness). | 60.65 | CM |  |  |
|  | Landscaping |  |  |  |  |
| 6 | General site landscaping, clearance and making site environmentally acceptable and safe for users | 1.00 | LS |  |  |
|  | TOTAL COST |  |  |  |  |
|  |  |  |  | 17% |  |
|  |  |  |  | USD |  |

| PROPOSED CONSTRUCTION OF FENCE IN CP & WPE- Tenedba |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | QTY | UNIT | RATE (SDG) | AMOUNT (SDG) |
|  | SUBSTUCTURE (ALL PROVISIONAL) |  |  |  |  |
|  | EXCAVATIONS, EARTHWORKS AND DEMOLITIONS |  |  |  |  |
|  | Excavations |  |  |  |  |
|  | Excavate holes commencing from ground level average depth 500mm diameter 300mm; 135 No holes excavated. Distance between holes 2m. | 135 | NO |  |  |
|  | SUPERSTRUCTURE FENCING |  |  |  |  |
|  | Concrete work: 1:3:6 mix |  |  |  |  |
|  | Return, fill-in the hole concrete 1:3:6 mix around steel angle posts/vertical members | 4.77 | CM |  |  |
|  | steel angle work: |  |  |  |  |
|  | Supply approved steel angle 2 inch thickness not less than 5mm,length 2500mm, installed in holes, back filled with concrete, rammed and compacted. the end of angle Ϯ shape to fixed in the concrete properly. Add 1m steel angle for the corner ѧfor two sides and for the gate posts. | 135 | No. |  |  |
|  |  |  |  |  | - |
|  | Supply approved steel angle 2 inch thickness not less than 5mm,length 2828mm welded to posts angles as bracing between vertical angles in 45 degree. As drawing. | 135 | NO |  |  |
|  | corrugated zinc sheet work: |  |  |  |  |
|  | Supply and erect approved corrugated zinc sheet ABUHOUSAN thickness not less than 0.35mm, with screws and bracing to a tight fit and firm to ensure rigidity of the horizontal members. Total length 270m | 540 | SM |  |  |
|  | Gate: |  |  |  | - |
|  | External |  |  |  | - |
|  | Supply and fix gate, size3000mm x 1800mm to fit gate space; framed with 3 inch steel angle posts complete with matching including nails, steel latch bolt and lock. Wings frame made from steel box 4x8 1mm internal net of the wings made from 3x6 1mm and 2.5x5 1mm net space not more than 200mm. (1 for WPE 1 CP) | 2 | No. |  |  |
|  |  |  |  |  | - |
|  | Supply and fix Door, size850mm x 1500mm to fit gate space; framed with 3 inch steel angle posts complete with matching including nails, steel latch bolt and lock. Wing frame made from steel box 4x8 1mm internal net of the wings made from 3x6 1mm and 2.5x5 1mm net space not more than 200mm. for cp & 2 for WPE | 3 | NO |  |  |
|  |  |  |  |  | - |
|  |  |  |  |  | - |
|  |  |  |  |  | - |
|  |  |  |  |  | - |
|  | TOTAL ESTIMATED COST |  |  |  |  |
|  |  |  |  | 17% |  |
|  |  |  |  | USD |  |

| PROPOSED CONSTRUCTION OF GAURD ROOM 4X4M IN CP - TENEIDBA |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | QTY | UNIT | RATE (SDG) | AMOUNT (SDG) |
|  | SUBSTUCTURE (ALL PROVISIONAL) FOR THE SHELTER |  |  |  |  |
|  | EXCAVATIONS, EARTHWORKS AND DEMOLITIONS |  |  |  |  |
|  | Excavations |  |  |  |  |
|  | Excavate trench for walling commencing from ground level average depth 500mm and cart away excavated material from the site. (3 sides) | 0.7 | CM |  |  |
|  | Filling |  |  |  |  |
|  | selected material |  |  |  |  |
|  | floor leveling: |  |  |  |  |
|  | To make up levels depositing and compacting in layers maximum 75mm thick in making up levels, 300mm thick | 0.87 | CM |  |  |
|  | Landscaping |  |  |  |  |
|  | General site landscaping, clearance and making site environmentally acceptable and safe for users | ITEM | LS |  |  |
|  | SUPERSTRUCTURE FRAME: |  |  |  |  |
|  | Supply and install approved Iron box post 4x8 thickness 1mm painted to resistant weather, height n.e. 4200mm and 3900mm, thickness not below 1mm, installed vertically as drawing and Eng. instruction. 9 posts | 16 | M.L |  |  |
|  | Supply and install approved Iron box post 3x6 thickness 1mm painted to resistant weather layer over the brick wall, installed horizontally in three rows welded to vertical elements as drawing and Eng. instruction. | 17 | M.L |  |  |
|  | Supply and install approved Iron box post 4x8 thickness 1mm painted to resistant weather for the roof, installed horizontally welded to frame as drawing and Eng. instruction. | 9.72 | M.L |  |  |
|  | PLATFORM WALLING: |  |  |  |  |
|  | Brick Wall: |  |  |  |  |
|  | 1 brick wall in the trench using sand /cement mortar (0.2m under G.L) total height 50cm | 3.4 | SM |  |  |
|  | Zinc sheet wall cladding: |  |  |  |  |
|  | Supply and fix, Zinc sheet 0.35mm (Abohossan) to cover/clad framed iron structure; covering to be firmly fastened against the structure frame using screws on surfaces to hold the zinc sheet cladding in place. (1.7m from the top for 3 sides) | 9.095 | SM |  |  |
|  | Supply and fix, Zinc sheet 0.35mm (Abohossan) to cover/clad framed iron structure; covering to be firmly fastened against the structure frame using screws on surfaces to hold the zinc sheet cladding in place.(1m from the platform for 3 sides) | 5.525 | SM |  |  |
|  | Supply and fix, thermal Isolator sheet covering nailed under wall zinc sheet. | 14.62 | SM |  |  |
|  | SUPERSTRUCTURE ROOFING: |  |  |  |  |
|  | Supply and fix, Zinc sheet 0.35mm (Abohossan) to cover/clad framed iron structure; covering to be firmly fastened against the structure frame using screws on surfaces to hold the zinc sheet cladding in place. | 4 | SM |  |  |
|  | Supply and fix, thermal Isolator sheet covering nailed under zinc sheet of the roof. | 4 | SM |  |  |
|  | CONCRETE WORK |  |  |  |  |
|  | Insitu Concrete and Reinforcement |  |  |  |  |
|  | Concrete |  |  |  |  |
|  | Mix and place Normal: class 20 vibrated (1:2:4) in |  |  |  |  |
|  | for Guard shelter platform floor 200mm thick | 0.29 | SM |  |  |
|  | Electrical work: |  |  |  |  |
|  | supply martials and connect the room with the Classroom power using wire 4mm average length 9m for internal connection use wire 2.5 mm average length 2m erect one lamp with 1 switches with socket | 1.00 | job |  |  |
|  | TOTAL COST |  |  |  |  |
|  |  |  |  | 17% |  |
|  |  |  |  | USD |  |

| PROPOSED CONSTRUCTION OF KITCHEN 3X4M IN CP - TENEIDBA |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | QTY | UNIT | RATE (SDG) | AMOUNT (SDG) |
|  | SUBSTUCTURE (ALL PROVISIONAL) FOR THE SHELTER |  |  |  |  |
|  | EXCAVATIONS, EARTHWORKS AND DEMOLITIONS |  |  |  |  |
|  | Excavations |  |  |  |  |
|  | Excavate trench for walling commencing from ground level average depth 500mm and cart away excavated material from the site. (3 sides) | 2.31 | CM |  |  |
|  | Filling |  |  |  |  |
|  | selected material |  |  |  |  |
|  | trench backfilling |  |  |  |  |
|  | To make up levels depositing backfill in the trench and compact in layers maximum 100mm thick in making up levels, 200mm thick | 0.92 | CM |  |  |
|  | floor leveling: |  |  |  |  |
|  | To make up levels depositing and compacting in layers maximum 75mm thick in making up levels, 300mm thick | 3.60 | CM |  |  |
|  | Landscaping |  |  |  |  |
|  | General site landscaping, clearance and making site environmentally acceptable and safe for users | ITEM | LS |  |  |
|  | SUPERSTRUCTURE FRAME: |  |  |  |  |
|  | Supply and install approved Iron box post 4x8 thickness 1mm painted to resistant weather, height n.e. 4200mm and 3900mm, thickness not below 1mm, installed vertically as drawing and Eng. instruction. 9 posts | 24 | M.L |  |  |
|  | Supply and install approved Iron box post 4x8 thickness 1mm painted to resistant weather over the brick wall, height n.e. 2300mm and 2000mm, thickness not below 1mm, installed vertically as drawing and Eng. instruction. 6 posts | 4.6 | M.L |  |  |
|  | Supply and install approved Iron box post 4x8 thickness 1mm painted to resistant weather layer over the brick wall, installed horizontally in three rows welded to vertical elements as drawing and Eng. instruction. | 42 | M.L |  |  |
|  | Supply and install approved Iron box post 4x8 thickness 1mm painted to resistant weather for the roof, installed horizontally welded to frame as drawing and Eng. instruction. | 30.44 | M.L |  |  |
|  | SUPERSTRUCTURE WALLING: |  |  |  |  |
|  | Brick Wall: |  |  |  |  |
|  | 1.5 brick wall in the trench using sand /cement mortar total height 45cm | 6.3 | SM |  |  |
|  | 1 brick wall using sand /cement mortar total height 110cm | 15.4 | SM |  |  |
|  | Zinc sheet wall cladding |  |  |  |  |
|  | Supply and fix, Zinc sheet 0.35mm (Abohossan) to cover/clad framed iron structure; covering to be firmly fastened against the structure frame using screws on surfaces to hold the zinc sheet cladding in place. | 15.77 | SM |  |  |
|  | Supply and fix, thermal Isolator sheet covering nailed under wall zinc sheet. | 15.77 | SM |  |  |
|  | SUPERSTRUCTURE ROOFING: |  |  |  |  |
|  | Supply and fix, Zinc sheet 0.35mm (Abohossan) to cover/clad framed iron structure; covering to be firmly fastened against the structure frame using screws on surfaces to hold the zinc sheet cladding in place. | 16 | SM |  |  |
|  | Supply and fix, thermal Isolator sheet covering nailed under zinc sheet of the roof. | 16 | SM |  |  |
|  | CONCRETE WORK |  |  |  |  |
|  | Insitu Concrete and Reinforcement |  |  |  |  |
|  | Concrete |  |  |  |  |
|  | Mix and place Normal: class 20 vibrated (1:2:4) in |  |  |  |  |
|  | for Kitchen floor 100mm thick | 1.20 | SM |  |  |
|  | for Shelter foundation beam 200mm thick | 0.92 | SM |  |  |
|  | Reinforcement |  |  |  |  |
|  | Supply and fix bars high yield steel & mild steel; cold worked B:S 4461 including bends, hooks, tying wire, spacer blocks and spacers in position and formwork. |  |  |  |  |
|  | 10mm diameter Y- bars in the foundation beam (0.62Kg/m) | 34.72 | KG |  |  |
|  | 7mm diameter Y- bars in the foundation beam (0.62Kg/m) @200mm | 52.82 | KG |  |  |
|  | DOORS AND WINDOWS |  |  |  |  |
|  | DOORS |  |  |  |  |
|  | Supply and fix door , size 1800mm x 1200mm to fit door space; framed with iron box 3x6 1mm and for wings 2.5x5 1mm and covered with iron plate 1mm to size and fixed with capped nails. With fiber glass in the top of the doors | 1 | No. |  |  |
|  | Iron Mongery |  |  |  |  |
|  | Supply and fix with matching including nails |  |  |  |  |
|  | 100mm pairs steel hinges |  |  |  |  |
|  | Supply and fix high quality lock, complete with accessories |  |  |  |  |
|  | 100mm long steel Pad bolt, complete with accessories |  |  |  |  |
|  | 100mm long steel latch bolt complete with accessories (lockable) |  |  |  |  |
|  | WINDOWS: |  |  |  |  |
|  | Supply and fix 50mm thick windows , size 1200mm x 900mm to fit window space; framed with iron box 3x6 1mm and for wings 2.5 x5 1mm and covered with Zinc sheet o.35 mm to size and fixed with capped nails. With fiber glass in the top of the window | 3 | NO |  |  |
|  | Iron Mongery |  |  |  |  |
|  | Supply and fix with matching including nails |  |  |  |  |
|  | 100mm pairs steel hinges |  |  |  |  |
|  | 100mm long steel Pad bolt, complete with accessories |  |  |  |  |
|  | Plastering: |  |  |  |  |
|  | Provide material and plastering the walls with cement sand mortar 1:8 mix from inside and outside the walls | 33.6 | SM |  |  |
|  | Painting: |  |  |  |  |
|  | Provide material and painting the walls with washable two coating layers from inside and out side. | 28.00 | SM |  |  |
|  | Electrical work: |  |  |  |  |
|  | supply martials and connect the room with the Classroom power using wire 4mm average length 10m for internal connection use wire 2.5 mm average length 12m erect one lamp with 2 switches with sockets two additional socket | 1.00 | job |  |  |
|  | TOTAL COST |  |  |  |  |
|  |  |  |  | 17% |  |
|  |  |  |  | USD |  |

| PROPOSED CONSTRUCTION OF CLASSROOM 4X6M IN CP - TENEIDBA |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | QTY | UNIT | RATE (SDG) | AMOUNT (SDG) |
|  | SUBSTUCTURE (ALL PROVISIONAL) FOR THE SHELTER |  |  |  |  |
|  | EXCAVATIONS, EARTHWORKS AND DEMOLITIONS |  |  |  |  |
|  | Excavations |  |  |  |  |
|  | Excavate trench for walling commencing from ground level average depth 500mm and cart away excavated material from the site. | 3.3 | CM |  |  |
|  | Filling |  |  |  |  |
|  | selected material |  |  |  |  |
|  | trench backfilling |  |  |  |  |
|  | To make up levels depositing backfill in the trench and compact in layers maximum 100mm thick in making up levels, 200mm thick | 1.32 | CM |  |  |
|  | floor leveling: |  |  |  |  |
|  | To make up levels depositing and compacting in layers maximum 75mm thick in making up levels, 300mm thick | 7.20 | CM |  |  |
|  | Landscaping |  |  |  |  |
|  | General site landscaping, clearance and making site environmentally acceptable and safe for users | ITEM | LS |  |  |
|  | SUPERSTRUCTURE FRAME: |  |  |  |  |
|  | Supply and install approved Iron box post 4x8 thickness 1mm painted to resistant weather, height n.e. 4200mm and 3900mm, thickness not below 1mm, installed vertically as drawing and Eng. instruction. 9 posts | 31.8 | M.L |  |  |
|  | Supply and install approved Iron box post 4x8 thickness 1mm painted to resistant weather over the brick wall, height n.e. 2300mm and 2000mm, thickness not below 1mm, installed vertically as drawing and Eng. instruction. 6 posts | 9.2 | M.L |  |  |
|  | Supply and install approved Iron box post 4x8 thickness 1mm painted to resistant weather layer over the brick wall, installed horizontally in three rows welded to vertical elements as drawing and Eng. instruction. | 60 | M.L |  |  |
|  | Supply and install approved Iron box post 4x8 thickness 1mm painted to resistant weather for the roof, installed horizontally welded to frame as drawing and Eng. instruction. | 52.36 | M.L |  |  |
|  | SUPERSTRUCTURE WALLING: |  |  |  |  |
|  | Brick Wall: |  |  |  |  |
|  | 1.5 brick wall in the trench using sand /cement mortar total height 45cm | 9 | SM |  |  |
|  | 1 brick wall using sand /cement mortar total height 110cm | 22 | SM |  |  |
|  | Zinc sheet wall cladding: |  |  |  |  |
|  | Supply and fix, Zinc sheet 0.35mm (Abohossan) to cover/clad framed iron structure; covering to be firmly fastened against the structure frame using screws on surfaces to hold the zinc sheet cladding in place. | 42 | SM |  |  |
|  | Supply and fix, thermal Isolator sheet covering nailed under wall zinc sheet. | 42 | SM |  |  |
|  | SUPERSTRUCTURE ROOFING: |  |  |  |  |
|  | Supply and fix, Zinc sheet 0.35mm (Abohossan) to cover/clad framed iron structure; covering to be firmly fastened against the structure frame using screws on surfaces to hold the zinc sheet cladding in place. | 29 | SM |  |  |
|  | Supply and fix, thermal Isolator sheet covering nailed under zinc sheet of the roof. | 29 | SM |  |  |
|  | CONCRETE WORK |  |  |  |  |
|  | Insitu Concrete and Reinforcement |  |  |  |  |
|  | Concrete |  |  |  |  |
|  | Mix and place Normal: class 20 vibrated (1:2:4) in |  |  |  |  |
|  | for classroom floor 100mm thick | 2.40 | SM |  |  |
|  | for Shelter foundation beam 200mm thick | 1.32 | SM |  |  |
|  | Reinforcement |  |  |  |  |
|  | Supply and fix bars high yield steel & mild steel; cold worked B:S 4461 including bends, hooks, tying wire, spacer blocks and spacers in position and formwork. |  |  |  |  |
|  | 10mm diameter Y- bars in the foundation beam (0.62Kg/m) | 49.60 | KG |  |  |
|  | 7mm diameter Y- bars in the foundation beam (0.62Kg/m) @200mm | 75.14 | KG |  |  |
|  | DOORS AND WINDOWS |  |  |  |  |
|  | DOORS |  |  |  |  |
|  | Supply and fix door , size 1800mm x 1200mm to fit door space; framed with iron box 3x6 1mm and for wings 2.5x5 1mm and covered with iron plate 1mm to size and fixed with capped nails. With fiber glass in the top of the doors | 2 | No. |  |  |
|  | Iron Mongery |  |  |  |  |
|  | Supply and fix with matching including nails |  |  |  |  |
|  | 100mm pairs steel hinges |  |  |  |  |
|  | Supply and fix high quality lock, complete with accessories |  |  |  |  |
|  | 100mm long steel Pad bolt, complete with accessories |  |  |  |  |
|  | 100mm long steel latch bolt complete with accessories (lockable) |  |  |  |  |
|  | WINDOWS: |  |  |  |  |
|  | Supply and fix 50mm thick windows , size 1200mm x 900mm to fit window space; framed with iron box 3x6 1mm and for wings 2.5 x5 1mm and covered with Zinc sheet o.35 mm to size and fixed with capped nails. With fiber glass in the top of the window | 4 | NO |  |  |
|  | Iron Mongery |  |  |  |  |
|  | Supply and fix with matching including nails |  |  |  |  |
|  | 100mm pairs steel hinges |  |  |  |  |
|  | 100mm long steel Pad bolt, complete with accessories |  |  |  |  |
|  | Plastering: |  |  |  |  |
|  | Provide material and plastering the walls with cement sand mortar 1:8 mix from inside and outside the walls | 48 | SM |  |  |
|  | Painting: |  |  |  |  |
|  | Provide material and painting the walls with washable two coating layers from inside and out side. | 40.00 | SM |  |  |
|  | Electrical work: |  |  |  |  |
|  | supply martials and connect the room with the power source using wire 4mm average length 10m for internal connection use wire 2.5 mm average length 23m erect two lamps with 2 switches with sockets three additional socket | 1.00 | job |  |  |
|  | TOTAL COST |  |  |  |  |
|  |  |  |  | 17% |  |
|  |  |  |  | USD |  |

| PROPOSED CONSTRUCTION OF OFFICE 4X4M IN CP - TENEIDBA |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | QTY | UNIT | RATE (SDG) | AMOUNT (SDG) |
|  | SUBSTUCTURE (ALL PROVISIONAL) FOR THE SHELTER |  |  |  |  |
|  | EXCAVATIONS, EARTHWORKS AND DEMOLITIONS |  |  |  |  |
|  | Excavations |  |  |  |  |
|  | Excavate trench for walling commencing from ground level average depth 500mm and cart away excavated material from the site. (3 sides) | 1.98 | CM |  |  |
|  | Filling |  |  |  |  |
|  | selected material |  |  |  |  |
|  | trench backfilling |  |  |  |  |
|  | To make up levels depositing backfill in the trench and compact in layers maximum 100mm thick in making up levels, 200mm thick | 0.79 | CM |  |  |
|  | floor leveling: |  |  |  |  |
|  | To make up levels depositing and compacting in layers maximum 75mm thick in making up levels, 300mm thick | 3.60 | CM |  |  |
|  | Landscaping |  |  |  |  |
|  | General site landscaping, clearance and making site environmentally acceptable and safe for users | ITEM | LS |  |  |
|  | SUPERSTRUCTURE FRAME: |  |  |  |  |
|  | Supply and install approved Iron box post 4x8 thickness 1mm painted to resistant weather, height n.e. 4200mm and 3900mm, thickness not below 1mm, installed vertically as drawing and Eng. instruction. 9 posts | 16.2 | M.L |  |  |
|  | Supply and install approved Iron box post 4x8 thickness 1mm painted to resistant weather over the brick wall, height n.e. 2300mm and 2000mm, thickness not below 1mm, installed vertically as drawing and Eng. instruction. 6 posts | 4.6 | M.L |  |  |
|  | Supply and install approved Iron box post 4x8 thickness 1mm painted to resistant weather layer over the brick wall, installed horizontally in three rows welded to vertical elements as drawing and Eng. instruction. | 36 | M.L |  |  |
|  | Supply and install approved Iron box post 4x8 thickness 1mm painted to resistant weather for the roof, installed horizontally welded to frame as drawing and Eng. instruction. | 27.02 | M.L |  |  |
|  | SUPERSTRUCTURE WALLING: |  |  |  |  |
|  | Brick Wall: |  |  |  |  |
|  | 1.5 brick wall in the trench using sand /cement mortar total height 45cm | 5.4 | SM |  |  |
|  | 1 brick wall using sand /cement mortar total height 110cm | 13.2 | SM |  |  |
|  | Zinc sheet wall cladding: |  |  |  |  |
|  | Supply and fix, Zinc sheet 0.35mm (Abohossan) to cover/clad framed iron structure; covering to be firmly fastened against the structure frame using screws on surfaces to hold the zinc sheet cladding in place. | 25 | SM |  |  |
|  | Supply and fix, thermal Isolator sheet covering nailed under wall zinc sheet. | 34 | SM |  |  |
|  | SUPERSTRUCTURE ROOFING: |  |  |  |  |
|  | Supply and fix, Zinc sheet 0.35mm (Abohossan) to cover/clad framed iron structure; covering to be firmly fastened against the structure frame using screws on surfaces to hold the zinc sheet cladding in place. | 20 | SM |  |  |
|  | Supply and fix, thermal Isolator sheet covering nailed under zinc sheet of the roof. | 20 | SM |  |  |
|  | CONCRETE WORK |  |  |  |  |
|  | Insitu Concrete and Reinforcement |  |  |  |  |
|  | Concrete |  |  |  |  |
|  | Mix and place Normal: class 20 vibrated (1:2:4) in |  |  |  |  |
|  | for office floor 100mm thick | 1.60 | SM |  |  |
|  | for Shelter foundation beam 200mm thick | 0.79 | SM |  |  |
|  | Reinforcement |  |  |  |  |
|  | Supply and fix bars high yield steel & mild steel; cold worked B:S 4461 including bends, hooks, tying wire, spacer blocks and spacers in position and formwork. |  |  |  |  |
|  | 10mm diameter Y- bars in the foundation beam (0.62Kg/m) | 29.76 | KG |  |  |
|  | 7mm diameter Y- bars in the foundation beam (0.62Kg/m) @200mm | 45.38 | KG |  |  |
|  | DOORS AND WINDOWS |  |  |  |  |
|  | DOORS |  |  |  |  |
|  | Supply and fix door , size 1800mm x 1200mm to fit door space; framed with iron box 3x6 1mm and for wings 2.5x5 1mm and covered with iron plate 1mm to size and fixed with capped nails. With fiber glass in the top of the doors | 1 | No. |  |  |
|  | Iron Mongery |  |  |  |  |
|  | Supply and fix with matching including nails |  |  |  |  |
|  | 100mm pairs steel hinges |  |  |  |  |
|  | Supply and fix high quality lock, complete with accessories |  |  |  |  |
|  | 100mm long steel Pad bolt, complete with accessories |  |  |  |  |
|  | 100mm long steel latch bolt complete with accessories (lockable) |  |  |  |  |
|  | WINDOWS: |  |  |  |  |
|  | Supply and fix 50mm thick windows , size 1200mm x 900mm to fit window space; framed with iron box 3x6 1mm and for wings 2.5 x5 1mm and covered with Zinc sheet o.35 mm to size and fixed with capped nails. With fiber glass in the top of the window | 3 | NO |  |  |
|  | Iron Mongery |  |  |  |  |
|  | Supply and fix with matching including nails |  |  |  |  |
|  | 100mm pairs steel hinges |  |  |  |  |
|  | 100mm long steel Pad bolt, complete with accessories |  |  |  |  |
|  | Plastering: |  |  |  |  |
|  | Provide material and plastering the walls with cement sand mortar 1:8 mix from inside and outside the walls | 38.4 | SM |  |  |
|  | Painting: |  |  |  |  |
|  | Provide material and painting the walls with washable two coating layers from inside and out side. | 32.00 | SM |  |  |
|  | Electrical work: |  |  |  |  |
|  | supply martials and connect the room with the Classroom power using wire 4mm average length 6m for internal connection use wire 2.5 mm average length 15m erect one lamp with 2 switches with sockets three additional socket | 1.00 | job |  |  |
|  | TOTAL COST |  |  |  |  |
|  |  |  |  | 17% |  |
|  |  |  |  | USD |  |

Annex: B SCOPE OF WORK / (Technical Specification -).

TECHNICAL SPECIFICATIONS – Construction for child  protection safe space CP

Iron Works:

-   All Iron poles be new, well-seasoned and free from loose knots, shakes, cracks, warping, and other defects. it shall be properly stacked and protected from injury from any sources.

-   Any Iron sheets poles which bad warped or cracked, shall be rejected

.

Doors:

The thick of door should be 50mm and dimensions is size 1200mm x 1800mm to fit door space; steel box posts and covered with STEE PLATE 2mm to size and welded properly. With three hinges (in the top, middle and bottom to make the door wings easily open and close) and two latches from inside and outside the door with high quality luck. The top of the door has high quality fiber glass.

Windows:

The thick of windows should be 50mm and dimensions is size 1200mm x 900mm to fit window space; steel box posts and covered with STEE PLATE 2mm to size and welded properly. With three hinges (in the top, middle and bottom to make the window wings easily open and close) and latches. The top of the window has high quality fiber glass.

Iron plate:

Made from iron sheets thickness not less than 2mm high quality, has no crack or bad warped.

Iron box:

All iron box (4x8 & 3x6 2.5x5 ..) thickness 1mm. painted with anti-corrosion paint.

Brick wall lining to pit latrines:

Use solid burnt bricks with compressive strength approved by Local Authority guidelines or not less than 7.5N/mm2 and of size 200x100x50mm. The compressive strength of any individual brick shall not be fall below the minimum average compressive strength by more than 20%.

Mortar mix:

Boding of mortar for the brick wall lining shall be of mix 1:3 cement/sand or shall be advised by the site engineer depending on the quality of sand available.

Concrete mix:

Composition of concrete shall be a homogeneous mixture of coarse aggregate, fine aggregate, water and Ordinary Portland cement, all as specified in the relevant Clauses of this Specification, together with any such admixture as the Engineer may specify or approve.

Classes of Concrete Table:

| CLASS | Characteristic Comprehensive Strength (N/mm2) | Maximum Aggregate size (mm) | Maximum free Water/ Cement Ratio | Minimum Cement Content (Kg/m3) | Maximum cement Content (Kg/m3) |
| --- | --- | --- | --- | --- | --- |
| C20/20 | 20 | 20 | 0.55 | 390 | 400 |
| C10/40 | 10 | 40 | 0.55 | 150 | 540 |

Compressive Strength (N/mm2)/Aggregate size (mm)

Mix Design Table:

| Class | Portland cement, kg | Fine Aggregates, m3 | Coarse Aggregates, m3 | Nominal Mix proportions |
| --- | --- | --- | --- | --- |
| 20 | 50 | 0.07 | 0.14 | 1:2:4 |
| 10 | 50 | 0.1 | 0.2 | 1:3:6 |

Curing the concrete with water:

The concrete must cure using water and wet sacks for at least 7 days.

Steel:

Bars shall be high yield steel & mild steel; cold worked according BS 4461and BS 4449 including bends, hooks, tying wire, spacer blocks and spacers

steel bar Dia 10 mm

All reinforcement should be free from contamination and grease. light corrosion should be brushed to remove the rust.

Steel Box:

All steel box thickness not less than 1mm painted with anti-corrosion paint.

Corrugated Zinc sheet:

Corrugated zinc sheet must be high quality and the thickness not less than 0.35.

Landscaping and site clearance:

Areas should be cleared of all debris and the contractor should avoid practice that affect the environment negatively. Slab level to all pit latrine facilities shall be 250mm above ground level

Annex C: Technical Drawings

Attached In PDF format

Annex D: Supplier Information form

INTERNATIONAL RESCUE COMMITTEE

Vendor Information Form

The information provided will be used to evaluate the Company before contracting with the IRC.

Please complete all fields.

Fields marked (*) are mandatory.

Vendor Information

| *Company\Organization Name *For individual vendors, provide legal first and last name |  |
| --- | --- |
| *Any other names company is operating under (Acronyms, Abbreviations, Aliases) if any |  |
| *Previous names of the company |  |
| *Address |  |
| *Website |  |
| *Phone/Fax Numbers | Phone: Fax: |
| *Primary Contact | First Name: Last Name: Phone Number: Email Address: |
| *Number of Staff |  |
| Number of Locations |  |
| Avg. $ Value of Stock on Hand |  |
| *Name(s) of Company Owner(s) or Board of Directors or CEO |  |
| *Parent companies, if any |  |
| *Subsidiary or affiliate companies, if any |  |

Financial Information

| *Bank Name and Address |  |
| --- | --- |
| *Name under which company is registered at bank | This field is mandatory if Wire Transfer is the selected payment method |
| *Specify Standard Payment Terms (Net, 15, 30 days etc.) |  |
| *Payment Method (select all that applies) | Payment By: Check Yes ¦ No Wire Transfer Yes ¦ No Cash Yes ¦ No |
| *Name under which company is registered at bank |  |
| *Bank account number | This field is to be completed upon notification of awarding of order\contract |
| Routing Number | This field is to be completed upon notification of awarding of order\contract |
| Swift code (if applicable) | This field is to be completed upon notification of awarding of order\contract |

Product/Service Information

| List Range of Products/Services Offered |  |
| --- | --- |
| Basis For Pricing (Catalog, List, etc.) |  |

Documentations as applicable:

| *Registration | Provided ____ Not provided: _____ Reasons: _____ |
| --- | --- |
| *Tax ID (W9, Tax exempt certificate. etc.) | Provided ____ |
| US Vendors only *Do you require a Form 1099? | Yes____ No____ |

References (optional)

| Client Name: | Contact Name, Phone, Email Address: |
| --- | --- |
| Client Name: | Contact Name, Phone, Email Address: |
| Client Name: | Contact Name, Phone, Email Address: |

Vendor Self-Certification of Eligibility

Company certifies that:

1. They are not debarred, suspended, or otherwise precluded from participating in major donor (e.g. European Union, European and United States Government, United Nations) competitive bid opportunities.

2. They are not bankrupt or being wound up, are having their affairs administered by the courts, have entered into arrangements with creditors, have suspended business activities, are the subject of proceedings concerning those matters, or are in any analogous situation arising from a similar procedure provided for in national legislation or regulations.

3. They have not been convicted of an offense concerning their professional conduct.

4. They have not been guilty of grave professional misconduct proven by any means that the contracting authority can justify or been declared to be in serious breach of contract for failure to comply with their contractual obligations towards any contracts awarded in the normal course of business.

5. They have fulfilled obligations related to the payment of social security contributions or the payment of taxes in accordance with the legal provisions of the country in which they are established or with those of the country where the contract is to be performed.

6. They have not been the subject of a judgment for fraud, corruption, involvement in a criminal organization or any other illegal activity.

7. They maintain high ethical and social operating standards, including:

- Working conditions and social rights: Avoidance of Child Labor, bondage, or forced labor; assurance of safe and reasonable working conditions; freedom of association; freedom from exploitation, abuse, and discrimination; protection of basic social rights of its employees and the IRC’s beneficiaries.

- Environmental aspects: Provision of goods and services with the least negative impact on the environment.

- Humanitarian neutrality: Endeavoring to ensure that activities do not render civilians more vulnerable to attack or bring unintended advantage to any military actors or other combatants.

- Transport and cargo: Not engaged in the illegal manufacture, supply, or transportation of weapons; not engaged in smuggling of drugs or people.

8.  Company warrants that, to the best of its knowledge, no IRC employee, officer, consultant or other party related to IRC has a financial interest in the Company’s business activities, nor is any IRC employee related to principals or owners of the company.   Discovery of an undisclosed Conflict of Interest situation will result in immediate revocation of the Company’s Authorized Vendor status and disqualification of Company from participation in future IRC procurement.

9.   Vendor hereby confirms that the organization is not conducting business under other names or alias’s that have not been declared to IRC.

10. Vendor herby confirms it does not engage in theft, corrupt practices, collusion, nepotism, bribery, or trade in illicit substances.

By signing the Vendor Information Form you certify that your Company is eligible to supply goods and services to major donor funded organizations and that all of the above statements are accurate and factual.

Annex E: IRC Conflict of Interest and Vendor Code of Conduct

Supplier hereby agrees that Supplier and Supplier’s employees and subcontractors, if any, shall abide by and follow all established written policies of IRC related to work conduct, including, but not limited to, The IRC Way: Standards for Professional Conduct (“The IRC Way”), the IRC’s code of conduct, which can be found at: https://www.rescue.org/page/our-code-conduct and IRC’s Combating Trafficking in Persons Policy, which can be found here: https://rescue.app.box.com/s/h6dv915b72o1rnapxg3vczbqxjtboyel.

The IRC Way provides three (3) core values - Integrity, Service, and Accountability – and twenty-two (22) specific undertakings. Supplier acknowledges that all IRC employees and independent contractors are expected to apply these core values and follow these undertakings in carrying out work on behalf of IRC. It is a point of pride for IRC to apply these behavioral standards in IRC’s everyday operations.

Integrity - At IRC, we are open, honest and trustworthy in dealing with beneficiaries, partners, co-workers, donors, funders, and the communities we affect.

- We work to build the trust of the communities in which we work and sustain the trust earned by our reputation in serving our beneficiaries.

- We recognize that our talented and dedicated staff are our greatest asset, and we conduct ourselves in ways that reflect the highest standards of organizational and individual conduct.

- Throughout our work, IRC respects the dignity, values, history, religion, and culture of those we serve.

- We respect equally the rights of women and men and we do not support practices that undermine the human rights of anyone.

- We refrain from all practices that undermine the integrity of the organization including any form of exploitation, discrimination, harassment, retaliation or abuse of colleagues, beneficiaries, and the communities in which we work.

- We do not engage in theft, corrupt practices, nepotism, bribery, or trade in illicit substances.

- We accept funds and donations only from sources whose aims are consistent with our mission, objectives, and capacity, and which do not undermine our independence and identity.

- We support human rights consistent with the UN Universal Declaration of Human Rights and The Convention on the Rights of the Child.

- We rigorously enforce the UN Secretary General’s Bulletin on the Protection from Sexual Exploitation and Abuse of Beneficiaries.

- IRC recognizes its obligation of care for all IRC staff and assumes their loyalty and cooperation.

Service - At IRC, our primary responsibility is to the people we serve.

- As a guiding principle of our work, IRC encourages self–reliance and supports the right of people to fully participate in decisions that affect their lives.

- We create durable solutions and conditions that foster peace, stability and social, economic, and political development in communities where we work.

- We design programs to respond to beneficiaries’ needs including emergency relief, rehabilitation, and protection of human rights, post–conflict development, resettlement, and advocacy on their behalf.

- We seek to adopt best practices and evidence–based indicators that demonstrate the quality of our work.

- We endorse the Code of Conduct for the International Red Cross and Red Crescent Movement and NGOs in Disaster Relief.

Accountability - At IRC, we are accountable – individually and collectively – for our behaviors, actions and results.

- We are accountable and transparent in our dealings with colleagues, beneficiaries, partners, donors, and the communities we affect.

- We strive to comply with the laws of the governing institutions where we work.

- We maintain and disseminate accurate financial information and information on our goals and activities to interested parties.

- We are responsible stewards of funds entrusted to our use.

- We integrate individual accountability of staff through the use of performance evaluations.

- We utilize the resources available to our organization in order to pursue our mission and strategic objectives in cost effective ways.

- We strive to eliminate waste and unnecessary expense, and to direct all possible resources to the people we serve.

Conflict of Interest and Legal Compliance

- Supplier hereby warrants that, to the best of its knowledge, no IRC employee, officer, consultant or other party related to IRC has a financial interest in the Supplier’s business activities.

- Supplier hereby warrants that, to the best of its knowledge, no IRC employee, officer, consultant or other party related to IRC has a family relationship with the supplier’s owners.

- Discovery of an undisclosed conflict of interest will result in immediate termination of any Agreement and disqualification of Supplier from participation in current and future IRC activities.

- Supplier hereby warrants that the organization is not conducting business under other names or alias’s that have not been declared to IRC.

- Supplier hereby warrants that it does not engage in theft, corrupt practices, collusion, nepotism, bribery, trade in illicit substances, or terrorism or support of terrorism.

- Supplier hereby warrants that it complies with all applicable laws, statutes  and regulations, including, but not limited to, export  controls,  import  controls,  customs  regulations, trade  embargoes  and  other  trade  sanctions  and  laws  governing unlawful boycotts and payments to foreign government officials.

Supplier hereby agrees to maintain high ethical and social standards:

- Working conditions and social rights: Avoidance of child labor, bondage, or forced labor; assurance of safe and reasonable working conditions; freedom of association; freedom from exploitation, abuse, and discrimination; protection of basic social rights of its employees and IRC’s beneficiaries; prohibition of trafficking in persons.

- Environmental aspects: Provision of goods and services with the least negative impact on the environment.

- Humanitarian neutrality: Endeavoring to ensure that activities do not render civilians more vulnerable to attack, or bring unintended advantage to any military actors or other combatants.

- Transport and cargo: Not engaged in the illegal manufacture, supply, or transportation of weapons; not engaged in smuggling of drugs or people.

Disclosures of conflict of interest shall be made in writing to the IRC Supply Chain Coordinator or Deputy Director of Operations in your country. For global procurement, please write to GSCQA. Email: GSCQA@rescue.org

These IRC officials shall then determine whether a conflict exists and is material, and whether the contemplated transaction may be authorized as just, fair, and reasonable. If conflict exists, then the supplier with such a conflict shall be prohibited from participating in the transaction.

If you believe that any IRC employee, volunteer or intern is acting in a manner that is inconsistent with these Standards, please notify a supervisor or the confidential helpline Ethicspoint, irc.ethicspoint.com or call Ethicspoint toll-free (866) 654-6461 in the U.S./call collect (503) 352-8177 outside the U.S. There will be no retaliation against any person who raises concerns that are based on good faith belief of improper conduct. An intentionally false report or a failure to report conduct that is known to violate these standards may result in disciplinary action.

By signing this statement supplier acknowledges any violation of the above IRC policies will result in immediate termination of any agreement in place and disqualification from participation in future IRC activities.

Supplier Name:

Signature:

Title:

Print Name:

Date:

Annex F: Intent to Bid Form

International Rescue Committee, Inc.

Intent to Bid

IRC Reference #: _______________

Company Name		______________________________

(Please indicate #1 or #2 below)

1.□	It is the intent of this company to submit a response to the (Title of RFP) Request for Proposal.

Please provide a name and email address for the person within your company that should receive notices, amendments, etc. that are related to this RFP:

Name				______________________________

Phone				______________________________

Email				______________________________

Signature (If faxed)	______________________________

Title of Person signing	______________________________

Date				______________________________

We realize that this is an intent to bid and in no way obligates this company to participate in this process.

2.□	This company DOES NOT intend to participate in this RFP.

Name (Signature if faxed)______________________________

Title of Person signing	______________________________

Date				______________________________

Please fax or email this form at your earliest convenience to the attention of:

Name	(YOU) ______________________________

Fax ______________________________

Email ______________________________