## summary
T05-EUTF-HOA-SD-73-01 |  | AICS – KHARTOUM OFFICE
STRENGHTENING A DECENTRALIZED HEALTH SYSTEM FOR PROTRACTED DISPLACED POPULATION IN AL FASHER AND NYALA - NORTH AND SOUTH DARFUR STATES
HEALTH CENTER OF OTASH-NHIF2 REHABLITATION
Chapters - summary
Total
| CHAPTERS SUMMARY | SDG
0 | GENERAL/MOBILIZATION
1 | DEMOLITION AND DISMANTLING
2 | STRUCTURAL & EXCAVATION
3 | CIVIL WORKS & FINISHING
4 | ELECTRICAL
5 | PLUMBING
S | Safety and Insurance
| Total | 0

## chap 0
BILLS OF QUANTITIES
HEALTH CENTER OF OTASH-NHIF2 REHABLITATION
Chapter 0
Ref. | DESCRIPTION | Quantity | Unit | Unit Price | Amount
|  |  |  | SDG | SDG
0 | GENERAL/MOBILIZATION
0.1 | Mobilization and site preparation including fencing, furnished site offices, sign boards, storage facilities, supporting facilities, temporary utilities & other expenses. | 1 | JOB |  | 0
0.2 | During construction, temporary electricity, temporary water, transportation, overtime, tests, samples, reports, work programs, insurances and all other expenses. |  |  |  | 0
0.3 | Demobilization & site clearing |  |  |  | 0
| TOTAL |  |  |  | 0
To Bill Summary

## chap 1
BILLS OF QUANTITIES
HEALTH CENTER OF OTASH-NHIF2 REHABLITATION
Chapter 1
Ref. | DESCRIPTION | Quantity | Unit | Unit Price | Amount
|  |  |  | SDG | SDG
1 | DEMOLITION AND DISMANTLING
Dismantling and demolition of existing parts of construction, including light steel structure, currugated american sheets, walls, internal partitions, internal and external finishings including false ceiling, floors and any light fittings. Demolition of bricks or any other materials wall, of materials roof, removal of debris and its transport to the city landfill up in according to local authority specifications. For walls tiled with ceramics and other materials, price includes stripping of these layers. The cut-off line of the demolition work shall suit the existing site conditions.The Contractor shall provide temporary finish linings, covers, flashing plate, etc. and a temporary weather proof external enclosure during the construction work.
1.1 | Total demolition including walls, roof and finishing
| Ditto, for Medical waste disposal as for drawings | 1 | JOB |  | 0
| Ditto, for Latrine as for drawings | 1 | JOB |  | 0
1.2 | Dismantling of existing Light Steel structure and sheet roof and bricks |  |  | 0
| Ditto, for Block A as for drawings | 1 | JOB |  | 0
| Ditto, for Block B as for drawings | 1 | JOB |  | 0
| Ditto, for Block C as for drawings | 1 | JOB |  | 0
| Ditto, for Fence | 1 | JOB |  | 0
| Ditto, for Entrance Gate | 1 | JOB |  | 0
| TOTAL |  |  |  | 0
To Bill Summary

## chap 2
BILLS OF QUANTITIES
HEALTH CENTER OF OTASH-NHIF2 REHABLITATION
Chapter 2
Ref. | DESCRIPTION | Quantity | Unit | Unit Price | Amount
|  |  |  | SDG | SDG
2 | STRUCTURAL & EXCAVATION
2.1 | EXCAVATION
Excavation for building foundations and/or other manufacts in all kinds of soil and rocks including shoring (if it required as per site conditions) and removal of surplus materials from the site according to local authority specifications and as directed by the Supervisor Engineer
2.1.1 | EXCAVATION FOR MANSONRY STRIP FOUNDATION (0.80 m) DEPTH , (0.50 m WIDTH)
| Ditto, for NEW Block A | 40.75 | M.L
| Ditto, for Electrical room | 14.6 | M.L
2.1.2 | EXCAVATION FOR MANSONRY STRIP FOUNDATION (0.50 m) DEPTH , (0.50 m WIDTH)
| Ditto, for NEW Block A | 6.34 | M.L
| Ditto, for NEW Block C | 13 | M.L
2.1.3 | EXCAVATION FOR TOILET
| Ditto, for Block T1 | 109.74 | CUM
| Ditto, for Block T2 | 109.74 | CUM
2.2 | STRIP FOUNDATION
2.2.1 | STONE STRIP FOUNDATION
Supply and construct Rocky stone strip foundations [50 cm width and 40cm height] with cement mortar 1:6 c/s for main building as per drawings.
| Ditto, for NEW Block A | 40.75 | M.L
2.2.2 | MASONRY STRIP FOUNDATION (GASSA)
Supply and construct continues wall over the strip foundation (Gassa) [40 cm width and 50cm height], using two red bricks with cement sand mortar 1:6 for the building as per drawings.
| Ditto, for NEW Block A | 47.09 | M.L
| Ditto, for NEW Block C | 13 | M.L
2.3 | COMPACTED SOIL REPLACEMENT FOR TOILET
Supply and lay selected well graded un-expansive well compacted soil with water.
for under base foundation, two layers (20 cm each)
| Ditto, for Block T1 | 14.632 | CUM
| Ditto, for Block T2 | 14.632 | CUM
2.4 | Plain CONCRETE FOR TOILET
Supply and cast plain concrete (1:3:6) Grade 15N/mm²
for latrine pit, t=100mm
| Ditto, for Block T1 | 36.58 | SQM
| Ditto, for Block T2 | 36.58 | SQM
2.5 | REINFORCED CONCRETE BASE FOUNDATION FOR TOILET
Supply and cast reinforced concrete mix (1:2:4) for base foundation with Fcu=25N/mm², Deformed Bars 12mm diameter (Fy=460N/mm²)
under ground , t=200mm
| Ditto, for Block T1 | 7.316 | CUM
| Ditto, for Block T2 | 7.316 | CUM
2.6 | RETAINING WALL FOR TOILET PIT
Supply and construct continues wall over the base foundation [40 cm width and 250 cm height], using two red bricks with cement sand mortar 1:6 as for the main building per drawings.
| Ditto, for Block T1 | 50.5 | SQM
| Ditto, for Block T2 | 50.5 | SQM
2.7 | BACKFILLING
Around Toilet Pit with excavated soil
| Ditto, for Block T1 | 44.804 | CUM
| Ditto, for Block T2 | 44.804 | CUM
2.8 | COMPACTED SOIL REPLACEMENT
Supply and lay selected well graded un-expansive well compacted soil with water.
for under slab floor, one layers (20 cm)
| Ditto, for NEW Block A | 25.931 | CUM
| Ditto, for NEW Block B | 10.935 | CUM
| Ditto, for NEW Block C | 9.7795 | CUM
| Ditto, for Electrical room | 1.96 | CUM
2.9 | REINFORCED CONCRETE UNDER FLOOR
Supply and cast reinforced concrete mix (1:2:4) with Fcu=25N/mm², Deformed Bars 12mm diameter (Fy=460N/mm²)
under slab floor, t=100mm
| Ditto, for NEW Block A | 129.655 | SQM
| Ditto, for NEW Block B | 54.675 | SQM
| Ditto, for NEW Block C | 48.8975 | SQM
| Ditto, for Electrical room | 9.8 | SQM
2.1 | REINFORCED CONCRETE SLAB FLOOR FOR TOILET
Supply and cast reinforced concrete with Fcu=25N/mm², Deformed Bars 12mm diameter (Fy=460N/mm²) 1:2:4
on ground , t=200mm
| Ditto, for Block T1 | 3.272 | CUM
| Ditto, for Block T2 | 3.272 | CUM
2.11 | REINFORCED CONCRETE (Grade BEAMS)
Supply and cast reinforced concrete with Fcu=25N/mm², Deformed Bars 12mm diameter (Fy=460N/mm²) 1:2:4, Stirrup Bars 8mm diameter (Fy=250N/mm²)
beam dimension (30 cm Width, 40 cm Height)
| Ditto, for Block A | 4.89 | CUM
| Ditto, for Electrical room | 1.752 | CUM
beam dimension (30 cm Width, 50 cm Height)
| Ditto, for Block T1 | 1.026 | CUM
| Ditto, for Block T2 | 1.026 | CUM
2.12 | REINFORCED CONCRETE (LINTEL BEAMS)
Supply and cast reinforced concrete with Fcu=25N/mm², Deformed Bars 12mm diameter (Fy=460N/mm²) 1:2:4, Stirrup Bars 8mm diameter (Fy=460N/mm²)
beam dimension (30 cm Width, 15 cm Height)
| Ditto, for Block A | 1.3275 | CUM
| Ditto, for Block B | 0.504 | CUM
| Ditto, for Block C | 0.441 | CUM
| Ditto, for Block T1 | 0.8415 | CUM
| Ditto, for Block T2 | 0.8415 | CUM
2.13 | REINFORCED CONCRETE (Roof BEAMS)
Supply and cast reinforced concrete with Fcu=25N/mm², Deformed Bars 12mm diameter (Fy=460N/mm²) 1:2:4
| Ditto, for Block T1 | 2.5092 | CUM
| Ditto, for Block T2 | 2.5092 | CUM
2.14 | REINFORCED CONCRETE (SLABS)
Supply and cast reinforced concrete with Fcu=25N/mm², Deformed Bars 12mm diameter@150 mm (Fy=460N/mm²) 1:2:4 – the item icludes perimetral beam
Roof slab , t=160mm
| Ditto, for Block T1 | 6.0416 | CUM
| Ditto, for Block T2 | 6.0416 | CUM
TOTAL
To Bill Summary

## chap 3
BILLS OF QUANTITIES
HEALTH CENTER OF OTASH-NHIF2 REHABLITATION
Chapter 3
Ref. | DESCRIPTION | Quantity | Unit | Unit Price | Amount
|  |  |  | SDG | SDG
3 | CIVIL WORKS & FINISHING
3.1 | BRICK WALL |  |  |  | 0
| Supply and erection of walls using red brick or cement hollow block with sand-cement mortar. The walls are considering the total areas (i.e. inclusive of dead freight) and not deducted by openings (doors,windows). Inclusive of edges, lintels, and all needs to have the opening on the walls. |  |  |  | 0
3.1.1 | 10 cm thickness
| Ditto, for Block T1 | 10.37 | SQM
| Ditto, for Block T2 | 10.37 | SQM
3.1.2 | 20 cm thickness
| Ditto, for Block T1 | 52.44 | SQM
| Ditto, for Block T2 | 52.44 | SQM
3.1.3 | 30 cm thickness
| Ditto,for NEW Block A | 177.94 | SQM
| Ditto,for NEW Block B | 47.06 | SQM
| Ditto,for NEW Block C | 70.07 | SQM
| Ditto, for Block T1 | 49.368 | SQM
| Ditto, for Block T2 | 49.368 | SQM
3.1.4 | 60 cm thickness 50cm HEIGHT |  |  | 0
| Ditto,for NEW Block A | 10.5 | M.L
| Ditto,for NEW Block B | 15 | M.L
| Ditto,for NEW Block C | 13 | M.L
3.2 | PLASTER
3.2.1 | INTERNAL PLASTER
Sand-cement plaster 1:5(1 cement: 5 sand), including bonding agent, scratch coat, corner bead, metal lath, plaster stop, fixation, all other accessories including cleaning of all spills, touch – ups finished with a floating coat of neat cement on the roughside of brick wall. The plaster is considering the total volume (i.e. inclusive of dead freight). Inclusive of edges, lintels, and all needs to have the opening on the walls.
| Ditto, for NEW Block A | 46.57 | SQM
| Ditto, for NEW Block B | 52.65 | SQM
| Ditto, for NEW Block C | 30.36 | SQM
| Ditto, for Electrical room | 55.5 | SQM
3.2.2 | EXTERNAL PLASTER |  |  | 0
| Sand-cement plaster 1:5(1 cement: 5 sand), including bonding agent, scratch coat, corner bead, metal lath, plaster stop, fixation, all other accessories including cleaning of all spills, touch – ups finished with a floating coat of neat cement on the roughside of brick wall. The plaster is considering the total volume (i.e. inclusive of dead freight). Inclusive of edges, lintels, and all needs to have the opening on the walls. Including the bench on top of wall, parapets,... |  |  | 0 | 0
| Ditto, for NEW Block A | 224.55 | SQM
| Ditto, for NEW Block B | 133.74 | SQM
| Ditto, for NEW Block C | 130.1 | SQM
| Ditto, for Electrical room | 28.34 | SQM
| Ditto, for Block T1 | 68.2 | SQM
| Ditto, for Block T2 | 68.2 | SQM
3.2.3 | ROOF PLASTER
Sand-cement plaster 1:5(1 cement: 5 sand), including bonding agent, scratch coat, corner bead, metal lath, plaster stop, fixation. The plaster is considering the area of Toilet roof
| Ditto, for Block T1 | 37.76 | SQM
| Ditto, for Block T2 | 37.76 | SQM
3.3 | FLOOR TILES
Supply and installation of porcelain tiles for floor cm 40x40, fixed by cement mortar and including the grouting, all inclusive. Samples to be submitted to and approved by the Work Director
3.3.1 | INTERNAL TILES
| Ditto, for NEW Block A | 77.855 | SQM
| Ditto, for NEW Block B | 33.75 | SQM
| Ditto, for NEW Block C | 35.8975 | SQM
| Ditto, for Electrical room | 9 | SQM
| Ditto, for Block T1 | 15.3 | SQM
| Ditto, for Block T2 | 15.3 | SQM
3.3.2 | WALL TILES
Supply and installation of ceramic wall tiles . 15X15 cm, fixed by cement mortar , including grouting, all inclusive. Samples to be submitted and approved by the Work Director
| Ditto for LAB in NEW block C | 54.3 | SQM
| Ditto for sinks in NEW block A | 1.44 | SQM
| Ditto for sinks in NEW block B | 0.72 | SQM
| Ditto, for Block T1 | 46.06 | SQM
| Ditto, for Block T2 | 46.06 | SQM
3.3.3 | SKIRTING TILES
Supply and installation of ceramic skirting tiles, fixed by cement mortar, including grouting, all inclusive. Samples to be submitted and approved by the Work Director
3.3.3.1 | INTERNAL SKIRTING
| Ditto, for NEW Block A | 80.2 | M.L
| Ditto, for NEW Block B | 37.5 | M.L
| Ditto, for NEW Block C | 12.8 | M.L
| Ditto, for Block T1 ENTRANCE | 4 | M.L
| Ditto, for Block T2 ENTRANCE | 4 | M.L
3.4 | CEMENT SCREED FLOOR FINISH
Supply and apply cemet screed proper smooth finish for floors
| Ditto, for NEW Block A waiting area | 37 | SQM
| Ditto, for NEW Block B waiting area | 22 | SQM
| Ditto, for NEW Block C waiting area | 13 | SQM
3.5 | WINDOWS AND DOORS |  |  | 0
3.5.1 | WINDOWS |  |  | 0
| Supplying and installation of new steel windows, tempereted single glaze, (6mm), transparent finish. Rate shall include all hardwares, and mosquito net as per drawings and work director approval. |  |  | 0
| 100 x 100 cm |  |  | 0 | 0
| Ditto, for NEW Block A | 14 | No.
| Ditto, for NEW Block B | 5 | No.
| Ditto, for NEW Block C | 5 | No.
3.5.2 | VENTILATION WINDOWS |  |  | 0
| Supply and installation of ventilation windows,metal frame with mosquito net fixed |  |  | 0
| 60 x 40 cm |  |  | 0 | 0
| Ditto, for Block T1 | 3 | No.
| Ditto, for Block T2 | 3 | No.
3.5.3 | NEW DOORS |  |  | 0
| Supplying and installation of pvc doors. Rate shall include all hardwares, sealant in all connections with wall, as per drawings and work director approval. |  |  | 0
| 100 x 200 cm |  |  | 0 | 0
| Ditto, for NEW Block A | 3 | No.
| Ditto, for NEW Block B | 3 | No.
| Ditto, for NEW Block C | 2 | No.
150 x 200 cm
| Ditto, for NEW Block A | 2 | No.
70 x 200 cm
| Ditto, for Block T1 | 2 | No.
| Ditto, for Block T2 | 2 | No.
3.5.4 | NEW DOORS TOILET for disabled persons |  |  | 0
| Supply and installation of pvc doors. Rate shall include all hardwares, silicon sealant in all connections with wall,as per drawings and site supervisor approval. |  |  | 0
100 x 200 cm
| Ditto, for Block T1 | 1
| Ditto, for Block T2 | 1
3.6 | PAINTING WORKS
3.6.1 | INTERNAL PAINTING
Applying of paint coat, in plaster surface, glossy oil paint, up to the height of 1.8 meters. Including brushing, mold removal and grouting, primer, filler and three coats of paint. Colour to be submitted and approved by the Site Supervisor. Total area (i.e. inclusive of dead freight).
| Ditto, for NEW Block A | 126.36 | SQM
| Ditto, for NEW Block B | 72.9 | SQM
| Ditto, for NEW Block C | 24.84 | SQM
| Ditto, for Electrical room | 27 | SQM
| Ditto, for Block T1 | 36.36 | SQM
| Ditto, for Block T2 | 36.36 | SQM
| Applying of paint coat, in plaster surface, EMULSION PAINT (Pomastic). Including primer, filler and three coats of paint. Colour to be submitted and approved by the Site Supervisor. |  |  | 0
| from the height of 1.80 meters to the ceiling |  |  | 0 | 0
| Ditto for internal walls block A | 147.42 | SQM
| Ditto for internal walls block B | 85.05 | SQM
| Ditto for internal walls block C | 28.98 | SQM
| Ditto, for Electrical room | 31.5 | SQM
from floor up to the ceiling
| Ditto, for Block T1 | 14 | SQM
| Ditto, for Block T2 | 14 | SQM
3.6.2 | EXTERNAL PAINTING |  |  | 0
| Applying of paint coat with EMULSION PAINT (Pomastic) from the floor level to the ceiling AND the ceiling in covered waiting areas. Including brushing, mold removal and grouting, primer, filler and three coats of paint. Colour to be submitted and approved by the Site Supervisor.For all external surfaces including pillars and ceilings of waiting areas. Total area (i.e. inclusive of dead freight). | 0
| Ditto, for NEW Block A | 253.55 | SQM
| Ditto, for NEW Block B | 144.74 | SQM
| Ditto, for NEW Block C | 139.1 | SQM
| Ditto, for Electrical room | 28.34 | SQM
| Ditto, for Block T1 | 95 | SQM
| Ditto, for Block T2 | 95 | SQM
3.6.3 | ROOF PAINTING
| Applying of paint coat, in plaster surface, EMULSION PAINT (Pomastic). Including primer, filler and three coats of paint. Colour to be submitted and approved by the Site Supervisor. | 0
| Ditto, for Block T1 | 37.76 | SQM
| Ditto, for Block T2 | 37.76 | SQM
3.7 | FALSE CEILING
Supplying and laying of internal false ceiling. The item includes any necessary supply and work according to standards like aluminium frames, gypsum plaster for smoothing, fillers, tapes, beads, fixings etc.
| Ditto, for NEW Block A | 77.855 | SQM
| Ditto, for NEW Block B | 33.75 | SQM
| Ditto, for NEW Block C | 35.8975 | SQM
| Ditto, for Electrical room | 9 | SQM
3.8 | KHAFJA WORK
| Supply and install layer of well done khafja (thichness to be defined) and slope for drainge and good finishing as Site Supervisor approval. | 0
| Ditto, for Block T1 | 37.76 | SQM
| Ditto, for Block T2 | 37.76 | SQM
3.9 | STEPS
Supply and install concrete steps connecting sheded area (veranda) and toilets, surface ready for tiling according to works director instructions and approval.
| Ditto, for NEW Block A | 1 | Job
| Ditto, for NEW Block B | 1 | Job
| Ditto, for NEW Block C | 1 | Job
| Ditto, for Block T1 | 1 | Job
| Ditto, for Block T2 | 1 | Job
3.1 | RAMP FOR WHEELCHAIR
Construction of ramps with landings for wheelchair. The item includes 30 cm depth excavation, supply and lay selected well graded un-expansive well compacted soil thickness 30 cm, the brick walls (with compacted soil and plain concrete), supply and cast for plain concrete (1:3:6) (t=10cm), reinforced plain concrete slab (1:2:4) (t=10cm), and screed cement finish with non-slippery treatment, lateral borders with plaster and paint on the lateral surfaces. Including lateral steel handrail. According to Site Supervisor instructions and as per drawings.
| Ditto, for NEW Block A | 1 | Job
| Ditto, for NEW Block B | 1 | Job
| Ditto, for NEW Block C | 1 | Job
| Ditto, for Block T1 | 1 | Job
| Ditto, for Block T2 | 1 | Job
3.11 | MASHRABIA
Supply and installation of metallic mashrabiya (grill for shadow and view protection), composed by metallic perimeter frame, metallic grill, support and fixation on site, giving an anti-rust primer, applying two coats of paint, colour and quality has to be approved by work director. All accessories, bolts, civil work are included. For dimension and description refer to Detailed drawing. Sample must be submitted and approved.
Dim. 120 x 180
| Ditto, for Block T1 | 5.4 | SQM
| Ditto, for Block T2 | 5.4 | SQM
3.11 | GALVANIZED GUTTER |  |  | 0
| Supply and proper installation of galvanized gutter, with flashing over upstand into wall, to be properly fixed between Corrugated Metal Sheet roof and wall. |  |  | 0
| Ditto, for NEW Block A | 40.1 | M.L
| Ditto, for NEW Block B | 13.4 | M.L
| Ditto, for NEW Block C | 12.05 | M.L
3.12 | PVC GUTTER
Supply and proper installation of PVC gutter, with flashing over upstand into wall, to be properly fixed between Corrugated Metal Sheet roof and wall.
> Dia 100 mm (4”)
| Ditto, for Block T1 | 5.5 | M.L
| Ditto, for Block T2 | 5.5 | M.L
3.12 | CORRUGATED METAL SHEET ROOF
Supply and proper installation of new Corrugated Metal Sheets on the new steel structure including all necessary accessories.
| Ditto, for NEW Block A | 114.705 | SQM
| Ditto, for NEW Block B | 44.37 | SQM
| Ditto, for NEW Block C | 45.3625 | SQM
| Ditto, for Electrical room | 13.52 | SQM |  | 0
3.13 | NEW SHED
Supply and install of the whole steel structure for a new shed (VERANDA) including steel columns, main structure, secondary structure, steel beams and cover from corrugated sheets of Zinc metal. All needs and as per drawings. fixed by resin on the NEW concrete column and all accessories, civil work are included.
| Ditto, for NEW Block A | 52.65 | SQM
| Ditto, for NEW Block B | 30.6 | SQM
| Ditto, for NEW Block C | 23.875 | SQM
3.15 | THERMENAL HEAT
Supply and instalIing double layers aluminum foil,to be properly fixed under corrugated sheets of Zinc metal
| Ditto, for NEW Block A | 77.855 | SQM
| Ditto, for NEW Block B | 33.75 | SQM
| Ditto, for NEW Block C | 35.8975 | SQM
| Ditto, for Electrical room | 9 | SQM
3.14 | INTERLOCK
Providing and laying factory made interlock paver 4 cm on compacted bed of fine sand and filling the joints with proper materials, finishing and sweeping extra sand, color and thickness, Color as for Site Supervisor indications.
| Ditto, for Landscape | 271.3 | SQM
3.18 | CURBSTONE WORK
Supply and installation of concrete curbstone edging around the building (except elevations which have interlock), the item includes fixing by cement mortar and grouting
| Ditto, for NEW Block A | 32 | M.L
| Ditto, for NEW Block B | 15.5 | M.L
| Ditto, for NEW Block C | 23.5 | M.L
| Ditto, for Block T1 | 15.5 | M.L
| Ditto, for Block T2 | 18.5 | M.L
| Ditto, for OTHER | 16 | M.L
3.16 | MEDICAL WASTE DISPOSAL
Construction of medical waste disposal. The item includes (150 cm length, 150 cm width, 150 cm depth) excavation for pit, supply and cast for plain concrete (1:3:6) (t=10cm), (reinforced concrete slab (1:2:4) (t=20cm) deformed bar 12mm (fy=460 N/mm2) UNDER AND ABOVE BRICK WALL), the brick walls (t=20cm) height 150 cm, 4" stainless steel pipe for Chimney, 2" stainless steel pipe for Ventilation and ash doors . as for drawings
| Ditto, for medical waste disposal as for drawing | 1 | Job
3.17 | NEW FENCE
Construction of fence. The item includes :(40 cm length, 40 cm width, 60 cm depth) excavation per 250 cm, supply and cast for reinforced concrete pocket foundation (1:2:4) (t=20cm) (40 cm length, 40 cm width, 40 cm thickness) fence steel system (CLD FENCING SYSTEM)
| Ditto, for Fence as for drawings | 121.8 | M.L
3.18 | NEW METAL GATE
Supply and install new metal gate, properly made according to the detailed drawings, giving an anti-rust primer, applying two coats of paint, colour and quality has to be approved by work director, including hinges and locks.
| Supply and install new gate 400 x 200 cm. | 1 | JOB
| TOTAL |  |  |  | 0
To Bill Summary
Note on B116: [Commento in thread] La versione di Excel in uso consente di leggere questo commento in thread, ma tutte le modifiche a esso apportate verranno rimosse se il file viene aperto in una versione più recente di Excel. Ulteriori informazioni: https://go.microsoft.com/fwlink/?linkid=870924 Commento: ho aggiornato l'altezza della separazione tra le pitturazioni a 2.20 come da disegni
Note on B134: [Commento in thread] La versione di Excel in uso consente di leggere questo commento in thread, ma tutte le modifiche a esso apportate verranno rimosse se il file viene aperto in una versione più recente di Excel. Ulteriori informazioni: https://go.microsoft.com/fwlink/?linkid=870924 Commento: ho aggiornato l'altezza della separazione tra le pitturazioni a 2.20 come da disegni

## chap 4
BILLS OF QUANTITIES
HEALTH CENTER OF OTASH-NHIF2 REHABLITATION
Chapter 4
Ref. | DESCRIPTION | Quantity | Unit | Unit Price | Amount
|  |  |  | SDG | SDG
4 | ELECTRICAL
4.1 | NEW GENERATOR
| Provide and install new generator with its steel cage, The item also includes the supply and installation of the connection cables from the generator to the main distribution board | 1 | JOB
4.2 | MAIN SWITCHBOARD |  |  | 0
| Supply, install, connect, test and commission the main distribution board as stated drawing as per final load diagram completely with all necessary accessories with labeling for all circuits: |  |  | 0 | 0
| 18 way - 63A MCCB TPN distribution board. | 1 | No.
| 12 way - 160 A MCCB TPN distribution board. | 1 | No.
| Change Over Switch 200 Amps. | 1 | No.
4.3 | ISOLATORS |  |  | 0
| Supply, install, connect, test & commission the following isolators including conduits, wiring, metal boxes and ancillary works: |  |  | 0
| 20A Switch, 2P, Flush Mounted Switch For Auto Calve. | 1 | No.
| 40A Switch, 2P, Flush Mounted Switch For A/C. | 1 | No.
4.4 | CABLES |  |  | 0
| Supply, install, connect, test & commission the following with KSA Specifications including conduits, wiring, metal boxes and ancillary works |  |  | 0
| 1 ( 4 x 25 mm² Cu / XLPE / SWA / PVC) | 6 | ML
| 1 ( 4 x 16 mm² Cu / PVC / PVC) | 60 | ML
4.5 | SOLAR PV ARRAY: 22kVA POWER CAPACITY
Supply, install, connect, test & commission the following isolators including conduits, wiring, metal boxes and ancillary works:
| Solar Panel, 400 W. | 32 | No.
| Power Inverter 24 Vdc, MPPT. | 1 | No.
| 1x 120 mm² Cu / PVC / PVC | 30 | ML
4.3 | LIGHTING POINTS & FIXTURES
Work includes provision of PVC conduits and all accessories and wiring from the point up to the distribution board.
4.3.2 | CEILING MOUNTED LAMP
| Ditto, for NEW Block A | 19 | No.
| Ditto, for NEW Block B | 9 | No.
| Ditto, for NEW Block C | 8 | No.
| Ditto, for Electrical room | 2 | No.
| Ditto, for Block T1 | 4 | No.
| Ditto, for Block T2 | 4 | No.
4.3.3 | NEON LAMP
| Ditto, for NEW Block C | 2 | No.
4.3.4 | CEILING FANS
| Ditto, for NEW Block A | 10 | No.
| Ditto, for NEW Block B | 5 | No.
| Ditto, for NEW Block C | 5 | No.
| Ditto, for Electrical room | 1 | No.
4.3.5 | EXHAUST FANS
| Ditto, for NEW Block C | 1 | No.
4.3.7 | AIR CONDITIONING
Supply and install AC unit, according to the calculated power, including traces, cablages, ect., from approved manufactured, quality and brand approved by work director , with all the requirements and accessories.
| Ditto, for NEW Block A | 1 | No.
| Ditto, for NEW Block C | 1 | No.
4.4 | SWITCHES
Supply and Install lighting switches from approved manufactured, complete as required per standards. Including wiring using approved UPVC conduits and all necessary fittings. The item includes cutting the walls and making good the same for recessed conduits. Approval subject to the Work Director.
4.4.1 | 10A SWITCH
| Ditto, for NEW Block A | 8 | No.
| Ditto, for NEW Block B | 4 | No.
| Ditto, for NEW Block C | 4 | No.
| Ditto, for Block T1 | 3 | No.
| Ditto, for Block T2 | 3 | No.
| Ditto, for Electrical room | 1 | No.
4.4.2 | 45A SWITCH
| Ditto, for NEW Block A | 1 | No.
| Ditto, for NEW Block C | 1 | No.
4.5 | SOCKET OUTLET
Supply & installation of fused shuttered switched socket outlet to comply with relevant BS standard (Clipsal, Orange, Crabtree/ Tenby/ABB or equivalent). Wiring (including supply of earth wire & all other material required ) of above socket using recessed UPVC conduits is included in the item
| Ditto, for NEW Block A | 35 | No.
| Ditto, for NEW Block B | 15 | No.
| Ditto, for NEW Block C | 22 | No.
TOTAL
To Bill Summary

## chap 5
BILLS OF QUANTITIES
HEALTH CENTER OF OTASH-NHIF2 REHABLITATION
Chapter 5
Ref. | DESCRIPTION | Quantity | Unit | Unit Price | Amount
|  |  |  | SDG | SDG
5 | PLUMBING
5.1 | PLUMBING DRAINAGE SYSTEM
5.1.1 | DRAINAGE PIPES
Provide and install the complete drainage pipes shall be U.P.V.C. (Heavy duty) class 3 to BS4515 (6 bar) lay with all fittings including all bends, junction, accessories, support … etc. for complete work & according to the consultant requerments and the approved sample
> Dia 50 mm (2”)
| Ditto for, Block A&B&T2 as for drawings | 60.5 | ML
| Ditto for, Block C&T1 as for drawings | 16 | ML
5.1.2 | RAIN DRAIN PIPES |  |  | 0
| Provide and install the complete rain drain pipes shall be U.P.V.C. (Heavy duty) class 3 to BS4515 (6 bar) for complete work & according to the consultant requerments and the approved sample |  |  | 0
| > Dia 100 mm (4”) |  |  | 0
| Ditto for, Block A as for drawings | 16 | No.
| Ditto for, Block B as for drawings | 4 | No.
| Ditto for, Block C as for drawings | 4 | No.
| Ditto for, Block T1 as for drawings | 3 | No.
| Ditto for, Block T2 as for drawings | 3 | No.
5.1.3 | GULLY TRAP |  |  | 0
| Provide material & erect reinforced square Gully trap 0.30*0.30 depths 0.30 m including all excavation , back filling ,concrete work, water proofing ,depth according as drawing and complete with 30x30 cm sealed cover (heavy duty type ) laying the pipe before construct manhole and fixing. work to be completed according to specification and engineer approval. |  |  | 0
| Ditto for, Block A&B&T2 as for drawings | 10 | No.
| Ditto for, Block C&T1 as for drawings | 5 | No.
5.1.4 | SOAK PIT |  |  | 0
| Making soak pit 1.5 x 1.5 m depth 3m dry bricks of class designation 75 S.W drain pipe 50mm diameter, complete as per standard design | 2 | Job
5.2 | STEEL SINK |  |  | 0
| Steel Sink shall be complete with chromium plated, mixing (GROHE)tap PVC bottle trap isolating valves and all necessary fittings. for completed work as for Site Supervisor indications. |  |  | 0
| Ditto, for NEW Block C | 1 | No. | 85500 | 85500
5.3 | WATER CLOSET |  |  | 0
| Supply and install Eastern water closet,approved manufactures ( Twyford ) , complete with flush tank , valve,Trigger Spray handshower set ,angle valve with all necessary fittings, support, and all accessories ….etc. for complete work as specification and Site Supervisor approval. |  |  | 0
| Ditto, for Block T1 | 2 | No.
| Ditto, for Block T2 | 2 | No.
| Supply and install Western water closet,approved manufactures(Duravit (Egypt) -GROHE) , complete with seat and cover, flush tank , valve,Trigger Spray handshower set ,angle valve with all necessary fittings, support, and all accessories ….etc. for complete work as specification and Site Supervisor approval. |  |  | 0
| Ditto, for Block T1 | 1 | No.
| Ditto, for Block T2 | 1 | No.
5.4 | WASH BASIN |  |  | 0
| Supply and Install Wash Basin from approval manufacture C/W tap, angles valve, flexible pipes, drain ..etc and all necessary accessories for complete work as per specifications, drawings and work director approval |  |  | 0
| Ditto, for NEW Block A | 4 | No.
| Ditto, for NEW Block B | 2 | No.
5.5 | COMPLETE ABLUTION POINT |  |  | 0
| Execution of an ablution area, located near the toilets,as per drawing. Ablution composed by, n.3 stool/seets, done by bricks plastered and cladded by ceramic tile. Including the ceramic wall tiles. Including all connections, taps etc. The item will be considered complete in all respects. | 2 | Job
5.6 | VENTILATION PIPES |  |  | 0
| Supply and install PVC pipes 4 inch, 4.3m high fastened to wall. Top of vent pipes is a minimum 0.5m above roof and the bottom 0.5m under the Toilet floor |  |  | 0
| Ditto for, Block T1 as for drawings | 13.05 | ML
| Ditto for, Block T2 as for drawings | 13.05 | ML
5.7 | PLUMBING WATER SUPPLY SYSTEM |  |  | 0
5.7.1 | WATER PIPES |  |  | 0
| Supply and install water supply pipes shall be heavy duty PP-R pipes class 3 PN 20 , from approved manufactures(TECHNO-Sultanate of Oman) complete with all necessary fittings , valves for all toilets and all general services as detailed in specifications as shown in the drawings. |  |  | 0
| > Dia 25 mm (1”) |  |  | 0
| Ditto for, Block A&B&T2 as for drawings | 67 | ML
| Ditto for, Block C&T1 as for drawings | 39 | ML
> Dia 12.5 mm (0.5”)
| Ditto for, Block A&B&T2 as for drawings | 10.5 | ML
| Ditto for, Block C&T1 as for drawings | 3 | ML
5.8 | ELEVATED WATER TOWER STRUCTURE |  |  | 0
| Supply and erect an elevated tower including the excavation, the compacted soil, the plain concrete, the reinforced concrete beam, the steel structure with proper connectionions and weldings with all necessary accessories as for drawings. The contractor will complete all structural details missing following the Site Supervisor indications and approval. |  |  | 0
| Ditto for, elevated water tank | 1 | Job
5.9 | PLASTIC WATER TANK
Provide and install elevated water tank of capacity 3 m³ (Tana) supported on steel tower of 6m high all to be approved by site engineer
| Ditto for, external area as for drawings | 1 | Job
5.1 | TRANSFER WATER PUMP
Provide and install booster pump of approved manufactures (PENTAX -Italy) (Q = 1 L/S , H = 25 m , 1 hp) With all accessories including pressure switch automatic, gate valves, non-return valves etc. to supply water to elevated tank
| Ditto for, external area as for drawings | 1 | Job
TOTAL
To Bill Summary

## chap S
BILLS OF QUANTITIES
HEALTH CENTER OF OTASH-NHIF2 REHABLITATION
Chapter S
Ref. | DESCRIPTION | Quantity | Unit | Unit Price | Amount
|  |  |  | SDG | SDG
S | SAFETY AND INSURANCE
S.1 | Safety & Insurance: Accident Prevention Devices (such as anti-slippery heavy duty shoes, working glasses, gloves, jacket, etc.); training; implementation of safe working methodology and procedures; insurance as per Art. 16.2.b.4 of Contract General Cconditions & Special Conditions; monitoring
|  | 1 | Job
TOTAL
To Bill Summary