## Sheet1
Construction of HF VIP Latrine BoQ- See drawing annex S_1 for detail - ND(Gos-leben Health Facility)
S.n | Item | UNIT | QUT | Unit rate | Total Amount in SDG
1 | Excavation for pit 2m diameter & 4m deep | M3 | 12.5
2 | Excavation for strip foundation 50*50cm | M l | 8
3 | Building 1.5brick wall by red brick class (1) & cement mortar 1:8 for wall foundation | M2 | 5.5
4 | Cast reinforced concrete 10cm thick for pit | M3 | 0.7
5 | Cast 20*20cm for grade beam & lintel tie beam 20*10cm | M l | 14
6 | Building 1.5 brick wall by red brick class (1) & cement mortar 1:8 until 20cm above ground level for walls | M2 | 3
7 | Building 1 brick wall with cement mortor1;8 for pit & privacy & latrine wall contains parapet | M2 | 60
8 | Supply and fix the roof by zinc sheet 0.35mm using painted metal pipes 3× 6 (1 inch ) as purlin. | M2 | 3.6
9 | Make Cement plaster for inside and outside of All latrine wall , mixed 1:8 | M2 | 70
10 | Paint for inside and outside of All latrine walls. | M2 | 70
11 | Installation of Ventilations Pipe PVC 4 inches length 3m | NO | 1
12 | Installation of door with dimensions (70x190 cm) meters of steel plate & pipes 3×6. | Door | 2
13 | Installation of Steel high level ventilation size 30x30cm | Window | 2
14 | Installation of eastern toilet seat with accessories | seat | 2
16 | Hand wash facility | HWF | 1
Total
BoQ for Major repair and maintenance of 2 CMAM sites - ND
S.n | Specifications | Unit | Quantity | Unit rate | Total Amount SDG
1 | Supply and cast plain concrete thickness of 7 cm mix 1:3:6 with good water treatment for CMAM rooms floor | M2 | 32
2 | Supply and Implementation of painting the interior walls almohandes paints with primer, paint and pomade with two coats, taking into account the principles of workmanship | M2 | 128
3 | Supply & fixing doors for the room-Provide and fix Metallic Door (2X1.2) m using Hollow steel pipe 3X6 and heavy steel plates with internal and external locks , The locks should be at 80cm high from the bottom of the door | job | 2
4 | Other minor maintenance works as per Engineer's instruction | job | 1
Total Cost
Upgrading water yard by Solar system BoQ-ND(Zamzam Camp)
S.n | ITEM DESCRIPTION | UNIT | QTY | Unit rate | Total Amount in SDG
1 | Supply and installation of PV Solar panels-module.Mono-Si – 250W(should meet IEC/EN61215&61730 standards- Vendor to submit detail specification)[1] | pcs | 23
2 | Supply and installation of Switch box/control box/Inverter On/Off. It should also include maximum power point tracking (MPPT), dry running, voltage and overload protection[2]. Equipment brand should be know and acceptable with high preference of Grundfos brand. | set | 1
3 | Supply and installation of metallic enclosure for the switch box. | set | 1
4 | Supply and installation of Support structure-anti corrosion, bolted type for all modules needed with high stand the support fixed two lines as per Engineers instruction | set | 1
5 | Supply and installation of Earth wire/rode hole | pcs | 1
6 | Supply and installation of Pump drop cable, 4x6mm2 , as per standard spec and Engineers instruction | Set | 1
7 | Supply and installation of Sensor cable 1.5mm as per standard spec and Engineers instruction | set | 1
8 | Supply and installation of Pump security wire 6mm2 as per standard spec and Engineers instruction | set | 1
9 | Supply and installation of Cable 2.5mm roll of 90m | roll | 1
10 | Supply and installation of required appropriate Fittings(Connecter, adapters, elbows, clamp) as per Engineers instruction | Set | 1
11 | Supply and installation of the Water flow meter (32mm)1.25" on the pipe system from BH to Elevated tank inlet as per Engineers instruction | pcs | 1
12 | Supply and installation of Timber box for protecting the box | pcs | 1
13 | Supply and installation of appropriate Change over switch /Power pack AC-DC needed for operating the Generator set | pcs | 1
14 | Supply and installation of the Lightening protection/Surge arrester with copper strip | pcs | 1
15 | Supply and installation of protection 3m high fence for solar system 20x10m(with razor all wire at the top) | no | 1
16 | Supply and installation of Isolation valve (32mm/1.25’’ Check valve) as per Engineers instruction | no | 1
17 | System testing and on the Job training for RI staff and WUC members | day | 1
Total Cost
Madu-Water yard rehabilitation in ND-BoQ
S.n | Item Description | Unit | QTY | Unit rate | Total cost SDG
1 | System components expansion (Tap stand/cattle trough) | PCS | 1
2 | water taps (1inch) | PCS | 12
3 | water flew meter (2 inch) | PCS | 1
4 | Isolation valve with capacity (2 inch) | PCS | 2
5 | Other fitting costs | Set | 1
6 | Transportation cost | trip | 1
7 | Labour and Installation cost | team | 1
Total cost
Handwashing facility BOQ drawing annex - H1&H2 - ND (to be distributed for Alsayah and Almalha)
S.no | Material | Unit | Quantity | Unit rate | Total Amount in SDG
1 | Iron angle 2x2 inch with length 6m for stand frame | PCS | 1
2 | Iron pipe 4x8 CM | PCS | 0.5
4 | Tap 0.5 inch | PCS | 1
5 | Socket 0.5 inch | PCS | 1
6 | Nipple 0.5 inch | PCS | 1
7 | Water tape | PCS | 1
11 | Labor cost | Team | 1
12 | Transportation to site | Trip | 1
13 | Water container /plastic type with 100 litter capacity | PCS | 1
14 | Paint with oil | Liter | 1
Total
Hand pump rehabilitation BoQ - ND(Zamzam Camp)
S.n | Item Description | Unit | QTY | Unit rate | Total Amount in SDG
1 | Raising Main(1¼)inch with connecting rod (4 Lena) | Piece | 15
2 | Complete Cylinder assembly | Piece | 5
3 | Water tank assembly | Piece | 5
4 | Normal three legged stand assembly | Piece | 5
5 | Support chain | Piece | 4
6 | Axel for head assembly | Piece | 5
7 | Head bolt | set | 3
8 | M12x40 bolts with nuts (water tank) | Piece | 4
9 | Raising main socket | Piece | 6
10 | Foundation bolts 16mm (stand assembly) | Piece | 4
11 | Chain bolt (supports) | Piece | 4
12 | Rehabilitation of concrete Headwork structure/grouting/drainage channel correction work | Job | 1
Sub Total Material cost :
12 | Labour |  | 1
13 | Transportation |  | 1
Sub total
Total
Pipeline extension BoQ-ND(Zamzam and Mado)
S.n | Item | unit | Quantity | Unit rate | Total Amount in SDG
1 | Pipe GI 2'' | no | 3
2 | Pipe HDPE 2'' | roll | 2
3 | Fitting cost (10%) | set | 1
4 | Labour cost (5%) | team | 1
5 | Transport (5%) | trip | 1
Total for 100m extension
cost per one meter
Incinerator Construction with fence BoQ -See drawing annex_N_1&N_2 for detail - ND( Zamzam B)
S.n | Specifications | Unit | Quantity | Unit rate | Total Amount in SDG
1 | Cast plain concrete 5cm 2×2 under platform | m2 | 4
2 | Cast reinforced concrete 10cm thick - 2×2m as incinerator platform. | m3 | 4
3 | Building ½ brick 2layer wall by thermal brick) & thermal cement mortar for 1½×1½m incinerator outer dimension.1.1m high | M2 | 7
4 | Installation of ash sieve by 3 leaner bar with 2 cm space. | Pcs | 1
5 | Cast reinforced concrete 7cm thick for incinerator cover cover 10cm thickness | M3 | 2.25
6 | installation of 3 inch D circular metal ventilation pipe (3m ) | Pcs | 1
7 | installation of metal high level plate cover size 50x50cm framed by angle 2 inch | Pcs | 3
8 | Installation of 3×3m fence using circular 3 inch D petal pipe and barbed mesh 2.5mm. The height is 2m.The price contains installation of door. | ML | 12
Total
Ashpit for Incinerator construction BoQ-ND(Zamzam A, Alsayah) -See drawing annex W_1& W_2 for detail
S.n | Items | Unit | Quantity | Unit rate | Total Amount in SDG
1 | EXCAVATIONS WORK
1.1 | Excavation of pit with dimensions (3m x 2m x 2m) according to drawing with the removal of the excavation product away from the work site | M3 | 12
1.2 | Supplying and cast palin concrete 10 cm thick with a mixture of 1:3:6 After leveling and compacting the floor of pit | m2 | 6
1.3 | Supply and cast mass concrete for the foundation(3.4mx2.4m), thickness of 15 cm using a 1:2:4 mixture, with the approval of the components of the mixture from the supervising engineer. And perform the tests as required, taking into account the principles of workmanship and all technical requirements, including curing work. | m3 | 1.3
1.3 | Supplying and making one and half-brick buildings (red bricks) with a depth of 2 m with 1:6 cement mortar for the pit wall, with the approval of the bricks from the consulting engineer. and perform the tests requested. Taking into account the principles of workmanship and curing and all technical requirements. | m2 | 20
1.4 | Supply and cast reinforced concrete for the ceiling of the pit(3.4x2.4m), thickness of 15 cm, with bar 12 mm, two layers every 15 cm c/c, using a 1:2:4 mixture, with the approval of the components of the mixture from the consulting engineer. And perform the tests he requires, taking into account the principles of workmanship and all technical requirements, | m3 | 1.3
1.5 | Supply and installation of a manhole cover with dimensions of 50 cm * 50 cm made of angle of 2 inches, thickness of 3 mm, and sheet thickness of 5 mm, with the handle and anti-rust paint, taking into account the principles of workmanship and technical requirements and the review of the supervising engineer. | Ls | 1
1.6 | Improving fencing and door of incinerator according to new ash pit location | Ls | 1
Construction of Underground water tank - BoQ-See drawing annex Q_1& Q_2 for detail - ND (Mado)
S.n | SPACIFICATIONS | UNIT | QUT | Unit rate | Total Amount in SDG
1 | Excavation 2.6*2.6*(2.5 deep) m3 | M3 | 17
2 | Cast plain concrete 5cm under the bed | M3 | 0.3
3 | Cast reinforced concrete 10cm thick for the bed | M3 | 0.7
4 | Building 1½ brick wall by red brick class (1) & cement mortar 1:4 for underground water wall. | M2 | 24
5 | Cast reinforced concrete 10cm thick for tank cover 10cm thickness | M3 | 0.7
6 | Make Cement plaster for inside and outside the wall , mixed 1:4 | M2 | 30
7 | Paint inside wall by waterproof. | M2 | 24
8 | Installation of metal high level plate cover size 50x50cm framed by angle 2 inch | PSC | 1
Total Cost
Elevated tank with pumping and pipeline connection BoQ- See drawing annex O_1 & O_2 for detail - ND (Alsayah)
S.n | Item Description | Unit | QTY | Unit rate | Total Amount in SDG
1 | Supply and install Water tank (poly 2000 liter )-EL-Nakhla tanks | pcs | 1
2 | Supplying (camure) 14 mm x 7 mm and thickness of 8 mm for the manufacture of the tower, including flanges, nails, welding and sheet metal with an area of ​​1.2 * 1.6 m and a thickness of 3 mm and all the necessary requirements to complete the tower. | ml | 16
3 | Supplying angles of 2" and a thickness of 5 mm for use in the structure that holds the tank. The price includes welding works and all requirements necessary to complete the work, taking into account the principles of workmanship. | ml | 16
4 | Supplying sand for casting tank bases | m3 | 0.3
5 | Supplying (Atbara) cement for casting tank bases 50 KG. | bag | 4
6 | Supplying gravel for casting the bases It includes bars 14 mm thickness to reinforce the bases with the distribution of the skewer 15 cm c/c. | M3 | 0.5
7 | Supplying water to the site for casting works. | lit | 400
8 | Supply and apply of rust-resistant oil paint(anti-rust) | Gallon | 2
9 | Supplying and installing a logo with dimensions of 1*1.5m from 4 * 8 cm pipes, 1 mm thick, and iron sheets 2 mm thick, with paint and welding, ( ECHO&RI-Logo) . | logo | 1
10 | Supplying and installing 1'' PPR pipes between the ground tank and the elevated tank, including excavation and backfill works. 1 inch | ml | 20
11 | Supply and installation Copper valve 1 inch | Pcs | 4
12 | Supply and installation of 1'' (GI)Galvanized pipes between the elevated upper tank and the building, including excavation and backfilling. | pcs | 3
13 | Supplying a rectangular pipe 3 x 6cm & L 6 meters for the manufacture of protection grills for the elevated tank. | PCs | 3
14 | Supply and installation of a surface pump 1 HP of high quality, including electrical connection works, and all the necessary accessories after consulting the supervising engineer. | no | 1
15 | Supplying a 1x280w Solar panel, inventor, cable, control system and other accessories as power source for the surface pump | no | 1
16 | The cost of labor, installation, welding, connections, paints, excavations, all activities related to the project and site cleanliness after the completion of all works | Job | 1
17 | Transportations costs of all materials on site | no | 1
Total cost