## BoQ for Tender
600
Nutrition Consturction BoQs
BOQ for-4*6m IYCF zincs sheet shelter rooms in nutrition sites - please see design drawing annex U2
# | Item /Description | Unit | Quantity | Unit cost | TOTAL SDG | TOTAL USD
1 | Cement for concrete and mortar-Ordinary Portland cement ,50kg per bag with strength 42.5N/mm2 | Bag | 10 |  | 0 | 0
2 | Sand for concrete and mortar-Good quality sand &well graded is used, clean from the mats dust and with appropriate strength, | M3 | 6 |  | 0 | 0
3 | Gravel for concrete-Well graded gravel used for mixing the concrete& should give the concrete acceptable resistance and durability and it must have the approval from the supervising engineer. | M3 | 3 |  | 0 | 0
4 | Brick for the store walls & foundation till the site-Construct (1.50) brick width red bricks first class, using cement: sand mortar (1:6) up to 10cm high above ground level and for the (1) brick wall as shown in the drawing. Up to parapet | Thousand | 6 |  | 0 | 0
5 | Soil for Embankments-Compacted soil in layers under plain concrete | M3 | 6 |  | 0 | 0
6 | Water for concreting &mortaring-The water must be used in the construction is should be clean from dirt as well from salts and organic materials and according. Instructions, of the supervising engineer. | Barrel | 6 |  | 0 | 0
7 | Square steel pipe 4cmx8cm 1mm chickness, 6m length-metal pipe4 x 8 cm for purlin with good quality and vertically in stand | PCS | 25 |  | 0 | 0
8 | Zinc sheet 14 feet for the waiting roof-Fix a corrugated zinc sheet class 35 using zinc bolts and rectangular steel pipe 4x8cm to roof the store. | Sheet | 12 |  | 0 | 0
9 | X-banda grid for open area between brick wall and zinc, good quality grid and to be wilded very good | M2 | 20 |  | 0 | 0
10 | Zinc driling nails-Provide zinc driling nail to fix the zinc sheet | Box | 1 |  | 0 | 0
11 | Labor cost containing Excavation and welding-Labor cost includes concreting cost, plastering ,finishing cost & excavation cost | LamSum | 1 |  | 0 | 0
12 | Transportation-Transport all materials to the site | Trip | 1 |  | 0 | 0
| Total |  |  |  | 0 | 0
Total cost of 13 facilities

## Scope of work
Construction of 4*6m IYCF zincs sheet shelter rooms in nutrition sites
Transportation and storage of all required material, equipment and labour to site.
Excavation of soil to the required depth- Excavation of the strip foundation 30 x 40 cm for the whole foundation
Compacted earthwork for floor
Cast 6cm plain concrete for floor.
Built 1½ brick wall from the foundation bottom till 30cm above ground level, with cement sand
Install the metal pipe frame
Build 1 brick wall with cement-sand mortar 1.2 m high.
Use corrugated zinc sheet class 35 for roofing with metal pipe 4*8 cm as purlin.
Use corrugated zinc sheet class 35 for the sides with metal pipe 4*8 cm as shown in drawings.
Fix the door according to the location mentioned in the design and drawings.