## Sheet1
Bill of Quantity (BOQ) for the Rehabilitation of Six Health facilities:
| DESCRIPTION | UNIT | QTY | UNITRATE (SDG) | AMOUNT (SDG)
1 | Omer bn Alkhatab (Dar Alnaeem)
1.1 | Complete maintenance of the water cooling unit | Job | 1
1.2 | Reconnection of water cooling units with elevated tanks and the main desalinated water network in the center (the supply of only 1 200L tank is requierd) | Job | 2
1.3 | Installation of protection circuit to the water cooling units | Job | 2
1.4 | Assessment and maintenance of the 2 ground tanks (10 ton) | Job | 2
1.5 | Reconnection of the old ground tank with the saline water source | M | 16
1.6 | Reconnection of the 8 latrines and the 2 ablution areas with the saline water tank (including water pump, shataffas, etc) | M | 40
1.7 | Rehabilitation of the latrines' flush systems (tanks, connection,…etc) | Set | 8
1.8 | Plumbing check and rehabilitation of latrine manholes 50*50 | Item | 12
1.9 | Rehabilitation of 2 ablution areas (Plumbing check, taps, etc) | Job | 2
1.1 | Installation of handwashing sets in the internal latrine unit | Set | 2
1.11 | Renovation of paintwork and finishing of the 8 latrine units | M2 | 122.4
1.12 | Renovation of 4 wooden doors, including finishing, paintwork, locks, and handles | Job | 4
1.13 | Renovation of 4 aluminum doors, including locks, and handles | Job | 4
1.14 | Rehabilitation of the latrines electricity connection and tools, including lighting and ventilation …etc | Unit | 8
1.15 | Rehabilitation of the center desalination unit 1 ton:
1.15.1 | Replacement of the high-pressure pump motor | Item
1.15.2 | Replacement of the sand filter Media | Job
1.15.3 | Replacment of the chemicals | Job
1.15.4 | Rehabilitation of electric work | Job
1.15.5 | Replacement of the membrain (4Inc) | Item | 2
1.15.6 | Rehabilitation of the ventilation system
2 | Dar Alsalam
2.1 | Replacement of the flushing system of 4-drop hole latrine unit to a direct system (8m farther point from the septic tank) | Job | 1
2.2 | Supply and installation of 3 squat and 1 VIP seats | Item | 4
2.3 | Maintenance of the water pump | Job | 1
2.4 | Rehabilitation and reconnection of 2 ablution areas, including taps, missing tiles and drain system | Job | 2
2.5 | Supply and installation of a water cooler with an additional elevated 200L tank | Job | 1
3 | Um Algora
3.1 | Reconnection of the center with the municiple water network | M | 100
3.2 | Construction of an ablution area with 3 taps | Job | 1
3.3 | Supply and installation of a water cooler with an additional elevated 200L tank | Job | 1
3.4 | Supply and installation of a 2000L tank with a water pump and a tap stand | M3 | 10
4 | Algadesea
4..1 | Rehabilitation of the latrine unit plaster and painting | M2 | 30
4.2 | Supply and installation of 1 squat seat | Item | 1
4.3 | Supply and installation of floor tiling | M2 | 8
4.4 | Supply and installation of electric wiring | M | 60
4.5 | Supply and installation of electric tools, including sockets, fans, lighting, etc. | Set | 4
4.6 | Supply and installation of seating for the waiting area | Item | 8
4.7 | Installation of 9 protection grills on windows and 4 doors (The items are already supplied and ready for installation) | Job | 1
5 | Ongab
5.1 | Rehabilitation of 2 drop hole latrine plaster and paint work | M2 | 70
5.2 | Rehabilitation of wooden door frames, paintwork, locks, handles, etc. | Job | 2
5.3 | Supply and installation of a water cooler | Job | 1
5.4 | Construction of an ablution area with 2 taps | Job | 1
5.5 | Construction of storage room with sheds (Plans and Detailed BoQ attached) | Job | 1
5.6 | Supply and installation of waiting area seating (6 Benches and a mobile desk with wheels and a chair) | Job | 1
6 | Abu Bakr Alsiddig (Shagar)
6.1 | Construction of storage room (Plans and Detailed BoQ attached) | Job | 1
6.2 | Supply of a mobile desk with wheels and a chair | Job | 1
0
TO SUMMARY