Addition For Disasters assistance and Development

Date: ____________________________                         _____________________________التاريخ:

From ____________________________                       _________________________________من:

Address____________________________                  ______________________________ العنوان:

Tell:  ____________________________                                    _________________________ التلفون

SUBJECT: REQUEST FOR Bid

Bill of Quantities Supply and Installation of Solarization Systems with total 10 units for 2 hospitals in KH state ( umbadua and Alragihy ) each hospital 5 units, each single unit including Specifications and quantities as following

| Description | Unit | Quantity | Unit Cost | Total cost |
| --- | --- | --- | --- | --- |
| unit Specifications and quantities |  |  |  |  |
| - (Inverter) CV-Max 10.2kW - 48V COVAX, equipped with RS-485, Can-bus or RS-232 control system, Optional Wi-Fi for app monitoring, Works with or without battery connection, two smart outputs for efficient load management, LCD display, PV input voltage range 90–500V DC, Replaceable dustproof unit and battery-independent design | Pcs | 1 |  |  |
| - (Battery) Vackson 200Ah / 12V sealed battery | Pcs | 4 |  |  |
| - (Solar Panel) 585W solar panel, Vmp = 44.02V, Imp = 29A, Voc = 52.70V | Pcs | 10 |  |  |
| - (System Accessories) 6mm PV cable, 35mm battery cable, PV breaker, charge breaker – core, Electronic – trunking, clamps | Full Package | 1 |  |  |
| - Total cost per unit | Unit system | 1 |  |  |

| - Total of cost of the 10 units | Unit system | 10 |  |  |
| --- | --- | --- | --- | --- |
| الجملة كتابة :- |  |  |  |  |

Attention :- selected vender mandatory provide One year a guarantee including maintenance