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Date: ____________________________                         _____________________________التاريخ:  
From ____________________________                       _________________________________من:  
Address____________________________                  ______________________________ العنوان:  
Tell:  ____________________________                                    _________________________ التلفون 
SUBJECT: REQUEST FOR Bid
  Bill of Quantities Supply and Installation of extension of Oxygen network for Osman Digna Hospital, each single unit including Specifications and quantities as following: 			 
	Description
	Unit
	Quantity
	Unit Cost In SDG
	Total cost in SDG

	 unit Specifications and quantities

	1- Vexillum Type Bed Head Unit
	pcs
	9
	
	

	2- Oxygen Gas Outlet -TECH61,01
	PCS
	16
	
	

	3- 2Gas Vexillum Zone Service Unit w\Alarm -TECH3102
	pcs
	1
	
	

	4- Medical Copper Pipe 12mm-6mm EN 13348
	Meter
	100
	
	

	5- Medical Copper Pipe Fittings Elbow 12mm
	pcs
	50
	
	

	6- Medical Copper Pipe Fittings Equal tee 12mm
	pcs
	50
	
	

	7- Medical Copper Pipe Fittings Coupler 12mm
	pcs
	75
	
	

	8- Medical Copper Pipe Fittings Reduction 10mm x 12mm
	pcs
	10
	
	

	9- Medical Copper Pipe Fittings Reduction 12mm x 15mm
	pcs
	10
	
	

	10- Medical Copper Pipe Fittings Reduction Equal TEE 15mm
	PCS
	10
	
	

	11- M8 Nut and Washer (NUT@ M8)
	pcs
	75
	
	

	12- Steel Ceiling Anchor (ANCHOR) FASTNER
	pcs
	30
	
	

	13- Clamp Rail 
	Meter
	35
	
	

	14- Adjustable Clamp 8mm-42mm
	pcs
	150
	
	

	15- Copper Pipe Fittings Clamp
	pcs
	100
	
	

	16- Shut- Off Valves For (MEDICAL GAS BALL VALVES)-TEC31,05
	pcs
	6
	
	

	17- Full Automatic Vexillum 02 Manifold Header 2 bank
	NOS
	1
	
	

	18- Oxygen Gas Outlet – TECH 61,01
	NOS
	3
	
	

	19- Medical Copper Pipe Fittings Equal ELBOW  12mm
	PCS
	20
	
	


	
Total 
	



Attention: - selected vender mandatory provide One year a guarantee including maintenance
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