Addition For Disasters assistance and Development

Date: ____________________________                         _____________________________التاريخ:

From ____________________________                       _________________________________من:

Address____________________________                  ______________________________ العنوان:

Tell:  ____________________________                                    _________________________ التلفون

SUBJECT: REQUEST FOR Bid

Bill of Quantities Supply and Installation of extension of Oxygen network for Osman Digna Hospital, each single unit including Specifications and quantities as following:

| Description | Unit | Quantity | Unit Cost In SDG | Total cost in SDG |
| --- | --- | --- | --- | --- |
| unit Specifications and quantities |  |  |  |  |
| - Vexillum Type Bed Head Unit | pcs | 9 |  |  |
| - Oxygen Gas Outlet -TECH61,01 | PCS | 16 |  |  |
| - 2Gas Vexillum Zone Service Unit w\Alarm -TECH3102 | pcs | 1 |  |  |
| - Medical Copper Pipe 12mm-6mm EN 13348 | Meter | 100 |  |  |
| - Medical Copper Pipe Fittings Elbow 12mm | pcs | 50 |  |  |
| - Medical Copper Pipe Fittings Equal tee 12mm | pcs | 50 |  |  |
| - Medical Copper Pipe Fittings Coupler 12mm | pcs | 75 |  |  |
| - Medical Copper Pipe Fittings Reduction 10mm x 12mm | pcs | 10 |  |  |
| - Medical Copper Pipe Fittings Reduction 12mm x 15mm | pcs | 10 |  |  |
| - Medical Copper Pipe Fittings Reduction Equal TEE 15mm | PCS | 10 |  |  |
| - M8 Nut and Washer (NUT@ M8) | pcs | 75 |  |  |
| - Steel Ceiling Anchor (ANCHOR) FASTNER | pcs | 30 |  |  |
| - Clamp Rail | Meter | 35 |  |  |
| - Adjustable Clamp 8mm-42mm | pcs | 150 |  |  |
| - Copper Pipe Fittings Clamp | pcs | 100 |  |  |
| - Shut- Off Valves For (MEDICAL GAS BALL VALVES)-TEC31,05 | pcs | 6 |  |  |
| - Full Automatic Vexillum 02 Manifold Header 2 bank | NOS | 1 |  |  |
| - Oxygen Gas Outlet – TECH 61,01 | NOS | 3 |  |  |
| - Medical Copper Pipe Fittings Equal ELBOW 12mm | PCS | 20 |  |  |

| Total |  |
| --- | --- |

Attention: - selected vender mandatory provide One year a guarantee including maintenance