## BLOCK( E) VIPLatrine- Lot 1
Project Name | Construction of Secondry Health Facility
Clint | Releif International - Sudan
Location | Sudan - ND - Tawila Dabanira D7
Section /Bolck | (E ) VIP Latrine | Bill No ( 5 )
Items | Work Discriptions | Unit | Quantites | Estimated unit price SDG | Estimated Total price SDG
1 | Sup structure work
1.1 | cleaning and remove any existed trees ,garbag , | job | 1
1.2 | Excavating bet for septic tank 2.6*2.6*3.5 m3 as per drawing and supervisor instruction | m3 | 24
1.3 | Excavating trench foundation 500*500 as per drawing and supervisor instruction | ml | 4
1.4 | supply and build tow red brick wall 80 cm high in 1:6 (cement: sand) mortar to strip foundation all as per drawing and supervisor instructions .the price include Equipment and tools. | ml | 4
1.5 | supply and build one and half red brick wall in 1:6 (cement: sand) mortar to the septic tank all as per drawing and supervisor instructions .the price include Equipment and tools. | m2 | 37
1.6 | Supply and filling well selected soil under plain concert floor withe well compaction , all as per specifications & RI supervisor instruction. | m3 | 2
Demolishing , excavation And filing works |  |  |  |  | 0
Plain concert work
1.7. | supply and casting150 mm plain concert using 1:3:6 (cement : sand : gravel ) ratio to septic tank all as per drawing s and construction supervisor instructions. | m2 | 7
1,8 | supply and casting100 mm plain concert using 1:3:6 (cement : sand : gravel ) ratio all as per drawing s and construction supervisor instructions. | m2 | 4
1.9 | Reinforced concert work
3.1 | supply and casting150 mm thickness Reinforced concert using 1:2:4 (cement : sand : gravel ) mix with T12MM @150 mm c/c BW to septic tank cover slab all as per drawing s and construction supervisor instructions. | m2 | 7
0
2 | Super structure work |  |  |  | 0
wall works
2.1 | supply and build one red brick wall in 1:6 (cement: sand) mortar to latrine wall all as per supervisor instructions .the price include lintel &Equipment and tools. | m2 | 28
2.2 | supply & plastering work in 1:6 ( cement : sand) mortar to the internal & external walls of the latrine . the price include Equipment and tools. All as per RI supervisor instructions , | m2 | 56
2.3 | supply and painting the internal &.external wall using pomatice paint after cleaining and preparing surface, applying emulsion , all as per supervisor instructions . The price including equipment and tools . | m2 | 56
Masonary & Brick work total to sumary |  |  |  |  | 0
Steel / iron work (doors,window& shelter )
2.4 | supply, Fabricating ,Installing and fixing iron /steel doors 700*2000 mm size using iron pipes 3*6 cm ,iron sheets , withe all accessories, hinges ,painting, welding, all as per RI supervisor instruction. | No. | 2
2.5 | supply, Fabricating ,Installing and fixing iron window to the latrine in 30*30 cm using steel pipes 3*6 cm and iron mesh penel withe all accessories, hinges ,painting, welding , all as per RI supervisor instruction. | No. | 2
2.6 | supply, Fabricating ,Installing and fixing iron corrugated sheets (zinc) with iron pip 4*8 cm to the roof of the latrine , withe all accessories, ,painting, welding , plots, all as per drawings ,specifications & RI supervisor instruction. | m2 | 5
0
| Water sanitary System |  |  |  | 0
Supply, fix, connect & test the following pipes for cold/hot water supply system of hand washing tank
2.7 | 1” P.P.R pipes connecting from water tanks to external inducts water supply points | ml | 10
2.8 | 3/4” P.P.R pipes connecting internal water systems | ml | 10
2.9 | supply and fixing PVC 4 inches ventilation pipe in 4 meters lengthen | No. | 2
2.1 | supply and fixing stand hand washing with all accessors ,connecting to manhole ,using 2" PVC PIPE ,all per supervisor instructions | No. | 2
2.11 | supply and fixing Manhole cover 60*60cm cast iron with all accessors ,all per supervisor instructions | No. | 1
2.12 | supply and build manhole 40*40 cm using red bricks with 1;6 cement sand motor , plastering , plain concert bunshalte ,40*40 cm cast iron manahol cover. All as per supervisor instructions | No. | 1
213 | supply and fixing eastern set victory type ,includes all accessors . | No. | 2
Valves & tabs
2.13 | supply and connecting controle valves 3/4" : | No. | 3
2.14 | supply and connecting controle taps 1/2 ": | No. | 2
0
Electric works
G3 | Supply, install and test complete 1 Phase 13A switched socket outlets including cables, conductors conduits boxes and all necessary accessories as per drawings and specification. | No. | 2
G4 | Supply, install and test complete spot light lamb LED 30 wat including cables, conductors conduits boxes, switched and all necessary accessories as per drawings and specification. | No. | 4
G6 | supply and Installation exhaust fan 30*30cm , the price including wires , ,regulator. , boxes and all accessories . As per supervisor approvals, | No. | 2
Electric works total to summary |  |  |  |  | 0
SUMMARY OF PRICES
Items | Work Discriptions |  | Total price SDG |  | Toata usd
A | Demolishing , excavation And filing works
B | Masonary & Brick work
C | concret work
E | Metals works;
F | Water & sanitary System
G | Electrics works
Total summary for 1 VIP Latrine (SDG/Sudan)/usd
Total summary for 2 VIP Latrines