## Oxgine new extention BoQ
Human Appeal - Sudan
BOQ for |  | AL- Bluk Specialize hospital (Oxgine new Extention)
Date of BoQ |  | 27/7/2026
HA - Sudan Omdurman, Khartoum State office
# |  | Unit | Quantity | Unit Cost (USD) | Total Cost USD
1 | Medical gas copper pipe (12mm-15mm-22mm) | Set | 1
2 | Medical gas lockable valve (15mm-22mm) | Set | 1
3 | Medical Gas Terminal units (BS) | lumpsum | 69
4 | Central Oxygen Flowmeter (BS) | lumpsum | 40
5 | Control box with alarm (1 gas) | lumpsum | 3
6 | Medical Gas Manifold 2*5 | lumpsum | 1
7 | Installation | job | 1
Tota
Exchange rate