| Name of Tender: Provision of minor rehabilitation works of 5 HFs in West Darfur Tender Number SD-CRS-538747-CW-RFQ Publish date 9th of August 2026 Deadline Submission date: 23rd of August 2026 – 04 :00 PM Please submit your bid to CRS Geneina or through E/mail tenders.sudan@crs.org | اسم العطاء: تنفيذ أعمال إعادة تأهيل طفيفة ل 5 مرافق صحية في ولاية غرب دارفور رقم العطاء SD-CRS-538747-CW-RFQ تاريخ فتح التقديم: 9 اغسطس 2026 تاريخ انتهاء التقديم 23 اغسطس 2026 04:00 العصر الرجاء ارسال عرضكم الي مكتب الاغاثة الكاثلوكية او من خلال البريد الالكتروني tenders.sudan@crs.org |
| --- | --- |

| Dear Sir / Madam, CRS Sudan is looking for companies for Provision of minor rehabilitation works of 5 HFs in West Darfur General Requirements 1. Must Be Registered to conduct the business and in compliance with federal governments tax regulations in Sudan. 2. Past experience with International Organizations, Non-Governmental Organizations, or large private companies will be an added advantage. 4. CRS retains the right to reject, cancel, negotiate, amend, split and accept any offer, without consideration of the lowest offer. 5. This is an invitation to vendors, and it is not a promise or obligation that CRS will contract with suppliers through the submitted offers. 6. Relevant bid committee may request for physical samples of some items during evaluation process of bids. 7. The work plan must be provided by the contractor with the tender package. 9.The banking information should be specific and clear. | سيدي / سيدتي العزيز(ة) هيئة الإغاثة الكاثوليكية برامج السودان تبحث عن شركات من المهتمين تنفيذ أعمال إعادة تأهيل طفيفة ل 5 مرافق صحية في ولاية غرب دارفور متطلبات عامة: 1 . يجب أن يكون مسجلا لإجراء الأعمال التجارية مع ما يتوافق ولوائح الضرائب الحكومية في السودان . 3 . الخبرة في تزويد المنظمات الدولية، المنظمات الغير حكومية، أو الشركات الكبيرة الخاصة ستكون ميزة. 4 . تحتفظ هيئة الاغاثة الكاثوليكية بالحق في رفض، إلغاء، التفاوض، تعديل، تجزئة وقبول أي عرض، دون النظر الى أدنى عرض. . 5. هذه دعوة للموردين وليس وعد أو التزام من هيئة الإغاثة الكاثوليكية للتعاقد مع الموردين من خلال العروض المقدمة 6. قد تقوم لجنة الإحالة المعنية بطلب نماذج عينية لبعض المواد اثناء عملية تقييم العروض. 7. يجب على المقاول تحضير الجدول الزمني لتنفيذ الاعمال على ان يتم تسليم المستند مع اوراق العطاء 9. يجب ان تكون معلومات وتفاصيل رقم الحساب واضحة. |
| --- | --- |

| Payment Terms - Quotation should remain valid for a period of at least sixty (60) days from the submission closing date. - Payment shall be made in SDG via bank cheque or wire transfer within 15 working days from the date of receiving the correct invoice. - Payment shall be made upon verification and acceptance of services/goods according to contract Purchase order. | شروط الدفع :- يجب أن تظل العرض ساريًا لمدة تصل إلى ستين (60) يومًا من تاريخ إغلاق التقديم.1 2. يتم إجراء الدفع بالحنيه السوداني عبر شيك بنكي أو تحويل بنكي خلال خمسة عشر (15) يوم عمل من تاريخ استلام الفاتورة الصحيحة. 3. يتم إجراء الدفع بعد التحقق وقبول الخدمات وفقًا لشروط العقد أو أمر الشراء |
| --- | --- |

| Acceptance of Payment Terms Do you accept the above payment terms? - Yes - No | الموافقة على شروط الدفع: هل توافق على شروط الدفع اعلاه: - اوافق - لا اوافق |
| --- | --- |
| Requested Information The submission must include: - Full legal address and contact details of the company. - Name of company’s official owner and copy of his/her ID & passport (if available) - Copy of company registration certificate - Copy of Tax Registration Certificate. - Reference from previous similar business experience with reference contact information. - Bank account information if available. - The vendor must read, sign & stamp the Attachment (2) related to CRS SUPPLIER CODE OF CONDUCT | يجب تقديم ما يلي: يجب ان يتضمن التقديم ما يلي : - العنوان الكامل الصحيح وعنوان الاتصال للشركة - اسم صاحب الشركة الرسمي مع نسخة من البطاقة القومية او جواز السفر. - صورة عن شهادة تسجيل الشركة - صورة عن شهادة التسجيل الضريبي - المرجع من الخبرة في الاعمال السابقة المماثلة و معلومات الاتصال للمرجع - تفاصيل معلومات الحساب المصرفي اذا امكن. - يجب على المقاول قراءة و توقيع و ختم الملحق(2) و الخاص بالقواعد السلوكية التي تنتهجها هيئة الإغاثة الكاثوليكية. |

| Bid Requirements: - Offers that do not meet the following will be automatically rejected regardless of price: - Offers must be received before the stated deadline. - Offers must include all the information requested above. - Unit prices must be provided for all line items. Offers that only include totals will be rejected. - Bids that include mistakes in calculations within the Bill of Quantities will be excluded from competition. - Bids must be submitted through CRS Zalingei or EL Geneina office to receive bids. - Offers must be clean & clear. The vendor should sign and stamp against any handwritten corrections/amendment to the bid. - Offers must be, signed, dated, and stamped on all pages. - The technical adviser of CRS will carry out quality control of the items and reserve the right to reject items that do not match the above-mentioned specification. - The duration of delivery for all requested items must be clearly specified | معلومات ملء العطاء :- سوف يتم رفض أي عطاء لا يلتزم بالشروط أدناه بغض النظر عن السعر: - سيتم رفض أي طلب يقدم بعد التاريخ والوقت المحدد لقبول العطاءات. - يجب أن تتضمن العروض جميع المعلومات المطلوبة أعلاه. - جميع الاسعار يجب ان تكتب لكل بند أو فقرة على حدة، ويتم رفض العطاءات التي تحتوي على الإجمالي فقط. - سيتم استبعاد العطاء الذي يتضمن خطأ في حسابات جداول الكميات - يجب تقديم العروض في مكتب المنظمة زالنجي او الجنينة - العروض يجب أن تكون نظيفة وواضحة، يجب التوقيع والختم ان وجد في مكان أي تصحيح يدوي أو باستخدام قلم التصحيح الابيض. - يجب أن تكون العروض كاملة من جميع الجوانب، موقعة بتاريخ واضح ومختومة على جميع الصفحات. - سيقوم الجهة الفنية من قبل المنظمة لمطابقة المواصفات ويتم رفض أي دواء غير متطابق للمواصفات أعلاه. - يجب تحديد بشكل واضح فترة تسليم كل الكميات المطلوبة |
| --- | --- |

| Delivery Instructions: - The company biography should not exceed 10 pages. Complete and stamped and signed offer must be delivered in sealed envelope with tender number on it SD-CRS-538747-CW-RFQ Delivery to CRS Geneina or through E/mail tenders.sudan@crs.org | تعليمات التسليم: يجب ان لا تتجاوز السيرة الذاتية للشركة اكثر من 10 صفحات. يجب تقديم العطاء الكامل والمختوم و الموقع مع كافة الوثائق المطلوبة في ظرف مغلق يكتب عليه رقم العطا SD-CRS-538747-CW-RFQ ويسلم الى مقر مكتب الاغاثة الكاثلوكية الجنينة او من خلال البريد الالكتروني tenders.sudan@crs.org |
| --- | --- |

Experience Reference List

قائمة مراجع الاعمال السابقة

|  | Name of Organization أسم المنظمة | Name of Person أسم الشخص | Name of Project أسم المشروع | Project Start Date تاريخ المباشرة بالمشروع | Project duration مدة تنفيذ المشروع | Phone Number رقم الموبايل | Email Address البريد الالكتروني |
| --- | --- | --- | --- | --- | --- | --- | --- |

| Company name: أسم الشركة : |  |
| --- | --- |
| Legal address: العنوان الثابت: |  |
| Telephone Number: رقم الهاتف: |  |
| Email: عنوان البريد الإلكتروني: |  |
| Representative Name اسم الممثل: |  |
| Business Certificate Registration Number: رقم تسجيل شهادة العمل: |  |
| Tax registration Number: رقم التسجيل الضريبي: |  |
| Contract duration: مدة العقد : |  |
| Bank details: - - Bank Name: …………………………………… - Bank account name: ………………………… - Bank number ……………………………… - Branch: ……………………………………… | تفاصيل الحساب:- إسم الينك : ---------------------------------------- اسم الحساب :---------------------------------------- رقم الحساب : ------------------------------------- - الفرع ----------------------------------------------- |
| Do you have partnerships with any other companies (such as shared management / staff / office / bank account)? Do you cooperate with any other companies in preparing offers or providing goods or services? هل لديك شراكات مع أي من الشركات الأخرى ( مثل إدارة / الموظفين / المكتب حساب مشترك / البنك) ؟ هل تتعاون مع أي من الشركات الأخرى في إعداد العروض أو توفير السلع أو الخدمات؟ |  |
| If the answer to the above question is yes, please provide details here including the names of partner companies. إذا كان الجواب عن السؤال السابق نعم ، يرجى تقديم التفاصيل هنا بما في ذلك أسماء الشركات الشريكة |  |
| Other comments: ملاحظات اخرى: |  |
| Experience / references for the related work of experience (Please attached any related contract, purchase order, certificate, etc.) that does not exceed 10 pages. References MUST include contact information. يجب ان يحتوي على عناوين الاتصال من مراجع الخبرة المرجع من الخبرة ( الرجاء ارفاق دليل من الاعمال السابقة ذات الصلة من عقود , اوراق شراء , ورقة اتمام عمل , اخرى ) لا تتجاوز عشرة اوراق. |  |

| Signature التوقيع |  |
| --- | --- |
| Date التاريخ |  |

ATTACHED (1)

Lot#1

Bill Of Quantities for Rehabilitation fence and two rooms with Waiting Area

| West Darfur - Aboghabina health facility |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| N O | Description | Unit | Quantity | Unit Price SDG | Amount SDG |
|  | fence |  |  |  |  |
|  | "Provide material and fabricate a gate for the fence with a total width of 3 meters, consisting of three leaves. The gate shall be constructed from iron box sections as per the engineer's instructions and fixed between brick columns and a rammed base. The entire structure shall be finished with plastering and painting | Pcs | 1 |  |  |
|  | Provide material and fix in position Metal Boundary Fence composed of vertical posts Cylindrical 3 inch diameter, 1mm thickness, and 2.5 m length, Penetrate 50 cm and fix by concrete base 40 cm X 40 cm X 60 cm each 2 m C/C and 45 degree slope support of 2.5 X 2.5 inch angle @ 6 m C/C and corners ,the horizontal elements tension wires 4 rows to fix chain-link mesh 50 mm X 50 mm (Gabyan ) to the Satisfaction of the engineer ,sample to be approved in advance | Meter Length (ML) | 135.0 |  |  |
|  | sub total |  |  |  | - |
|  | Two rooms and attached waiting Area |  |  |  |  |
| 7 | provide material construct and lay plaster (1:8 cement sand mortar) internal and external include (barabied) and crossings of windows and doors | M² | 200.0 |  |  |
| 9 | Provide material and back fill using selected material in side the building up to depth 50 cm above Zero level in 3 layers | M3 | 8.0 |  |  |
| 10 | provide material and casting plain concrete with depth 10 cm use mix 1:3:6 fair face finish | M3 | 39.0 |  |  |
|  | provide and install taile | M² | 39.0 |  |  |
|  | provide material and install skirt | ML | 43.0 |  |  |
| 11 | provide and apply painting in walls, internally and external wall should be smooth surface finish use gypsum/filler or silky and apply plastic emulsion (Bomastic) in 3 coats , | M² | 200.0 |  |  |
| 12 | provide material and fix steel door size 1 mx2.2 m(accomy) with 20 cm opening in upper side covered by fiber using screw | No. | 2.0 |  |  |
| 13 | provide and fix steel window with fine mesh and sixbanda size 1 mx1.2 m(accomy) with 20 cm opening in upper side covered by fiber using screw | No. | 5.0 |  |  |
|  | sub total |  |  |  |  |
|  | Construct new block latrine with three drop holes and water storage |  |  |  |  |
| 1 | Excavate hole for a 2 block communal latrine size 2.6 mX 4. 5 m and 4 m depth. | M3 | 47 |  |  |
| 2 | provide material and construct and build brick wall around hole for lining by using thickness one brick and half(first class burn brick size 11cm x6cm x22 cm) must rise 0.5 m from zero level,use cement /sand mortar | M² | 64 |  |  |
| 3 | provide material and casting plain concrete with depth 10 cm use mix 1:3:6 | M² | 12 |  |  |
| 4 | provide material and cast reinforced concrete (1:2:4) mix for tie beam with section 30 cmx 30 cm use steel bar 12 mm 4T12@150mmc/c As shown in drawing | ML | 14 |  |  |
| 5 | construct and cast reinforce concrete slabs use mix (1:2:4) thickness of 15 cm using 12 mm steel bar with 150 mm spacing (Y12@15 cm c/c) with manholesize 30cm x 30 cm | M² | 12 |  |  |
| 6 | provide material construct and build brick wall for three rooms communal latrine , and Privacy wall by using thickness one brick (first class burn brick size 11cm x6cm x22 cm) ,use cement morter including Barbate. | M² | 35 |  |  |
| 7 | Provide material and cast reinforce concrete lentel Beam use mix (1:2:4) thickness of 10 cm using 10 mm steel bar with strips 150 mm spacing (6mm@15 cm c/c) | ML | 4.5 |  |  |
| 8 | Excavate strip foundation with width 40 cm and depth 45 cm for privacy wall | ML | 13.5 |  |  |
| 9 | provide material and construct cut off wall using thickness one and half brick (first class burned brick size 11cm x6cm x22 cm) with height 30 cm above Zero level, use cement/sand mix 1:9 | ML | 13.5 |  |  |
| 10 | Provide material and back fill using selected material in side the building up to dept 50 cm above Zero level in 3 layers | M³ | 7 |  |  |
| 11 | provide material construct and build brick wall with height 1.8 m by using thickness one brick (first class burn brick size 11cm x6cm x22 cm ,use cement /sand mortar | M² | 24 |  |  |
| 12 | Provide material and install heavy metal doors (180 cm X 0.8cm) framed with hollow steel pipe and it has sky light with hight 20cm at top use mesh (fine and sixbanda) | Pcs | 3 |  |  |
| 13 | provide material fixing squat seats for latrine | Pcs | 3 |  |  |
|  | provide material and install taile | M² | 18.5 |  |  |
|  | provide and install skirt | ML | 28 |  |  |
| 14 | Provide material and fix ventilation PVC pipe 3 inchs (3 meters Apove slab) covered with mesh at top | No. | 2 |  |  |
| 15 | provide material and construct and lay plaster ( 1:8 cement sand mortar) internal and external include (barabied) | M² | 118 |  |  |
| 16 | provide material and fix sky light framed from steel Angle and mesh (fine and sixbanda) size 35 cm x 35 cm | No. | 3 |  |  |
| 17 | provide and apply painting in walls, internally and external wall should be smooth surface finish use gypsum/filler or silky and apply plastic emulsion (Bomastic) in 3 coats , | M² | 118 |  |  |
| 18 | provide material and construct and install iron corrugated sheets (zinc 35) for roof complete with steel rafters (use steel hollow pipes 3cm x 6 cm ) | M² | 8 |  |  |
| 19 | provide material and construct and cast plain concrete with depth 10 cm | M² | 13.5 |  |  |
| 20 | Provide material and install public water basin wash with one taps including all necessary water connection fitting and connected with water tank | No. | 2 |  |  |
| 21 | Provide material and fix ( biba) | No. | 2 |  |  |
| 22 | provide material and build Giltrab size 30x30 cm with reinforced concrete cover | No. | 2 |  |  |
| 23 | Provide material and build mainhole size 50x50 cm with reinforced concrete cover with connected to Giltrab and pit using P V C Pipe 4 inch | No. | 2 |  |  |
| 24 | Excavite pit with section 2 mx2m and depth 3m and back fill with crashed brick include 4 layers of charcool jn 10cm | job | 1 |  |  |
| 25 | provide material and costruct base for water storge 1500 litter using red bricks and sand / cement morter in size 2.5 m x 2.5 m and height 1.5 m and cover at top by reinforced concrate thickness 12 cm and costruct steps leader with hand rails as instructed by engineer | job | 1 |  |  |
| 26 | Provide and install a 1,500-liter horizontal Tiga water storage tank, and extend two tap lines — one to the latrine and one for health facility consumption — with a total pipeline length of 25 m. | job | 1 |  |  |
|  | Sub Total |  |  |  | - |
|  | Constructing new wainting area shelter for OTP benefiecary |  |  |  |  |
| 1 | Excavate strip foundation with width 60 cm and depth 60 cm and back fill with stone up to level 40 cm | Meter Length(ML) | 25.5 |  |  |
| 2 | Excavate strip foundation with width 50 cm and depth 50 cm and back fill with stone up to level 30 cm for attached waiting Area shelter | Meter Length(ML) | 29 |  |  |
| 3 | provide and construct brick wall using thickness two brick (first class burn brick size 11cm x6cm x22 cm) with hight 20 cm above Zero level,use cement/sand mix 1:8 | Meter Length(ML) | 25.5 |  |  |
| 4 | provide and construct brick wall using thickness one and half brick (first class burn brick size 11cm x6cm x22 cm) with hight 30 cm above Zero level,use cement/sand mix 1:8 for attached waiting Area shelter | Meter Length(ML) | 29 |  |  |
| 5 | provide andconstruct and cast reinforced concrete (1:2:4) mix for grade beam with section 30 cmx 30 cm use steel bar 12 mm 5T12@150mmc/c As shown in drawing | Meter Length(ML) | 25.5 |  |  |
| 6 | provide and construct and cast reinforced concrete (1:2:4) mix for lentil beam with section 35 cmx 15 cm use steel bar 12 mm 5T12@150mmc/c As shown in drawing | Meter Length(ML) | 25.5 |  |  |
| 7 | provide and construct and build brick wall including Barbate by using thickness one and half brick (first class burn brick size 11cm x6cm x22 cm) ,use mud morter | Square meter( M²) | 102 |  |  |
| 8 | Provide and costruct brick wall 25 cm thickness with suports each 2 m using cement /sand morter Mix ( 1: 6 ) for waiting Area shelter | Square meter( M²) | 35 |  |  |
| 9 | provide and back filling using selected soil with well compacted in 3 layers for both room and attached waiting Area shelter | Cubic meter (M³) | 26 |  |  |
| 10 | Provide and casting plain concrete with 10 cm thickness with curing using water for 7 days for both room and attached waiting Area shelter | Square meter( M²) | 72 |  |  |
| 11 | provide and fix roof using UK zinc sheet(0.35mm) and Iron pipe 4 cm X 8 cm , 1mm thickness as shown in drawing for both room and attached waiting Area shelter | Square meter( M²) | 80 |  |  |
| 12 | provide and install zinc sheet on upper side of shelter Hanging 100 cm using (American sheets ) | Meter Length(ML) | 29 |  |  |
| 13 | provide and fix Cylindrical iron pipe 3 inch in diameter , 3.5 m length and 1mm thickness for shelter witt painting | Pcs | 14 |  |  |
| 14 | Provide and plastering wall using cement/sand mortar mix 1:8 or both room and attached waiting Area shelter | Square meter( M²) | 274 |  |  |
| 15 | provide and apply painting in walls, internally and external wall should be smooth surface finish use gypsum/filler or silky and apply plastic emulsion (Bomastic) in 3 coats , | Square meter( M²) | 274 |  |  |
| 16 | Provide and fix mesh (sixbenda) wit section 2 m length and 1 m height on shelter side | Pcs | 15 |  |  |
| 17 | Provide and fix Doors with section 2 m X 1 m for shelter | Pcs | 1 |  |  |
| 18 | provide and fix steel door size 1 mx2.2 m(accomy) with 20 cm opening in upper side covered by fiber using screw | Pcs | 2 |  |  |
| 19 | provide and fix steel window with fine mesh and sixbanda size 1 mx1.2 m(accomy) with 20 cm opening in upper side covered by fiber using screw | Pcs | 3 |  |  |
| 20 | provide and fix sky light with fine mesh and sixbanda size 40 cm x 40 cm |  | 2 |  |  |
|  | Sub total |  |  |  |  |

Lot#2

| West Darfur - Karrak health facility |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Bill Of Quantities for Rehabilitation fence and four rooms, latrine and water storge |  |  |  |  |  |
| N O | Description | Unit | Quantity | Unit Price SDG | Amount SDG |
| A | fence |  |  |  |  |
| 1 | "Provide material and fabricate a gate for the fence with a total width of 3 meters, consisting of three leaves. The gate shall be constructed from iron box sections as per the engineer's instructions, and fixed between brick columns and a rammed base. The entire structure shall be finished with plastering and painting | Pcs | 1.0 |  |  |
| 2 | Provide material and fix in position Metal Boundary Fence composed of vertical posts Cylindrical 3 inch diameter 2.5 m length, Penetrate 50 cm and fix by concrete base 40 cm X 40 cm X 60 cm each 2 m C/C and 45 degree slope support of 2.5 X 2.5 inch angle @ 6 m C/C and corners ,the horizontal elements tension wires 4 rows to fix chain-link mesh 50 mm X 50 mm (Gabyan ) to the Satisfaction of the engineer ,sample to be approved in advance | Meter Length (ML) | 135.0 |  |  |
|  | Total sub budget 1 |  |  |  |  |
| 1 | four roms ,water storge and latrine |  |  |  |  |
| 2 | provide and install taile | M² | 82.0 |  |  |
| 3 | provide material and install skirt | ML | 93.0 |  |  |
| 4 | provide and apply painting in walls, internally and external wall should be smooth surface finish use gypsum/filler or silky and apply plastic emulsion (Bomastic) in 3 coats , | M² | 200.0 |  |  |
| 5 | provide material and do minor repairefor and painting for steel door size 1 mx2.2 | No. | 4.0 |  |  |
| 6 | provide and do minor repairefor and painting for steel window with fine mesh and sixbanda size 1 m x 1.2 m | No. | 7.0 |  |  |
| 7 | provide material and do minor repairefor and painting for steel door size 80 cm x 200 cm | No. | 4.0 |  |  |
| 8 | provide material and cast lentil beam for latrine cross section 25 cm x 10 cm | ML | 5.5 |  |  |
| 9 | excavate strip foundation for privacy wall 40 cm x 40 cm | ML | 14.0 |  |  |
| 10 | provide material and construct cut off wall using thickness one and half brick (first class burn brick size 11cm x6cm x22 cm) ,sand cement morter | ML | 14.0 |  |  |
| 11 | provide material construct and build brick wall to rise 60 cm for four rooms communal latrine , and Privacy wall with heightb180 cm by using thickness one brick (first class burn brick size 11cm x6cm x22 cm) ,use cement morter including Barbate. | M² | 39.0 |  |  |
| 12 | provide material and cast plain concrete depth 10 cm for latrine privacy yard using mix 1:3:6 | M² | 12.0 |  |  |
| 13 | provide material and construct and install iron corrugated sheets (zinc 35) for roof complete with steel rafters (use steel hollow pipes 3cm x 6 cm ) | M² | 8.1 |  |  |
| 14 | provide material and install squat seat for latrine | N.o | 4.0 |  |  |
| 15 | Provide material and install public water basin wash with one taps including all necessary water connection fitting and connected with water tank | N.o | 2.0 |  |  |
| 16 | provide material and costruct base for water storge 1500 litter using red bricks and sand / cement morter in size 2.5 m x 2.5 m and height 1.5 m and cover at top by reinforced concrate thickness 12 cm and costruct steps leader with hand rails as instructed by engineer | Job | 1.0 |  |  |
| 17 | provide water storge 1500 liters horizantal ( tiga ) and extend 2 tapsline one to latrine and second for HF use | Job | 1.0 |  |  |
| 18 | Total sub budget 2 |  |  |  |  |
|  | Constructing new waiting area shelter for OTP beneficiary |  |  |  |  |
| 1 | Excavate strip foundation with width 60 cm and depth 60 cm and back fill with stone up to level 40 cm | Meter Length(ML) | 25.5 |  |  |
| 2 | Excavate strip foundation with width 50 cm and depth 50 cm and back fill with stone up to level 30 cm for attached waiting Area shelter | Meter Length(ML) | 29 |  |  |
| 3 | provide and construct brick wall using thickness two brick (first class burn brick size 11cm x6cm x22 cm) with hight 20 cm above Zero level,use cement/sand mix 1:8 | Meter Length(ML) | 25.5 |  |  |
| 4 | provide and construct brick wall using thickness one and half brick (first class burn brick size 11cm x6cm x22 cm) with hight 30 cm above Zero level,use cement/sand mix 1:8 for attached waiting Area shelter | Meter Length(ML) | 29 |  |  |
| 5 | provide andconstruct and cast reinforced concrete (1:2:4) mix for grade beam with section 30 cmx 30 cm use steel bar 12 mm 5T12@150mmc/c As shown in drawing | Meter Length(ML) | 25.5 |  |  |
| 6 | provide and construct and cast reinforced concrete (1:2:4) mix for lentil beam with section 35 cmx 15 cm use steel bar 12 mm 5T12@150mmc/c As shown in drawing | Meter Length(ML) | 25.5 |  |  |
| 7 | provide and construct and build brick wall including Barbate by using thickness one and half brick (first class burn brick size 11cm x6cm x22 cm) ,use mud morter | Square meter( M²) | 102 |  |  |
| 8 | Provide and costruct brick wall 25 cm thickness with suports each 2 m using cement /sand morter Mix ( 1: 6 ) for waiting Area shelter | Square meter( M²) | 35 |  |  |
| 9 | provide and back filling using selected soil with well compacted in 3 layers for both room and attached waiting Area shelter | Cubic meter (M³) | 26 |  |  |
| 10 | Provide and casting plain concrete with 10 cm thickness with curing using water for 7 days for both room and attached waiting Area shelter | Square meter( M²) | 72 |  |  |
| 11 | provide and fix roof using UK zinc sheet(0.35mm) and Iron pipe 4 cm X 8 cm , 1mm thickness as shown in drawing for both room and attached waiting Area shelter | Square meter( M²) | 80 |  |  |
| 12 | provide and install zinc sheet on upper side of shelter Hanging 100 cm using (American sheets ) | Meter Length(ML) | 29 |  |  |
| 13 | provide and fix Cylindrical iron pipe 3 inch in diameter , 3.5 m length and 1mm thickness for shelter witt painting | Pcs | 14 |  |  |
| 14 | Provide and plastering wall using cement/sand mortar mix 1:8 or both room and attached waiting Area shelter | Square meter( M²) | 274 |  |  |
| 15 | provide and apply painting in walls, internally and external wall should be smooth surface finish use gypsum/filler or silky and apply plastic emulsion (Bomastic) in 3 coats , | Square meter( M²) | 274 |  |  |
| 16 | Provide and fix mesh (sixbenda) wit section 2 m length and 1 m height on shelter side | Pcs | 15 |  |  |
| 17 | Provide and fix Doors with section 2 m X 1 m for shelter | Pcs | 1 |  |  |
| 18 | provide and fix steel door size 1 mx2.2 m(accomy) with 20 cm opening in upper side covered by fiber using screw | Pcs | 2 |  |  |
| 19 | provide and fix steel window with fine mesh and sixbanda size 1 mx1.2 m(accomy) with 20 cm opening in upper side covered by fiber using screw | Pcs | 3 |  |  |
| 20 | provide and fix sky light with fine mesh and sixbanda size 40 cm x 40 cm |  | 2 |  |  |
|  | Total sub budget 3 |  |  |  |  |
|  | Total budget 1+2+3 |  |  |  |  |

Lot#3

| West Darfur - Tandality health facility |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Bill Of Quantities for Rehabilitation fence, water store , ten rooms and latrine |  |  |  |  |  |
| N O | Description | Unit | Quantity | Unit Price SDG | Amount SDG |
| 1 | ten roms ,water storge and latrine |  |  |  |  |
| 2 | provide and install taile for RH rooms ,conslutation ,dressing , EPI and latrine | M² | 158.0 |  |  |
| 3 | provide material and install skirt for RH rooms ,conslutation ,dressing , EPI and latrine | ML | 140.0 |  |  |
| 4 | Provide all necessary materials, labor, tools, and equipment to carry out the rehabilitation of major cracks in brick walls across the Delivery Room. Scope of work shall include: Cleaning and preparation of cracked areas. Stitching, filling, and sealing of cracks using appropriate mortar or repair compounds. Repointing and finishing to match existing wall surfaces. Ensuring structural integrity and aesthetic consistency after repair. | Job | 1.0 |  |  |
| 5 | Provide all necessary materials, labor, tools, and equipment to: Close the existing door opening on the north side, dimensions 2.2 m × 1.0 m.Create a new door opening on the west side, dimensions 2.2 m × 1.0 m, between rooms. Reinstall the previously removed door unit in the new opening. | Job | 1.0 |  |  |
| 6 | provide and apply painting in walls, internally and external wall should be smooth surface finish use gypsum/filler or silky and apply plastic emulsion (Bomastic) in 3 coats , | M² | 1,018.0 |  |  |
| 7 | provide material and do minor repairefor and painting for steel door size 1 mx2.2 | No. | 11.0 |  |  |
| 8 | provide and do minor repairefor and painting for steel window with fine mesh and sixbanda size 1 m x 1.2 m | No. | 22.0 |  |  |
| 9 | provide material and do minor repairefor and painting for steel door size 80 cm x 200 cm | No. | 2.0 |  |  |
| 10 | provide material and install squat seat for latrine | N.o | 2.0 |  |  |
| 11 | Provide material and install public water basin wash with one taps including all necessary water connection fitting and connected with water tank | N.o | 1.0 |  |  |
| 12 | provide material and costruct base for water storge 1500 litter using red bricks and sand / cement morter in size 2.5 m x 2.5 m and height 1.5 m and cover at top by reinforced concrate thickness 12 cm and costruct steps leader with hand rails as instructed by engineer | Job | 1.0 |  |  |
| 13 | provide water storge 1500 liters horizantal ( tiga ) and extend 2 tapsline one to latrine and second for HF use | Job | 1.0 |  |  |
|  | Total |  |  |  |  |

Lot#4

| West Darfur - Korgei health facility |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BoQ for renovation in Korgei Healyh Facility |  |  |  |  |  |
| N O | Description of Items | Unit | Quantity | unit price SDG | Amount SDG |
|  | Rehabilitation of Major Cracks in Brick Walls Using Tie Beams |  |  |  |  |
| 1 | provide all necessary materials, labor, tools, and equipment to carry out the rehabilitation of major cracks in brick walls across the following rooms: Nutrition section, Dressing Room, Delivery Room, Waiting Area, and Consultation Room.•note : Ensure proper finishing and curing of all concrete works |  |  |  |  |
| 1.1 | • Install two reinforced concrete tie beams along the crack line in each of the following rooms: • Nutrition Room, Dressing Room, and Delivery Room: Tie beams with dimensions 25 cm x 10 cm x 1 m. • Waiting Area and Consultation Room: Tie beams with dimensions 25 cm x 10 cm x 2.5 m. • Carefully remove the affected portions of the wall and roof to access the cracked areas. • Install steel reinforcement and cast the tie beams using appropriate concrete grade. • Reconstruct the demolished wall and roof sections after tie beam installation. | Job | 1 |  |  |
| 2 | floor |  |  |  |  |
| 2.1 | Removal and Replacement of Damaged Floor Sections with Compacted Sand |  |  |  |  |
|  | Provide material cast plan concrete Mix 1:3:6 and for damaged area at waiting area and some rooms | M² | 25 |  |  |
| 2.2 | provide materials and lay ceramic taile for dressing , consultion ,drug store,EPI and reproductive unit | M² | 133 |  |  |
| 2.3 | provide materials and install skirt (Wazar) | ML | 113 |  |  |
| 3 | Roof |  |  |  |  |
| 3.1 | Provide all necessary materials, labor, tools, and equipment to carry out roof repair and maintenance works for the Reproductive Unit, Dressing Room, Consultation Room, Drug Store, EPI, and OTP sections. Scope of work shall include: Cleaning and preparation of roof surfaces. Use of suitable methods and materials to maintain and repair damaged zinc sheets. Ensuring proper waterproofing to prevent water leakage. All works to be executed as identified and approved by the Engineer. | job | 1 |  |  |
| 4 | painting |  |  |  |  |
| 4.1 | Provide all necessary materials, labor, tools, and equipment to carry out painting works on internal walls of the Reproductive Unit, Dressing Room, Consultation Room, Drug Store, EPI, and OTP sections. Scope of work shall include: Cleaning and preparation of wall surfaces.Application of three coats of emulsion paint (Bomastic). Final color selection to be identified and approved by the Enginee | M² | 730 |  |  |
| 5 | Doors and windows |  |  |  |  |
| 5.1 | Provide all necessary materials, labor, tools, and equipment to supply and install a door leaf with lock, fixed to the existing wall frame (already in place), including: Proper fitting and alignment of the door leaf (size 1.0 m × 2.20 m). Installation of lockset and associated hardware. Surface preparation and painting of the door as per specifications. Final finish and color to be approved by the Engineer. | No. | 8 |  |  |
| 5.2 | Provide all necessary materials, labor, tools, and equipment to supply and install awindow leaf fixed to the existing wall frame (already in place), including: Proper fitting and alignment of the door leaf (size 1.0 m × 1 m). Installation of fiber at upper side of frame. Surface preparation and painting of the window as per specifications. Final finish and color to be approved by the Engineer. | No. | 14 |  |  |
| 6 | water supply |  |  |  |  |
| 6.1 | provide material and costruct base for water storge 1500 litter using red bricks and sand / cement morter in size 2.5 m x 2.5 m and height 1.5 m and cover at top by reinforced concrate thickness 12 cm and costruct steps leader with hand rails as instructed by engineer | Job | 1 |  |  |
| 6.2 | provide water storge 1500 liters horizantal ( tiga ) and extend 2 tapsline one to latrine and second for HF use | Job | 1 |  |  |
| 6 | Total |  |  |  |  |

Lot#5

| West Darfur - Tanjakei health facility |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Bill Of Quantities for Rehabilitation fence , water storge , seven rooms , waiting area and nutrition center |  |  |  |  |  |
| N O | Description | Unit | Quantity | Unit Price SDG | Amount SDG |
| 1 | Eight rooms, waiting area , nutrition center |  |  |  |  |
| 2 | provide material and install taile for nutrition center ,consultation , drug store ,dressing , short stay ,EPI and waiting area | M² | 163.0 |  |  |
| 3 | provide material and install skirt for waiting area ,conslutation ,dressing , EPI | ML | 105.0 |  |  |
| 4 | Provide all necessary materials, labor, tools, and equipment to carry out the rehabilitation of major cracks in brick walls across the, conslutation ,dressing , EPI and drug store and nutrition section Scope of work shall include: Cleaning and preparation of cracked areas. Stitching, filling, and sealing of cracks using appropriate mortar or repair compounds. Repointing and finishing to match existing wall surfaces. Ensuring structural integrity and aesthetic consistency after repair. | Job | 1.0 |  |  |
|  | excavate strip foundation with cross section 30 cm x 30 cm | ML | 4.0 |  |  |
|  | Provide and construct a 1½-brick thick first-class burnt brick wall (brick size 11 cm × 6 cm × 22 cm), plastered with cement–sand mix 1:8, up to 3 m height above zero level inside the nutrition center, to partition a store of 2.4 m × 4.3 m with a door opening of 2.2 m × 1 m, and to close the skylight opening at the upper wall. | M² | 16.0 |  |  |
|  | provide material and steel door ( Ecommay) size 2.2 m x 1 m for smll nutrition store | No. | 1.0 |  |  |
|  | provide material and fix roof using UK zinc sheet(0.35mm) and Iron pipe 4 cm X 8 cm , 1mm thickness at nitrition center | M² | 14.0 |  |  |
|  | Provide and fix mesh (sixbenda) wit section 2 m length and 0.5 m height on nutrition center | No. | 8.0 |  |  |
| 6 | provide and apply painting in walls, internally and external wall should be smooth surface finish use gypsum/filler or silky and apply plastic emulsion (Bomastic) in 3 coats , | M² | 975.0 |  |  |
| 7 | "Provide all necessary materials, labor, and equipment to carry out repair, minor maintenance, and painting works for steel door, size 1.0 m × 2.2 m | No. | 8.0 |  |  |
| 8 | "Provide all necessary materials, labor, and equipment to carry out repair,minor maintenance, and painting works for steel window , size 1.0 m × 2.2 m | No. | 18.0 |  |  |
| 14 | Sub total |  |  |  |  |
|  | Total A + B |  |  |  |  |

ATTACHED (2)

Scope of Work (SoW) for Rehabilitation of Health Center Facilities in El Geneina, Serba, and Kereinek Localities, West Darfur

Catholic Relief Services (CRS) intends to rehabilitate selected health center facilities located in El Geneina, Serba, and Kereinek Localities, West Darfur State, Sudan. The rehabilitation works aim to restore and improve the functionality, safety, and quality of healthcare infrastructure to ensure the delivery of essential health services in accordance with Ministry of Health standards and humanitarian best practices. CRS infrastructure projects typically prioritize safety, functional facilities with reliable water, sanitation, and quality construction.

The contractor shall provide all labor, materials, equipment, tools, transportation, supervision, and technical services necessary to complete the rehabilitation works.

The contractor’s responsibilities:

The specific tasks of the contractor under this scope of work should be implemented under direct supervision and instruction of CRS field staff, and each completed stage of the work should be accepted and approved by CRS field staff, and the contractor should implement and complete any required repair or amendment before starting the next stage, also contractor should be responsible to the following:

1- Materials

- All materials shall be new, unused, and approved quality by Project Engineer

- The materials shall be complied with the technical specifications and applicable Sudanese or internationally recognized standards

- Samples shall be submitted for approval by Project Engineer before procurement where required.

2- Quality Control

The contractor shall:

- Implement a quality control system throughout the rehabilitation period.

- Conduct all required inspections and testing (if need).

- Correct defective work at no additional cost

- Maintain records of inspections and test results.

3- Health, Safety, and Environmental (HSE) Requirements

The contractor shall

- Comply with national occupational health and safety regulations and CRS safety requirements.

- Provide appropriate personal protective equipment (PPE) to all workers

- Maintain first did facilities on site.

- Prevent environmental pollution.

- Control dust, noise, and rehabilitation waste.

- Protect patients, health workers, and visitors during rehabilitation activities.

4- Environmental and Social Safeguards

The contractor shall:

- Minimize disruption to health services.

- Ensure safe access for patients and staff.

- Prevent child labor and forced labor.

- Prevent gender-based violence, sexual exploitation, abuse, and harassment (GBV/SEAH).

- Respect local communities and cultural practices.

- Adhere to CRS safeguarding and code of conduct requirement.

5- Schedule

- Commence works immediately upon receipt of the notice proceed.

- Complete all work within the period specified in the contract.

- Submit a detailed work program showing activity sequencing, milestones and completion dates.

6- Inspection and Supervision

The works shall be supervised by CRS and/or designated Engineer. The contractor shall:

- Provide unrestricted access to the site.

- Cooperate during inspections.

- Rectify defects identified during inspections within the specified timeframe.

7- Testing and Commissioning

The contractor shall perform all required testing and commissioning of electrical,

plumbing, and other building systems before handing over.

8- Handover

Upon completion, the contractor shall:

- Thoroughly clean the site

- Remove temporary work and unused materials

- Submit as-built drawings where applicable.

- Provide warranties and operation manual for installed equipment.

- Remedy all defects identified during the Defect Liability period.

9- Deliverables

The contractor shall submit:

- Work program and implementation schedule.

- Materials submittals and approvals.

- Quality assurance documentation.

- Weekly or biweekly progress reports.

- Inspection and testing records.

- Completion report.

- As-built drawings (where applicable).

- Defect liability commitments.

10- Applicable Documents

The work shall be executed in accordance with:

- Approval architectural, structural, electrical, and plumbing drawings.

- Technical Specifications.

- Bill of Quantities (BoQ).

- Contract Conditions.

- CRS construction standards and safeguarding requirements.

- Applicable Sudanese Building codes and Ministry of Health requirements.

| Bidder’s (Company) Name: ________________ Authorized Person Full Name: _____________ Title (Position): _________________________ Signature and Company Official Stamp: _____ Date: ____________________ | اسم مقدم العرض (الشركة)___________________ الاسم الكامل للشخص المفوض: _________________ اللقب (المنصب): ___________________________ التوقيع وختم الشركة الرسمي: _______________ التاريخ:___________________________ |
| --- | --- |