## Waiting shelter
Project Name | Latrine rehabilitation and construction
Clint | Releif International - Sudan
Location | Sudan - ND - Tawila - Tawila Alomda HF
Section /Bolck | Wating shelter 6*4 | Bill No (4 )
Items | Work Discriptions | Unit | Quantites | Estimated unit price SDG | Estimated Total price SDG
A | Demolishing and excavation works
A2 | Excavate trunsh for strip foundation 500 *500 mm as per drawings &engineer instructions, including removal of excavated matterials to approval location by local authorities | m3 | 5 |  | 0
A3 | supply and fiiling well sellcted soil under plain concet , typ fo matrials must be approved by supervisor | m3 | 6 |  | 0
Total carried to summary |  |  |  |  | 0
B | Masonary & Brick work
B2 | provid and construct 2 red brick walls 750 mm high using first class of ordinary red brick in 1:6 cement &sand mortar mix as specified properly and the supervisor instructions | ml | 20 |  | 0
B3 | provid and construct one red brick walls using first class of ordinary red brick in 1:6 cement &sand mortar mix as specified properly to wall of rooms and parabet wall , with curing al as per drawing and RI suoervisor instruction and approvals , | m2 | 20 |  | 0
Total carried to summary |  |  |  |  | 0
C | concret work
C1 | provide and cast plain concert great C15 minimum cement contain 220kg 100 mm thickness with 1:3:6 cement , sand and gravel for flooring with fine finishing as per drawing and supervisor instruction . | M3 | 2.5 |  | 0
Total carried to summary |  |  |  |  | 0
D | FINSHING WORKS
D1 | supply & plastering work in 1:6 ( cement : sand) mortar to the internal & external walls of the rooms . the price include Equipment and tools. All as per RI supervisor instructions , | m2 | 40 |  | 0
D2 | providing and apply painting to internal walls of the rooms using first class of pomastic( almohandis or equivalent) the price incloud tools and equipment and surface cleanning and prepartion all as per supervisor instructions , | m2 | 40 |  | 0
Total carried to summary |  |  |  |  | 0
E | Metals works;
E1 | providing and installation iron pipes 75mm and 1mm thickness and 6 meters length for collumns of the shelter | No | 8 |  | 0
| providing and installation iron pipes 30*60 *1mm and 1mm thickness and 6 meters length to the horizontal post of the shelter | No | 6 |  | 0
E2 | providing and installation corrgated sheet zinc 0 .35mm tickness to the roof and side elevation of waiting shelter , the price including all accessories heat isolation sheet (polystrain 3cm thickness ) ,iron pipes 4*8cm At 1200 mm c/c bw , bolts . all as per RI supervisor approval | m2 | 44 |  | 0
Total carried to summary |  |  |  |  | 0
SUMMARY OF PRICES
Items | Work Discriptions |  | Total price SDG |  | Toata usd
A | Demolishing , excavation And filing works |  | 0 |  | 0
B | Masonary & Brick work |  | 0 |  | 0
C | concret work |  | 0 |  | 0
D | Finshing works , Plastering & painting,ceramic , |  | 0 |  | 0
E | Metals works; |  | 0 |  | 0
Total summary (SDG/Sudan)/usd |  |  | 0 |  | 0

## Incinerator
Project Name | Latrine rehabilitation and construction
Clint | Relief International - Sudan
Location | Sudan - ND - Tawila - Tawila Alomda HF
Section /Bolck | (B) Medical waste Incinerator | Bill No ( 1 )
Items | Work Descriptions | Unit | Quantities | Estimated unit price SDG | Estimated Total price SDG
A | Sup structure work
A1 | Excavation Ash pit 120 cm Diameter and 2 meters depth to drop two iron barrels 200 ltier capacity , all as per supervisor approval ,the price includes removing all excavated soil to the public area | job | 1 |  | 0
Sup structure work Total cost to summary |  |  |  |  | 0
B | wall works
B1 | supply and build one red brick wall in 40 cm high using 1:6 (cement: sand) mortar around the incinerator top barrel the rate includes 3 cm plastering work all as per supervisor instructions .the price include lintel &Equipment and tools. | m2 | 5 |  | 0
Total Cost of wall works to Summary |  |  |  |  | 0
c | Metallic and Steel/ Iron works
C1 | Supply and fabricating Medical incinerator using 3 iron barrils200 liters capacity welded to gather with smoker using iron sheet tope 25cm diameters and 6m meters high with fixing properly , window size 40*40 cm with peck hand and hinges , the first barrel includes steel mesh welded properly , the rate includes drooping 2iron barrels to the ash pit . | No. | 3 |  | 0
C2 | Supply and fabricating 200 cm high , 10 meters length safety Metallic fence to the medical Incinerator using iron pipe 4*8 cm for vertical post every 130 cm fixed with concert, the anchor length not less than 30 cm and 1.5 inch iron angle for Horizontal post every 100 cm , using iron mesh 100*200* (expanded panels ) the price includes painting and 90*200 cm Metallic door ( using 3*6 cm iron pipes and iron mesh) properly withe all accessories . | ml | 20 |  | 0
C3 | Supply and fabricating sign post 120 cm *100 cm iClouds Relief International and Donor Logo ,All as per supervisor approval | No. | 1 |  | 0
cost of Metallic works to summary (SDG) |  |  |  |  | 0
Incinerator Total cost summary (SDG) |  |  |  |  | 0

## Water Bladder
Project Name | Latrine rehabilitation and construction
Clint | Releif International - Sudan
Location | Sudan - ND - Tawila - Tawila Alomda HF
Section ( c) | Water tanks and Tap stand | Bill No (3 )
Items | Work Discriptions | Unit | Quantites | Estimated unit price SDG | Estimated Total price SDG
A
A1 | Sup structure work
A2 | Excavating trench foundation 300*300 to the platform wall as per drawing and supervisor instruction | m3 | 1 |  | 0
A3 | Supply and filling well selected soil under plain concert to plat form withe well compaction , all as per specifications & RI supervisor instruction. | m3 | 7 |  | 0
A4 | Plain concert work |  |  |  | 0
A5 | supply and casting100 mm thickness M15 plain concert using 1:3:6 (cement : sand : gravel ) ratio , the cement contain not less than225kg to the platform and Tap stand all as per drawing s and construction supervisor instructions. | m2 | 10 |  | 0
A6 | Super structure work |  |  |  | 0
A7 | wall works |  |  |  | 0
A8 | supply and build one and half red brick wall in 1:6 (cement: sand) mortar to the platform and steps all as per drawing and supervisor instructions .the price include Equipment and tools. | m2 | 11 |  | 0
A9 | supply & plastering work in 1:6 ( cement : sand) mortar to platform and walls & . the price include Equipment and tools. All as per RI supervisor instructions , | m2 | 11 |  | 0
Page (1) total to summary |  |  |  |  | 0
B | Water& sanitary System
| Supply, fix, connect & test the following pipes for cold/hot water supply system to connecting water tank to tap stand properly with all accessories and fittings all as per drawings & super visor approval and instruction. |  |  |  | 0
B1 | supply and joining .connecting 2000 liter capacity water Bladder .the price includes all accessories & fittings all as per drawing and supervisor approval . | No. | 1 |  | 0
B2 | supply and connecting Tap stand using 2 inch G I pipes to connecting from water tank . The price includes all accessories for joining and connecting .all as per supervisor approval and instruction | ml | 6 |  | 0
B3 | supply and connecting 4 inch P.v,c drain pipe connecting to drain pit . The price includes all accessories for joining and connecting .all as per supervisor approval and instruction | ml | 6 |  | 0
B4 | supply and build drain bit 60*60 cm and 70 cm depthe using one red bricks with 1;6 cement sand mortar , plastering , plain concert ,60*60 cm cast iron manahol cover. The price includes excavations .All as per supervisor instructions | No. | 1 |  | 0
| Valves & taps |  |  |  | 0
B5 | supply and connecting controle 1 inche valves. | No. | 2 |  | 0
B6 | supply and connecting PVC controle taps | No. | 6 |  | 0
Page (2) total to summary |  |  |  |  | 0
The Total Amount ( Page 1+Page2) |  |  |  |  | 0

## Latrine Rehab
Project Name | Latrine rehabilitation and construction
Clint | Releif International - Sudan
Location | Sudan - ND - Tawila - Tawila Alomda HF
Section D | Emergency latrine rehabilitation | Bill No (4 )
Items | Work Discriptions | Unit | Quantites | Estimated unit price SDG | Estimated Total price SDG
(A) Materials
A1 | corregated sheet zinck 16fit for latrine parttion and shad cap 1.2*1.2 and 2.4 meter high | pcs | 7 |  | 0
A2 | Iron angle 1.5* 1,5 inch virtical and horizanta post of the partition | pcs | 6 |  | 0
A3 | Graveles for construction | M3 | 4 |  | 0
A4 | sand for construction | M4 | 3 |  | 0
A5 | cement for construction 50kg/bag | Bag | 7 |  | 0
A6 | Red bricks /( thousand/1000 ) | thousan | 3 |  | 0
A7 | 12mm reinforcment bar | PCs | 3 |  | 0
Total cost of Materials to summary |  |  |  |  | 0
( B) Labor works
B2 | labor work includes bit excavation 1.4 diameter and 3 meters depthe , brick works to the pit and casting and placing 1.5*1.5 concrete slap, .and corrgated sheet partition to the latrine and cap roof all as per supervisor instruction and approvals | job | 2 |  | 0
Labor cost total to summary | Total estimation cost of single latrine SDG |  |  |  | 0
Total cost summary |  |  |  |  | 0