## Handwashing station
Project Name
Clint | Releif International - Sudan
Location | Sudan - ND - Mellit Alabassi HF
Section /Bolck | Handwashing station | Bill No ( 1 )
Items | Work Discriptions | Unit | Quantites | Estimated unit price SDG | Estimated Total price SDG
A1 | Providing and installation hanwashing station using 80 liter plastic parrel with lide with pvc tap mounted on three legs iron tower in 80cm high with circe with all accessories and fittings l, all as per supervisor instruction and approval | NO | 1 |  | 0
Total carried to summary |  |  |  |  | 0

## Incinerator
Project Name | Minor rehabilitation, including solarization of health facilities and nutrition centers
Clint | Releif International - Sudan
Location | Sudan - ND - Mellit Alabassi HF
Section /Bolck | (B) Medical wast Incinrator | Bill No ( 2 )
Items | Work Discriptions | Unit | Quantites | Estimated unit price SDG | Estimated Total price SDG
A | Sup structure work
A1 | Excavation Ashpit 90 cm Diameter and 2 meters depth to drup two iron barrils 200 liter capacity , all as per supervisor approval ,the price includs removing all excavtated soil to the public area | job | 3 |  | 0
Sup structure work Tota cost to summary |  |  |  |  | 0
B | wall works
B1 | supply and build one red brick wall in 40 cm high using 1:6 (cement: sand) mortar around the incenrator top barril the rate includs 3 cm plastaring work all as per supervisor instructions .the price include lintel &Equipment and tools. | m2 | 6 |  | 0
Total Costof wall works to Summary |  |  |  |  | 0
c | Metalic and Steel/ Iron works
C1 | Supply and fabricating Medical incinerator using 3 iron barrils200 liters capacity welded to gather with smoker using iron sheet tope 25cm diameters and 6m meters high with fixing properly , window size 40*40 cm with peck hand and hinges , the first barrel includes steel mesh welded properly , the rate includes drooping 2iron barrels to the ash pit . | No. | 3 |  | 0
C2 | Supply and fabricating 200 cm high , 16 meters length safety Metallic fence to the medical Incinerator using iron pipe 4*8 cm for vertical post every 130 cm fixed with concert, the anchor length not less than 30 cm and 1.5 inch iron angle for Horizontal post every 100 cm , using iron mesh 100*200* (expanded panels ) the price includes painting and 90*200 cm Metalic door ( using 3*6 cm iron pipes and iron mesh) properly withe all accessories . | ml | 20 |  | 0
C3 | Supply and fabricating sign post 120 cm *100 cm iClouds Relief International and Donor Logo ,All as per supervisor approval | No. | 1 |  | 0
cost of Metallic works to summary (SDG) |  |  |  |  | 0
Incinerator Total cost summary (SDG) |  |  |  |  | 0

## Water Bladder
Project Name | Health facility water system operationalization and maintenance
Clint | Releif International - Sudan
Location | Sudan - ND - Mellit Alabassi HF
Section ( B) | Water Bladder | Bill No (4 )
Items | Work Discriptions | Unit | Quantites | Estimated unit price SDG | Estimated Total price SDG
A
A4 | Plain concert work |  |  |  | 0
A5 | supply and casting100 mm thickness M15 plain concert using 1:3:6 (cement : sand : gravel ) ratio , the cement contain not less than225kg to the platform and Tap stand all as per drawing s and construction supervisor instructions. | m2 | 5 |  | 0
A6 | Super structure work |  |  |  | 0
A9 | providing and build platform to bladder in dimmintion 250 *300*100 m using plastic bag 60*100 cm filling with soil commpacted properlly all as per ri supervisor approvals | job | 1 |  | 0
Page (1) total to summary |  |  |  |  | 0
B | Water& sanitary System
| Supply, fix, connect & test the following pipes for cold/hot water supply system to connecting water tank to tap stand properly with all accessories and fittings all as per drawings & super visor approval and instruction. |  |  |  | 0
B1 | supply and joining .connecting 2000 liter capacity plastic water tank .the price includes all accessories & fittings all as per drawing and supervisor approval . | No. | 1 |  | 0
B2 | supply and connecting Tap stand using 2 inch G I pipes to connecting from water tank . The price includes all accessories for joining and connecting .all as per supervisor approval and instruction | ml | 6 |  | 0
B3 | supply and connecting 4 inch P.v,c drain pipe connecting to drain pit . The price includes all accessories for joining and connecting .all as per supervisor approval and instruction | ml | 6 |  | 0
B5 | supply and connecting controle 1 inche valves. | No. | 2 |  | 0
B6 | supply and connecting PVC controle taps | No. | 6 |  | 0
Page (2) total to summary |  |  |  |  | 0
The Total Amount ( Page 1+Page2) |  |  |  |  | 0

## Latrine Rehab
Project Name | Latrine rehabilitation and construction
Clint | Releif International - Sudan
Location | Sudan - ND - Mellit Alabassi HF
Section /Bolck | (D) Latrines rehabilitation | Bill No (4)
Items | Work Discriptions | Unit | Quantites | Estimated unit price SDG | Estimated Total price SDG
Masonary & Brick work
wall works
| supply and plastering internal and external waal of the latrine using 1;6 cement sand mortar properarly after shasling surface , all as per RI supervisor instruction | m2 | 36 |  | 0
2.3 | supply and painting the internal &.external wall using pomatice paint after cleaining and preparing surface, applying emulsion , all as per supervisor instructions . The price including equipment and tools . | m2 | 36 |  | 0
Masonary & Brick work total to sumary |  |  |  |  | 0
Steel / iron work (doors,window& shelter )
2.4 | supply, Fabricating Maintance and fixing iron /steel doors 700*2000 mm size using iron sheets , withe all accessories, hinges ,painting, welding, all as per RI supervisor instruction. | No. | 4 |  | 0
2.5 | supply, Fabricating Maintnance and fixing iron window to the latrine in 30*30 cm using steel pipes 3*6 cm and iron mesh penel withe all accessories, hinges ,painting, welding , all as per RI supervisor instruction. | No. | 4 |  | 0
2.6 | supply, Fabricating ,Installing and fixing iron corrugated sheets (zinc) with iron pip 4*8 cm to the roof of the latrine , withe all accessories, ,painting, welding , plots, all as per drawings ,specifications & RI supervisor instruction. | m2 | 5 |  | 0
Toatal cost Steel / iron work (doors,window& shelter ) |  |  |  |  | 0
| Water sanitary System |  |  |  | 0
Supply, fix, connect & test the following pipes for cold/hot water supply system of hand washing tank
2.7 | 1” P.P.R pipes connecting from water tanks to external inducts water supply points | ml | 10 |  | 0
2.8 | 3/4” P.P.R pipes connecting internal water systems | ml | 10 |  | 0
213 | supply and fixing eastern set victory type ,includes all accessors . | No. | 4 |  | 0
| Valves & tabs |  |  |  | 0
2.13 | supply and connecting controle valves 3/4" : | No. | 3 |  | 0
2.14 | supply and connecting controle taps 1/2 ": | No. | 2 |  | 0
0
Electric works
G4 | Supply, install and test complete spot light lamb LED 30 wat including cables, conductors conduits boxes, switched and all necessary accessories as per drawings and specification. | No. | 4 |  | 0
Electric works total to summary |  |  |  |  | 0
SUMMARY OF PRICES
Items | Work Discriptions |  | Total price SDG |  | Toata usd
A | Demolishing , excavation And filing works |  | 0 |  | 0
B | Masonary & Brick work |  | 0 |  | 0
E | Metals works; |  | 0 |  | 0
F | Water & sanitary System |  | 0 |  | 0
G | Electrics works |  | 0 |  | 0
Total summary (SDG/Sudan)/usd |  |  | 0 |  | 0