## Handwashing station
Project Name
Clint | Releif International - Sudan
Location | Sudan - ND - Mellit Alnamozagi HF
Section /Bolck | Handwashing station | Bill No ( 1 )
Items | Work Discriptions | Unit | Quantites | Estimated unit price SDG | Estimated Total price SDG
A1 | providing and installation hanwashing station using 80 liter plastic parrel with lide with pvc tap mounted on three legs iron tower in 80cm high with circe with all accessories and fittings l, all as per supervisor instruction and approval | NO | 1 |  | 0
Total carried to summary |  |  |  |  | 0

## Water Bladder
Project Name | Health facility water system operationalization and maintenance
Clint | Releif International - Sudan
Location | Sudan - ND - Mellit Alnamozagi HF
Section ( B) | Water Bladder | Bill No (4 )
Items | Work Discriptions | Unit | Quantites | Estimated unit price SDG | Estimated Total price SDG
A
A4 | Plain concert work |  |  |  | 0
A5 | supply and casting100 mm thickness M15 plain concert using 1:3:6 (cement : sand : gravel ) ratio , the cement contain not less than225kg to the platform and Tap stand all as per drawing s and construction supervisor instructions. | m2 | 5 |  | 0
A7 | Platform work |  |  |  | 0
A8 | providing and build platform to bladder in dimmintion 250 *300*100 m using plastic bag 60*100 cm filling with soil commpacted properlly all as per ri supervisor approvals | job | 1 |  | 0
platform and conceret works |  |  |  |  | 0
B | Water& sanitary System
| Supply, fix, connect & test the following pipes for cold/hot water supply system to connecting water tank to tap stand properly with all accessories and fittings all as per drawings & super visor approval and instruction. |  |  |  | 0
B1 | supply and joining .connecting 2000 liter capacity plastic water tank .the price includes all accessories & fittings all as per drawing and supervisor approval . | No. | 1 |  | 0
B2 | supply and connecting Tap stand using 2 inch G I pipes to connecting from water tank . The price includes all accessories for joining and connecting .all as per supervisor approval and instruction | ml | 6 |  | 0
B3 | supply and connecting 4 inch P.v,c drain pipe connecting to drain pit . The price includes all accessories for joining and connecting .all as per supervisor approval and instruction | ml | 6 |  | 0
| Valves & taps |  |  |  | 0
B5 | supply and connecting controle 1 inche valves. | No. | 2 |  | 0
B6 | supply and connecting PVC controle taps | No. | 6 |  | 0
water & sanitary cost total to summary |  |  |  |  | 0
The Total Amount ( Page 1+Page2) |  |  |  |  | 0

## Latrine Rehab
Project Name | Latrine rehabilitation
Clint | Releif International - Sudan
Location | Sudan - ND - Mellit Alnamozagi HF
Section /Bolck | (E ) Latrines rehabilitation | Bill No (3 )
Items | Work Discriptions | Unit | Quantites | Estimated unit price SDG | Estimated Total price SDG
wall works
2.1 | supply and build one red brick wall in 1:6 (cement: sand) mortar to latrine wall all as per supervisor instructions .the price include lintel &Equipment and tools. | m2 | 6 |  | 0
2.2 | supply & plastering work in 1:6 ( cement : sand) mortar to the internal & external walls of the latrine . the price include Equipment and tools. All as per RI supervisor instructions , | m2 | 24 |  | 0
2.3 | supply and painting the internal &.external wall using pomatice paint after cleaining and preparing surface, applying emulsion , all as per supervisor instructions . The price including equipment and tools . | m2 | 24 |  | 0
Masonary & Brick work total to sumary |  |  |  |  | 0
Steel / iron work (doors,window& shelter )
2.4 | supply, Fabricating maintanance and fixing iron /steel doors 700*2000 mm size using iron sheets , withe all accessories, hinges ,painting, welding, all as per RI supervisor instruction. | No. | 4 |  | 0
Toatal cost Steel / iron work (doors,window& shelter ) |  |  |  |  | 0
| Water sanitary System |  |  |  | 0
Supply, fix, connect & test the following pipes for cold/hot water supply system of hand washing tank
2.7 | 1” P.P.R pipes connecting from water tanks to external inducts water supply points | ml | 10 |  | 0
2.8 | 3/4” P.P.R pipes connecting internal water systems | ml | 10 |  | 0
213 | supply and fixing eastern set victory type ,includes all accessors . | No. | 4 |  | 0
| Valves & tabs |  |  |  | 0
2.13 | supply and connecting controle valves 3/4" : | No. | 3 |  | 0
2.14 | supply and connecting controle taps 1/2 ": | No. | 2 |  | 0
0
Electric works
G4 | Supply, install and test complete spot light lamb LED 30 wat including cables, conductors conduits boxes, switched and all necessary accessories as per drawings and specification. | No. | 4 |  | 0
Electric works total to summary |  |  |  |  | 0
SUMMARY OF PRICES
Items | Work Discriptions |  | Total price SDG |  | Total usd
A | Demolishing , excavation And filing works |  | 0 |  | 0
B | Masonary & Brick work |  | 0 |  | 0
E | Metals works; |  | 0 |  | 0
F | Water & sanitary System |  | 0 |  | 0
G | Electrics works |  | 0 |  | 0
Total summary (SDG/Sudan)/usd |  |  | 0 |  | 0