## BOQ
UNHCR - SUDAN COUNTRY OFFICE
Annex A - RFP/HCR/ROK/2021/024 - Bill of Quantity (BoQ)
| PROJECT: REHABILITATION / MODIFICATIONS OF COR GH TO OFFICE |  |  |  | Annex A
LOCATION: EL EMTIDAD - KHARTOUM SOUTH, KHARTOUM STATE
The specified job are all provisional, including provision of materials and workmanship, providing water and electricity for the implementation and all other requirements to implement the job perfectly. The bidder must visit the site prior to submission of bid documents. The cost of this item should be included /imbedded in the other items.
No. | DESCRIPTION | UNIT | QTY | UNIT PRICE (USD) | TOTAL PRICE (USD)
1 | MOBILIZATION
1. 1 | Mobilization of labor, mobile workshop to be used for fixing maintaining and repairing of any kind of work such as steel, carpentry ...etc. | Job | 1
2 | SITE CLEARANCE
The contractor shall exercise due care to avoid damages to existing structure and facilities
2. 1 | Dissemble of fittings where works required, and re-fix fittings after works complete | Job | 1
2. 2 | Clearing the site after completing the whole Job and before handover. | Job | 1
3 | REMODELING WORKS: BEDROOMS / TOILETS / KITCHENS (GRD & 1ST FLR)
BED ROOMS to OFFICES
3. 1 | Build new brick walls to close openings /create zones / offices ( as shows with attached drawings) build with red bricks thick of 20cm, with C/S 1:5 mortar, rate includes all materials, labor and all related works | M² | 15
3. 2 | Supply materials and Plaster new walls/Partitions, includes sills, door sills and corners, smooth plaster with C/S (1:6), rate includes materials, labor and all related works | M² | 15
3. 3 | Disassemble of selected doors, Rectifying old openings and plaster/smooth sill, re-fix door at new positions (as in attached design) rate to includes materials, change of power lines affected, labor and all related works, contractor shall exercise due care to avoid damages to doors / power lines / switches | LS | 9
3. 4 | Rectify internal wall plaster defects, fill cracks, openings, same plaster mix, rate includes materials and all related works | LS | 1
3. 5 | Supply and Apply quick drying prime (Suitable for interior walls) two coats to make the surface of walls adhesive to receive new paint. | LS | 1
3. 6 | Supply and Apply paint (suitable for interior walls) 2 layers of paint (white/or selected color) for all internal rooms walls/ceilings (All floors) rate includes all materials and related works | M² | 600
TOILETS
3. 7 | Supply materials, prepare/lay internal water network for new toilets, using PPR pipes ½'' high quality Cold/Hot, and drainage/sewage pipes using PVC pipes 2&4'', rate includes all related work | LS | 5
3. 8 | Supply materials, prepare internal power network, using high quality wires for new toilets, points: water heater, mirror,exaust fan, light, switches, rate includes all related materials and works | LS | 5
3. 9 | Supply materials and apply damp insulation cement for walls and floors (using damp proof approved materials) rate includes all related materials and works | M² | 30
3. 10 | Supply and install new wall tiles 20X50cm/or approved size, with C/S mortar 1:6 to toilets height of wall, rate includes preparation of wall/removing old tiles and all related works | M² | 135
3. 11 | Supply and install floor tiles 20X20, design to match wall tiles, with C/S mortar 1:8, for toilets, rate includes preparation all related works | M² | 21
3. 12 | Supply and install high quality hand wash basin, flat back white glazed vitreous china wash basin with stand, includes center tap ,with C.I. enamel painted brackets, as directed by the engineer. | LS | 5
3. 13 | Supply and install high quality English seat, with C.I. enamel painted brackets, with water hose, as directed by the engineer, rate includes all connections | LS | 5
3. 14 | Supply, fix wall mirror in toilets of approved type | No. | 4
KITCHENS
3. 15 | supply materials, prepare/lay internal water network for new kitchens, using PPR pipes ½'' high quality Cold/Hot, and drainage/sewage pipes using PVC pipes 2'' , rate includes all related work | LS | 1
3. 16 | wiring of structre with internal power network, using high quality wires, for points: water heater, mirror,exaust fan, light, switches, price includes the cost of wires, ducts, power points, switches, labor and connection to main distribution board | LS | 1
3. 17 | supply and install new wall tiles 20X50cm/or approved size, with C/S mortar 1:6 to kitchen walls, rate include all related works | M² | 48
3. 18 | Supply and install floor tiles 20X20, design to match wall tiles, with C/S mortar 1:8, for toilets, rate includes preparation all related works | M² | 12
3. 19 | Supply and installation of High quality MDF kitchen cabinets (Upper cabints+Base cabinets type) standard dimensions, selected color (includes all hardware & accessories needed), rate include pre-cast marble counter top (white) with pre cast double sink and tap with water connections. contract must submit the product description/sample/design prior to supply (Preferred Turkish Made) | ML | 4
4 | FLOORS WORK
4. 1 | Remove existing damaged /old tiles of selected area, and prepare floors for new tiles work. | LS | 1
4. 2 | Supply and installation of new floor ceramic tiles 40X40 cm or approved size, white/or selected color clear design of high quality, with C/S mortar 1:6 mix, rate include preparation of floors and all related works. | M² | 270
4. 3 | Ditto but for skirting | M² | 52
5 | DOORS & WINDOWS
5. 1 | Supply and fix 100X220 cm size solid internal door, import made, price to include frame and door, fixing with hinges, locking system etc. Contract should submit the product description/sample prior to purchase | No. | 9
5. 2 | Supply and fix Aluminum windows, using High quality aluminum profile, price to include frame, installation, fixing with hinges, locking system, mosquito net, etc. Contract should submit the product description/sample prior to purchase | M² | 20
6 | ELECTRICAL SUPPLY & EQUIPMENT'S
6. 1 | wiring of new structures with internal pipes for electrical fittings, power points 13A, ceiling/wall lights, ceiling fans wires and light switches using 2.5mm wire approved quality, includes the cost of wires, ducts, power points, switches, labor and connection to main distribution board | LS | 1
6. 2 | wiring of new structures with internal pipes, for A/C units, wiring with 4mm wires of approved high quality and power point for AC connect , price includes the cost of wires, pipes, switches , labor and connection to main distribution board. | LS | 1
6. 3 | supply and installation of 13A socket of approved quality, wall type, rate to includes wires and labor | No. | 20
6. 4 | supply and installation of 60A socket of approved quality, AC type, rate to includes wires and labor | No. | 9
6. 5 | supply and installation of led lamp, 4 feet of approved quality (preferred Philips) ceiling type, rate to includes wires, switches and labor | No. | 22
6. 6 | supply and installation of ceiling fan (preferred brand KDK or ORIENT) rate includes wires, switches and related works | No. | 5
6. 7 | supply and installation of exhaust fan 40 cm for kitchen (preferred brand KDK or ORIENT) rate to include all related works | No. | 1
6. 8 | supply and installation of exhaust fan 30 cm (preferred brand KDK or ORIENT) rate to include all related works | No. | 5
6. 9 | Supply and installation of smoke detectors ceiling type (preferred battery powered) | No. | 6
6. 10 | Supply, fix and installation of new Main distribution board with main switch, 3 phase of approved type, with complete set of fuses and connection to main power lines, rate includes all related materials, works Contract Must submit the product description/sample prior to purchase | LS | 1
6. 11 | Supply, fix and installation of Change over 100A for generator line with covered cable 3 phase. rate includes cable to main switch in building, Contract Must submit the product description/sample prior to purchase | No. | 1
7 | HAVC
Rate include for supplying, fixing, installation units of approved quality, wiring, power points and switches …..etc.
7. 1 | Supply and installation of Air condition 18.000 BTU split type (preferred LG inverter) rate includes all connections, wires complete Contract Must submit the product description/sample prior to purchase | No. | 9
8 | EXTERNAL ELEVATIONS (ALL BUILDING)
8. 1 | Rectify internal wall plaster defects, fill cracks, openings, same plaster mix, rate includes materials and all related works | LS | 1
8. 2 | Supply and Apply paint (suitable for exterior walls) 2 layers of paint (white color) for external building elevations, rate include all materials and related works | LS | 1
9 | ROOF TREATMENT
Rates include labor, materials, and all related works, roof will be tested by water before receiving acceptance
9. 1 | Supply materials and apply roof leaking proofing using damp roof liquid bitumen material, Thickness 3mm and installed by applying 3 layers by brush , after cleaning the roof from dust and organic objects | Job | 1
9. 2 | Supply materials and install leaking proofing roof top cover using cement, sand and needed materials for proofing Thickness 100 -150mm according to water drainage directions, 150-160mm in middle of roof, cleaning the roof from dust and organic objects. | Job | 1
9. 3 | supply materials and fix rain water drainage pipes (from sides) of building using 4' PVC pipes | Job | 1
11 | STEEL WORK/SHADES
11. 1 | supply materials and fabricate steel handrail for stair case, frame and grid made of steel rectangular pipes,standard height, fixed to stair body, complete job with anti rust paint and final paint | FLIGHT | 2
11. 2 | supply materials and fabricate waiting area steel shade 12.00X8.00 meter on frame made of steel rectangular pipes 5x10cm and 4x8cm for grids, on 3'' steel pipes 2.50 Meter height clear, 50cm in conc. base 1:2:4 (total 3.5M) roof of corrugated steel sheets 0.35mm thick as shown with attached design, complete job with anti rust paint and final paint | LS | 1
12 | FRESH WATER (ALL BUILDING)
12. 1 | Provide materials and dig, lay & extend 3/4 , 1/2inch PPR fresh water pipe line to serve all new/exist toilets blocks and kitchens from tanks line, with all required fittings, taps & valves complete job. The rate includes provision of pipes and all needs/ requirements to implement the job properly. | LS | 1
12. 2 | Supply and installation of 2000 liters (HDPE) water tank on sand bed at roof, complete job with Base and connections | No. | 1
12. 3 | supply and installation of automatic water pump 1HP complete with wiring and connections | No. | 1
13 | UNSEEN
unseen works
13. 1 | Miscellaneous (2.5%) | LS | 1
TOTAL |  |  |  |  | 0
Validity of the offer
Prices Quoted are exclusive of VAT
Delivery Time (Days) afgter PO date
Kindly provide:-
Date:-
Name:-
Signature:-
In the Capacity of:
Duly authorised to Sign the Bid for and on Behalf of:
Official Stamp