## BOQ
UNHCR - SUDAN COUNTRY OFFICE
| Annex A - RFP/HCR/ROK/2021/027 - Bill of Quantity (BoQ) |  |  |  | Annex A
PROJECT: COR- RSD 2ND FLOOR COMPLETION
LOCATION: EL EMTIDAD - KHARTOUM SOUTH, KHARTOUM STATE
The specified job are all provisional, including provision of materials and workmanship, providing water and electricity for the implementation and all other requirements to implement the job perfectly. The bidder must visit the site prior to submission of bid documents. The cost of this item should be included /imbedded in the other items.
No. | DESCRIPTION | UNIT | QTY | UNIT Price ( USD | TOTAL PRICE (USD)
1 | MOBILIZATION
1. 1 | Mobilization of labor, mobile workshop to be used for fixing maintaining and repairing of any kind of work such as steel, carpentry ...etc. | JOB | 1
2 | SITE CLEARANCE
The contractor shall exercise due care to avoid damages to existing structure and facilities
2. 1 | Dissemble of fittings where works required, and re-fix fittings after works complete | JOB | 1
2. 2 | Clearing the site after completing the whole Job and before handover. | JOB | 1
3 | NEW PARTITIONS: (2ND FLR)
3. 1 | Build new brick walls to create zones / offices ( as shows with attached drawings) build with red bricks thick of 20cm, with C/S 1:5 mortar, rate includes all materials, labor and all related works | M² | 360
3. 2 | Supply materials and Plaster new walls/Partitions, includes sills, door sills and corners, smooth plaster with C/S (1:6), rate includes materials, labor and all related works | M² | 570
3. 3 | Supply materials and Plaster ceiling, includes sills and corners, smooth plaster with C/S (1:6) rate includes materials, labor and all related works | M² | 170
3. 4 | Supply and Apply quick drying prime (Suitable for interior walls) one coat of bomastic and two coats to make the surface of walls adhesive to receive new paint. | M² | 420
3. 5 | Supply and Apply paint (suitable for interior walls) 2 layers of paint (selected colors) for all internal walls, rate includes all materials and related works | M² | 565
3. 6 | Supply and Apply paint (suitable for interior ceilings) 2 layers of paint ( selected colors) for all internal ceilings, rate includes all materials and related works | M² | 170
TOILETS
3. 7 | Supply materials, prepare/lay internal water network for new toilets/Laundry, using PPR pipes ½'' high quality Cold/Hot, and drainage/sewage pipes using PVC pipes 2&4'', rate includes all related work | LS | 4
3. 8 | Supply materials, prepare internal power network, using high quality wires for new toilets, points: water heater, mirror,exaust fan, light, switches, rate includes all related materials and works | LS | 2
3. 9 | Supply materials and apply damp insulation cement for walls and floors (using damp proof approved materials) rate includes all related materials and works | M² | 6
3. 10 | Supply and install new wall tiles 20X50 cm /or approved size, with C/S mortar 1:6 to toilets height of wall, rate includes preparation of wall/removing old tiles and all related works | M² | 60
3. 11 | Supply and install floor tiles 20X20 cm design to match wall tiles, with C/S mortar 1:8, for toilets, rate includes preparation all related works | M² | 12
3. 12 | Supply and install high quality hand wash basin, flat back white glazed vitreous china wash basin with stand, includes center tap ,with C.I. enamel painted brackets, water connections. | LS | 4
3. 13 | Supply and install high quality English seat, with C.I. enamel painted brackets, with water hose, as directed by the engineer, rate includes all connections | LS | 2
3. 14 | Supply, fix wall mirror in toilets of approved type | No. | 2
4 | FLOORS WORK
4. 1 | Supply and installation of new floor porcelain tiles 60X60cm, white/or selected color clear design of high quality, with C/S mortar 1:6 mix, rate include preparation of floors and all related works. | M² | 170
4. 2 | Ditto but for skirting | M² | 16
5 | DOORS & WINDOWS
5. 1 | Supply and fix 80 X 220 cm size solid internal door, aluminum made; price to include frame and door, fixing with hinges, locking system etc. Contract should submit the product description/sample prior to purchase | No. | 4
5. 2 | Supply and fix 100 X 220 cm size solid internal door, import made; price to include frame and door, fixing with hinges, locking system etc. Contract should submit the product description/sample prior to purchase | No. | 9
5. 3 | Supply and fix Aluminum windows of High quality, price to include frame, fixing with hinges, locking system, mosquito net, etc. Contract should submit the product description/sample prior to purchase | M² | 11
6 | STAIR CASE
6. 1 | supply materials and fabricate steel handrail for stair case, frame and grid made of steel, standard height, fixed to stair body, complete job with anti rust paint and final paint | FLIGHT | 2
6. 2 | Supply and installation of new stair step marble step include step 30cm and rise 15cm , white/or selected color clear design of high quality, with C/S mortar 1:6 mix, rate includes preparation of floors and all related works. | No. | 24
6. 3 | Supply and installation of new stair landing marble , white/or selected color design of high quality, with C/S mortar 1:6 mix, rate includes preparation and all related works. | M² | 8
6. 4 | Ditto but for skirting, 10cm height | ML | 17
6. 5 | supply materials and fabricate steel roof for stair case, frame and grid made of steel rectangular pipes,coverd with Zink sheet, complete job with anti rust paint and final paint | LS | 1
7 | ELECTRICAL SUPPLY & EQUIPMENT'S
7. 1 | wiring of new structures with internal pipes for electrical fittings, power points 13A, ceiling/wall lights, ceiling fans wires and light switches using 2.5mm wire approved quality, includes the cost of wires, ducts, power points, switches, labor and connection to main distribution board | LS | 1
7. 2 | wiring of new structures with internal pipes, for A/C units, wiring with 4mm wires of approved high quality and power point for AC connect , price includes the cost of wires, pipes, switches , labor and connection to main distribution board. | LS | 1
7. 3 | Supply and installation of 13A socket of approved quality, wall type, rate to includes wires and labor | No. | 30
7. 4 | Supply and installation of 60A socket of approved quality, AC type, rate to includes wires and labor | No. | 10
7. 5 | Supply and installation of led lamp, 4 feet of approved quality (preferred Philips) wall type, rate to includes wires, switches and labor | No. | 10
7. 6 | Supply and installation of circular 20watt led lamp of approved quality (preferred Philips) ceiling type, rate to includes wires, switches and labor | No. | 24
7. 7 | Supply and installation of ceiling fan (preferred brand KDK or ORIENT) rate includes wires, switches and related works | No. | 8
7. 8 | Supply and installation of wall mounted fan, water type Heavy Duty 24-26 inch, Water Mist Fan with water tank of approved quality, rate includes wires, switches and related works | No. | 4
7. 9 | supply and installation of exhaust fan 30cm of approved type, rate to include all related works | No. | 2
7. 10 | Supply and installation of smoke detectors ceiling type (preferred battery powered) | No. | 8
7. 11 | Supply and installation of new Main distribution board with main switch, 3 phase of approved type, with complete set of fuses and connection to main power lines, rate includes all related materials, works Contract Must submit the product description/sample prior to purchase | LS | 1
8 | HAVC
Rate include for supplying, fixing, installation units of approved quality, wiring, power points and switches …..etc.
8. 1 | Supply and installation of Air condition 18.000 BTU split type (preferred LG Inverter) rate includes all connections, wires complete Contract Must submit the product description/sample prior to purchase | No. | 8
9 | ROOF TREATMENT
Rates include labor, materials, and all related works, the roof will be tested by water before receiving acceptance
9. 1 | Supply materials and apply roof leaking proofing using damp roof liquid bitumen material, Thickness 3mm and installed by applying 3 layers by brush , after cleaning the roof from dust and organic objects. | JOB | 1
9. 2 | Supply materials and install leaking proofing roof top cover using cement, sand and needed materials for proofing Thickness 100 -150mm according to water drainage directions, 150-160mm in middle of roof, cleaning the roof from dust and organic objects. | JOB | 1
9. 3 | supply materials and fix rain water drainage pipes (from sides) of building using 4' PVC pipes | JOB | 1
10 | EXTERNAL ELEVATIONS (ALL BUILDING)
10. 1 | Supply materials and build/Plaster new walls shapes to create designed elevation, include sills, corners, steel grills as shown with attached design, rate includes materials, labor and all related works. | LS | 1
10. 2 | Supply and Apply paint (suitable for exterior walls) 2 layers of paint (selected colors) for external building elevations, rate includes all materials related works | LS | 1
11 | FRESH WATER (ALL BUILDING)
11. 1 | Provide materials and dig, lay & extend 3/4 , 1/2inch PPR fresh water pipe line to serve all new/exist toilets blocks and kitchens from tanks line, with all required fittings, taps & valves complete job. The rate includes provision of pipes and all needs/ requirements to implement the job properly. | LS | 1
11. 2 | Supply and installation of 2000 liters (HDPE) water tank on sand bed, complete job wit base and all water connections to/from line. | No. | 1
12 | WASTE WATER/DRAINGE (ALL BUILDING)
12. 1 | Excavation for septic tank | M³ | 30
12. 2 | Supply and installation of ready Pre-cast Septic tank: 3.0X4.0X2.5 Meter, walls of R.conc. lining with two separation walls in middle, C/S plaster with the ratio 1:3, , Bed and cover R.conc with two manhole opening and steel covers .45cm on opposite corners and gas pipes 4inch dia, painted with leaking proof using damp liquid bitumen material 3 coats, rate include all connections | LS | 1
12. 3 | Supply & install 2” & 4 "U.P.V.C return/waste pipes, as appropriate, for all sanitary fittings up to soak away main line, with bobbins, nails etc., include all branches, elbows, bends, tees, plugs, union, clips, etc. including making holes in walls& floors & cutting trenches in any soil or through concrete or masonry, as per specifications directed and to the satisfactory of the engineer. Rate to include all required materials. | LS | 1
12. 4 | Supply & Build 45x45 cm manholes line throw all toilets to septic tank, build from bricks and cement mortar and concrete benches, smooth with 1:3 cement to sand paste, cover with good quality cast-iron manhole cover, to the satisfaction of the Engineer. Rate to include all needed work and materials to connect to network perfectly as directed by the engineer. | LS | 1
12. 5 | Ditto but gully- traps 30X30 cm | LS | 1
13 | UNSEEN
unseen works
13. 1 | Miscellaneous (2.5%) | LS | 1
TOTAL |  |  |  |  | 0
Validity of the offer
Prices Quoted are exclusive of VAT
Delivery Time (Days) afgter PO date
Kindly provide:-
Date:-
Name:-
Signature:-
In the Capacity of:
Duly authorised to Sign the Bid for and on Behalf of:
Official Stamp