## BOQ
UNHCR - SUDAN COUNTRY OFFICE
Annex A - RFP/HCR/ROK/2021/029 - Bill of Quantity (BoQ)
| PROJECT: ACOR/RCS OFFICE REHABILITATION |  |  |  | Annex A
LOCATION: EL EMTIDAD - KHARTOUM SOUTH, KHARTOUM STATE
The specified job are all provisional, including provision of materials and workmanship, providing water and electricity for the implementation and all other requirements to implement the job perfectly. The bidder must visit the site prior to submission of bid documents. The cost of this item should be included /imbedded in the other items.
No. | DESCRIPTION | UNIT | QTY | UNIT PRICE (USD) | TOTAL PRICE (USD)
1 | MOBILIZATION
1. 1 | Mobilization of labor, mobile workshop to be used for fixing maintaining and repairing of any kind of work such as steel, carpentry ...etc. | Job | 1
2 | SITE CLEARANCE
The contractor shall exercise due care to avoid damages to existing structure and facilities
2. 1 | Dissemble of fittings where works required, and re-fix fittings after works complete | Job | 1
2. 2 | Clearing the site after completing the whole Job and before handover. | Job | 1
3 | RENOVATION WORKS: OFFICES / TOILETS (GRD & 1ST FLR)
TOILETS
3. 1 | Supply materials, prepare/lay internal water network for new toilets, using PPR pipes ½'' high quality Cold/Hot, and drainage/sewage pipes using PVC pipes 2&4'', rate includes all related work | LS | 8
3. 2 | Supply materials, prepare internal power network, using high quality wires for new toilets, points: water heater, mirror,exaust fan, light, switches, rate includes all related materials and works | LS | 8
3. 3 | Supply materials and apply damp insulation for walls and floors (using damp proof approved materials) rate includes all related materials and works | M² | 40
3. 4 | Supply and install new wall tiles 20X50cm /or approved size, with C/S mortar 1:6 to toilets height of wall, rate includes preparation of wall/removing old tiles and all related works | M² | 240
3. 5 | Supply and install floor tiles 20X20 /or approved size, design to match wall tiles, with C/S mortar 1:8, for toilets, rate includes preparation all related works | M² | 52
3. 6 | Supply and install high quality hand wash basin, flat back white glazed vitreous china wash basin with stand, includes center tap ,with C.I. enamel painted brackets, as directed by the engineer. | LS | 10
3. 7 | Supply and install high quality English seat, with water hose, as directed by the engineer, rate includes all water connections | LS | 8
3. 8 | Supply, fix wall mirror in toilets of approved type | No. | 6
KITCHENS
3. 9 | supply materials, prepare/lay internal water network for new kitchens, using PPR pipes ½'' high quality Cold/Hot, and drainage/sewage pipes using PVC pipes 2'' , rate includes all related work | LS | 1
3. 10 | wiring of structure with internal power network, using high quality wires, for points: water heater, mirror,exaust fan, light, switches, price includes the cost of wires, ducts, power points, switches, labor and connection to main distribution board | LS | 1
3. 11 | supply and install new wall tiles 20X50cm /or approved size, with C/S mortar 1:6 to kitchen height of wall, rate to include all related works | M² | 42
3. 12 | Supply and installation of High quality MDF kitchen cabinets (Upper cabints+Base cabinets type) standard dimensions, selected color (includes all hardware & accessories needed), rate include pre-cast marble counter top (white) with pre cast double sink and tap with water connections contract must submit the product description/sample/design prior to supply (Preferred Turkish Made) | ML | 4
4 | STAIR CASE
4. 1 | supply materials and fabricate steel handrail for stair case, frame and grid made of Wrought iron, standard height, fixed to stair body, complete job with anti rust paint and final paint | ML | 26
4. 2 | Supply and installation of new stair step marble step include step 30cm and rise 15cm , white/or selected color design of high quality, with C/S mortar 1:6 mix, rate includes preparation and all related works. | No. | 42
4. 3 | Supply and installation of new stair landing marble, white/or selected color design of high quality, with C/S mortar 1:6 mix, rate includes preparation and all related works. | M² | 6
4. 4 | Ditto but for skirting, 10cm height | ML | 17 |  | 0
5 | DOORS & WINDOWS
5. 1 | Supply spare parts and excute maintenance work to selected doors with replacement of butt hinges, locks etc. broken glass. Materials to be of good quality and approved types. Sample of materials should be submitted for approval. | No. | 15
5. 2 | Apply complete maintenance work to aluminum windows with replacement of butt hinges, locks etc. broken glass replacement. Materials to be of good quality and approved types. Sample of materials should be submitted for approval. | No. | 10 |  | 0
6 | ELECTRICAL SUPPLY & EQUIPMENT'S
6. 1 | supply and installation of LED lamp, 4 feet of approved quality (preferred Philips) ceiling type, rate to include wires, switches and labor | No. | 14 |  | 0
6. 2 | supply and installation of 13A socket of approved type | No. | 20 |  | 0
6. 3 | supply and installation of ceiling fan (preferred brand KDK or ORIENT), rate includes wires, switches and related works | No. | 14
6. 4 | supply and installation of wall mounted fan (preferred brand KDK or ORIENT), rate includes wires, switches and related works | No. | 8
6. 5 | supply and installation of exhaust fan 40cm for kitchen of approved type, rate to include all related works | No. | 1
6. 6 | supply and installation of exhaust fan 30cm for toilets of approved type, rate to include all related works | No. | 6
6. 7 | supply and installation of smoke detectors ceiling type (preferred battery powered) | No. | 6
6. 8 | Supply and installation of: ATS 250A 4 Step :- 1 NO- MCCB.3P.250A- Main Incaming 4 NO- MCB.3P.63A-Outgoing 4 NO- Machanical Interlocek 8 NO- Contactor AF 52-30-10 All Brand ABB - Original 1 NO-Cntroller ATL 600 with Accessories/Lovato 6 NO-Indicaion Lamp Enclousre made of Steel Thickness 1.2&2 mm Chemically treat and Poweder Coated RAL 7032 IP54 -Dimension 100×80×25 cm | LS | 1
6. 9 | Supply and installation of: ATS 250A 6 Step :- 1,500,000 1 NO- MCCB.3P.250A- Main Incaming 6 NO- MCB.3P.63A-Outgoing 6 NO- Machanical Interlocek 12 NO- Contactor AF 52-30-10 All Brand ABB - Original 1 NO-Cntroller ATL 600 with Accessories/Lovato 6 NO-Indicaion Lamp Enclousre made of Steel Thickness 1.2&2 mm Lugs Straight 10 mm 10,780 CU/PVC/PVC4*10 mm 374,400 Chemically treat and Poweder Coated RAL 7032 IP54 -Dimension 120×100×25 cm | LS | 1
6. 10 | Lugs Straight 10 mm | ML | 44
6. 11 | CU/PVC/PVC4*10 mm | ML | 72
7 | HAVC
Rate include for supplying, fixing, installation units of approved quality, wiring, power points and switches …..etc.
7. 1 | Supply and installation of Air condition 18.000 BTU window type (preferred O'GENERAL) rate includes all connections, wires complete Contract Must submit the product description/sample prior to purchase | No. | 4 |  | 0
8 | EXTERNAL ELEVATIONS (ALL BUILDING)
8. 1 | Rectify internal wall plaster defects, fill cracks, openings, same plaster mix, rate includes materials and all related works | LS | 1 |  | 0
8. 2 | Supply materials and Apply paint (suitable for exterior walls) 1 layers of paint (selected colors) for external building elevations, rate includes all materials related works | LS | 1 |  | 0
9 | WALL FENCE
9. 1 | supply materials and raise perimeter walls by 50cm, build with red bricks thick of 20cm, with C/S 1:5 mortar, rate to includes remove of razor wires and fix back, labor and all related works | M² | 100 |  | 0
9. 2 | Supply materials and reinforce with barbered razor wire, 50 cm height, using steel support anchors, price to includes all related works | ML | 205 |  | 0
10 | ROOFING
Rates include labor, materials, and all related works, the roof will be tested by water before receiving acceptance
10. 1 | Supply materials and install new steel Marcellia panels, leaking proofing type. Rate include all needed materials for roofing and proofing Thickness 30-35mm, on 2ND floor. Area of covering is 11.00X12.00Meter on steel truss | LS | 1 |  | 0
10. 2 | supply materials and fix rain water drainage pipes for the new roof, rate includes all materials and labor | Job | 1 |  | 0
11 | STEEL WORK/SHADES
11. 1 | supply materials and fabricate generator steel shade/cage with 2m door double leaf, size of 2.5X3meter on frame made of steel rectangular pipes 5x10cm and 4x8cm for grids, covered with steel pipes grills, on 3'' steel pipes 2.5Meter height/50 cm conc. base, roof of corrugated steel sheets 0.35mm thick as shown with attached design, complete job with anti rust paint and final paint | LS | 1 |  | 0
11. 2 | supply materials and fabricate vehicles parking shed 12 x 5 Meter, frame rectangular pipes 5x10cm, 4x8cm for grids, 3" GI pipe for poles (3 meter H) frame, roof of CGI 26 gauge on top with zero leakage, water level 10% to the outer area, complete job with anti rust paint and final paint | LS | 1 |  | 0
12 | FRESH WATER (ALL BUILDING)
12. 1 | Provide materials and dig, lay & extend 3/4 , 1/2inch PPR fresh water pipe line to serve all new/exist toilets and kitchens from tanks line, with all required fittings, taps & valves complete job. The rate includes provision of pipes and all needs/ requirements to implement the job properly. | LS | 1 |  | 0
12. 2 | Supply and installation of 2000 liters (HDPE) water tank on sand bed at roof, complete job with Base and connections | No. | 1 |  | 0
12. 3 | supply and installation of automatic water pump 1HP complete with wiring and connections | No. | 1 |  | 0
13 | WASTE WATER/DRAINGE (ALL BUILDING)
13. 1 | Excavation for septic tank | M³ | 30 |  | 0
13. 2 | Supply and installation of ready Pre-cast Septic tank: 3.0X4.0X2.5 Meter, walls of R.conc. lining with two separation walls in middle, C/S plaster with the ratio 1:3, , Bed and cover R.conc with two manhole opening and steel covers .45cm on opposite corners and gas pipes 4inch dia, painted with leaking proof using damp liquid bitumen material 3 coats, rate include all connections | LS | 1 |  | 0
13. 3 | Supply & install 2” & 4 "U.P.V.C return/waste pipes, as appropriate, for all sanitary fittings up to soak away main line, with bobbins, nails etc., include all branches, elbows, bends, tees, plugs, union, clips, etc. including making holes in walls& floors & cutting trenches in any soil or through concrete or masonry, as per specifications. Rate to include all required materials. | LS | 1 |  | 0
13. 4 | Supply & Build 45x45 cm manholes line throw all toilets to septic tank, build from bricks and cement mortar and concrete benches, smooth with 1:3 cement to sand paste, cover with good quality cast-iron manhole cover, to the satisfaction of the Engineer. Rate to include all needed work and materials to connect to network perfectly. | LS | 1 |  | 0
13. 5 | Ditto but gully- traps 30X30 cm | LS | 1 |  | 0
14 | UNSEEN
unseen works
14. 1 | Miscellaneous (2.5%) | LS | 1 |  | 0
TOTAL |  |  |  |  | 0
Validity of the offer
Prices Quoted are exclusive of VAT
Delivery Time (Days) afgter PO date
Kindly provide:-
Date:-
Name:-
Signature:-
In the Capacity of:
Duly authorised to Sign the Bid for and on Behalf of:
Official Stamp